For the vertical deflection (horizontal field), I want the field to point to the right when looked through the magnet in the beam direction, for positive excitation current.

For the horizontal deflection, the field should point down for positive excitation current.