## SLAC Traveler for HE-SXR Undulator #29A804-000 in MMF

Re-measurement, Dataset 003

This traveler intended to cover preparation, magnetic measurements, and fiducialization of the SXR undulator segments at MMF.

Preparation:

- Remove all protective covers. Install wooden platform between the undulator and granite.

- Remove plastic cover. Clean up the granite.

- Attach temperature sensors.

- Check linear potentiometers. Install brackets if necessary.

- Install coil supports.

- Call controls group to hook-up and check the control system. Check completed.

- Call alignment crew to align the undulator to the bench. Alignment done.

- Find the third pole z-position.                                  Z3 =

| Vendor serial number from undulator label: |  |
| --- | --- |
| Technician (initials): |  |
| Date/Time: |  |

Re-measurement process checklist:

| Engineer (initials): |  |
| --- | --- |
| Started, Date (mm-dd-yyyy): |  |
| Undulator magnetically aligned at tuning Gap = 10mm (adjust encoder offsets if necessary), results recorded into the table below. |
| MA position vs Y checked. |
| Trajectories and phase errors checked and within the tolerances. |
| Voltmeters checked. |
| Reference magnet measured. |
| Half-gap encoders checked; Gap=10mm |
| Final scan on-axis done, Hall probe. |
| PMs measured for fiducialization, file with results created. |
| Fiducialization done. |
| Controller Configuration saved. |

The following information is to be noted by an engineer:

| Average X (m): |  |
| --- | --- |
| Average Y (m): |  |
| Final Pitch (µrad): |  |
| Final Yaw (µrad): |  |
| Magnetic axis position X (m): |  |
| Magnetic axis position Y (m): |  |
| Reference magnet measurement (T) |  |
| Voltmeter X (1V) 1.00002 |  |
| Voltmeter Y (1V) 1.00002 |  |
| Voltmeter Y (6V) 6.00005 |  |
| Voltmeter Y (-6V) -6.00005 |  |
| US Half-Gap Encoder |  |
| DS Half-Gap Encoder |  |

Fiducialization:

| Engineer (Initials): |  |
| --- | --- |
| Upstream PM X offset (m): |  |
| Upstream PM Y offset (m): |  |
| Downstream PM X offset (m): |  |
| Downstream PM Y offset (m): |  |

Have an alignment crew to measure offsets between PM and the undulator fiducials.

| Surveyor (initials): |  |
| --- | --- |
| Date (mm/dd/yyyy): |  |

Prepare the undulator for the move into the storage area:

- Power OFF the controller. Disconnect the network cable.

- Remove linear potentiometer brackets, if installed.

- Remove long coil brackets.

- Remove temperature sensors.

- Remove ground wire for capacitive sensors.

- Install all protective covers. Remove wooden platform between the undulator and granite.

- The undulator is ready for move into the storage area.

URL for data:

V:\MET\MagServe\MagData\LCLS-II-HE\Undulator\HE-SXU_000\DATASET0003\Final Results\