NON-COMPLIANCE REPORT # 31732-44

|  |  |  |  |
| --- | --- | --- | --- |
| PART NAME: | **YAG Crystal Mount** | DATE: | **5/18/15** |
| PF/SA NO.: | **PF-380-520-12 R1** | INSPECTOR: | **K. CABAN** |
| WORK ORDER NO.: | **31732-44** | ENGINEER: | **JC** | EXT.: | **5109** |
| VENDOR | **BT LASER** | ROUTE TO: |  |

|  |  |
| --- | --- |
| **Reason for Non-Compliance:** | **Disposition (UAI, Rework, Scrap, Other):** |

1.  ±.005 measures undersized 0.0117 – 0.0125.
2.  measures undersized 1.0026 – 1.0028.
3.  ±.01 measures undersized 1.1733 – 1.1740.