NON-COMPLIANCE REPORT # 33073-116

|  |  |  |  |
| --- | --- | --- | --- |
| PART NAME: | **MODIFIED 3.00 MIRROR** | DATE: | **8/8/16** |
| PF/SA NO.: | **PF-391-834-97 R0** | INSPECTOR: | **K. CABAN** |
| WORK ORDER NO.: | **33073-116** | ENGINEER: | **B. ARNOLD** | EXT.: | **8534** |
| VENDOR | **LATTICE ELECTRO OPTICS** | PLANNER: | **DIANNA** |

|  |  |
| --- | --- |
| **Reason for Non-Compliance:** | **Disposition (UAI, Rework, Scrap, Other):** |

1. 
Upon taking of the protected plastic cover, noticed this surface “rubbing marks” on Mirror Surface on SN 104 only.

