NON-COMPLIANCE REPORT # 33073-130

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PART NAME: | **SPACER** | DATE: | **8/25/16** | | |
| PF/SA NO.: | **PF-380-508-47** | INSPECTOR: | **K. CABAN** | | |
| WORK ORDER NO.: | **33073-130** | ENGINEER: | **B. ARNOLD** | EXT.: | **8534** |
| VENDOR | **PRO-TEK** | PLANNER: | **DIANNA** | | |

|  |  |
| --- | --- |
| **Reason for Non-Compliance:** | **Disposition (UAI, Rework, Scrap, Other):** |

1.  measures 0.7913 (-0.0007” out of tolerance).