NON-COMPLIANCE REPORT # 33073-91

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PART NAME: | **MODIFIED 3.00 MIRROR** | DATE: | **6/29/16** | | |
| PF/SA NO.: | **PF-391-834-97 R0** | INSPECTOR: | **K. CABAN** | | |
| WORK ORDER NO.: | **33073-91** | ENGINEER: | **B. ARNOLD** | EXT.: | **8534** |
| VENDOR | **LATTICE ELECTRO OPTICS** | PLANNER: | **DIANNA** | | |

|  |  |
| --- | --- |
| **Reason for Non-Compliance:** | **Disposition (UAI, Rework, Scrap, Other):** |

1. 1.166 ± 0.005 is oversized on SN 1 only measuring 1.1735 (+0.0025” out of tolerance)

