NON-COMPLIANCE REPORT # M-24853

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PART NAME: | **5kV BODY** | DATE: | **7/10/15** | | |
| PF/SA NO.: | **SK-ENJ-150219-1 RED** | INSPECTOR: | **K. CABAN** | | |
| WORK ORDER NO.: | **M-24853** | ENGINEER: | **JONGWAARD** | EXT.: |  |
| VENDOR | **SAN JOSE DELTA ASSOCIATES** | ROUTE TO: | **KLY** | | |

|  |  |
| --- | --- |
| **Reason for Non-Compliance:** | **Disposition (UAI, Rework, Scrap, Other):** |

1.  &  measures 0.0028 – 0.0059
2. measures 9.763 – 9.7753 on all parts.
3.  is out of round, per note, measured and evaluated Maximum Inscribed Circle measures   
   9.0030 – 9.0069 on 3 of 4 parts. See Roundness Plots for clarity.
4.  of  measures 0.0114 – 0.0189 on all parts .