NON-COMPLIANCE REPORT # M-24881

|  |  |  |  |
| --- | --- | --- | --- |
| PART NAME: | **CORONA SHIELD** | DATE: | **8/11/15** |
| PF/SA NO.: | **PF-700-914-29** | INSPECTOR: | **K. CABAN** |
| WORK ORDER NO.: | **M-24881** | ENGINEER: | **HAASE** | EXT.: | **8612** |
| VENDOR | **KLY** | PLANNER: | **SHELLEY** |

|  |  |
| --- | --- |
| **Reason for Non-Compliance:** | **Disposition (UAI, Rework, Scrap, Other):** |

1.  ± .005 measures 0.1833 – 0.1836 on 6 of 7 parts.