## Inspection Data
Magnet 01
| X | Y | Z | X | Y | Z
TB01 | 1.6726 | 0.31204 | 0.39053 | 42.4851 | 7.9258 | 9.9195
TB02 | -0.31605 | -1.6768 | 0.39389 | -8.0277 | -42.5905 | 10.0048
TB03 | 3.6687 | -1.6752 | 0.39485 | 93.1855 | -42.5503 | 10.0292
TB04 | 1.6749 | -3.6694 | 0.39453 | 42.5437 | -93.204 | 10.0211
TB05 | 1.6758 | 0.31379 | 38.6558 | 42.5643 | 7.9703 | 981.8568
TB06 | -0.31811 | -1.672 | 38.5369 | -8.08 | -42.4683 | 978.8375
TB07 | 3.6664 | -1.682 | 38.5403 | 93.1276 | -42.7236 | 978.9246
TB08 | 1.6765 | -3.6688 | 38.6542 | 42.5821 | -93.1875 | 981.8169
Magnet 02
| X | Y | Z | X | Y | Z
TB01 | 1.6762 | 0.31789 | 0.39269 | 42.5742 | 8.0744 | 9.9743
TB02 | -0.31987 | -1.6738 | 0.388 | -8.1247 | -42.5145 | 9.8552
TB03 | 3.6626 | -1.6723 | 0.39284 | 93.0305 | -42.4757 | 9.9781
TB04 | 1.6685 | -3.6645 | 0.38594 | 42.3802 | -93.0778 | 9.8029
TB05 | 1.6742 | 0.31817 | 38.6534 | 42.5234 | 8.0815 | 981.7974
TB06 | -0.31619 | -1.6681 | 38.5322 | -8.0312 | -42.3705 | 978.7171
TB07 | 3.6657 | -1.6757 | 38.5368 | 93.1078 | -42.5628 | 978.835
TB08 | 1.6656 | -3.6664 | 38.6481 | 42.3065 | -93.1271 | 981.6628
Magnet 03
| X | Y | Z | X | Y | Z
TB01
TB02 | -0.32715 | -1.6759 | 0.38573 | -8.3096 | -42.5679 | 9.7975
TB03 | 3.6667 | -1.6717 | 0.39687 | 93.1339 | -42.4599 | 10.0805
TB04
TB05
TB06 | -0.3274 | -1.6654 | 38.5356 | -8.316 | -42.3001 | 978.8055
TB07 | 3.6625 | -1.6766 | 38.5436 | 93.0285 | -42.5864 | 979.0072
TB08
Magnet 04
| X | Y | Z | X | Y | Z
TB01
TB02 | -0.31959 | -1.6782 | 0.39243 | -8.1176 | -42.6268 | 9.9677
TB03 | 3.67 | -1.6709 | 0.39937 | 93.2172 | -42.4409 | 10.144
TB04
TB05
TB06 | -0.32463 | -1.6686 | 38.5384 | -8.2456 | -42.3822 | 978.8754
TB07 | 3.6639 | -1.6768 | 38.5434 | 93.0631 | -42.59 | 979.0021
TB08

## Measurements
Measurements Summary
Normal Face |  |  |  |  | Inverted Face
First Measurement |  |  |  |  | First Measurement
|  |  | y | v |  |  |  | y | v
| Black | Upstream |  |  |  | Black | Upstream
| Gold | Downstream |  |  |  | Gold | Downstream
| M1_TB1 | Upstream |  |  |  | M1_TB4 | Upstream
| M1_TB5 | Downstream |  |  |  | M1_TB8 | Downstream
| M2_TB1 | Upstream |  |  |  | M2_TB4 | Upstream
| M2_TB5 | Downstream |  |  |  | M2_TB8 | Downstream
Second Measurement |  |  |  |  | Second Measurement
|  |  | y | v |  |  |  | y | v
| Black | Upstream |  |  |  | Black | Upstream
| Gold | Downstream |  |  |  | Gold | Downstream
| M1_TB1 | Upstream |  |  |  | M1_TB4 | Upstream
| M1_TB5 | Downstream |  |  |  | M1_TB8 | Downstream
| M2_TB1 | Upstream |  |  |  | M2_TB4 | Upstream
| M2_TB5 | Downstream |  |  |  | M2_TB8 | Downstream

## Reduction
Fiducialization Reduction
FACE 90º
Measurement 1 |  |  | Wire (Magnetic Axis) |  | Interferometer Readings
|  |  | x | y | u | v |  | theta | tx | ty
| Black | Upstream |  |  |  | 0 |  | #VALUE! | #VALUE! | #VALUE!
| Gold | Downstream |  |  |  | 0
| M1_TB1 | Upstream | #VALUE! | #VALUE! |  | 0
| M1_TB5 | Downstream | #VALUE! | #VALUE! |  | 0
| M2_TB1 | Upstream | #VALUE! | #VALUE! |  | 0
| M2_TB5 | Downstream | #VALUE! | #VALUE! |  | 0
Measurement 2 |  |  | Wire (Magnetic Axis) |  | Interferometer Readings
|  |  | x | y | u | v |  | theta | tx | ty
| Black | Upstream |  |  |  | 0 |  | #VALUE! | #VALUE! | #VALUE!
| Gold | Downstream |  |  |  | 0
| M1_TB1 | Upstream | #VALUE! | #VALUE! |  | 0
| M1_TB5 | Downstream | #VALUE! | #VALUE! |  | 0
| M2_TB1 | Upstream | #VALUE! | #VALUE! |  | 0
| M2_TB5 | Downstream | #VALUE! | #VALUE! |  | 0
FACE 270º
Measurement 1 |  |  | Wire (Magnetic Axis) |  | Interferometer Readings
|  |  | x | y | u | v |  | theta | tx | ty
| Black | Upstream | [5 empty] | #VALUE! | #VALUE! | #VALUE!
| Gold | Downstream
| M1_TB4 | Upstream | #VALUE! | #VALUE!
| M1_TB8 | Downstream | #VALUE! | #VALUE!
| M2_TB4 | Upstream | #VALUE! | #VALUE!
| M2_TB8 | Downstream | #VALUE! | #VALUE!
Measurement 2 |  |  | Wire (Magnetic Axis) |  | Interferometer Readings
|  |  | x | y | u | v |  | theta | tx | ty
| Black | Upstream | [5 empty] | #VALUE! | #VALUE! | #VALUE!
| Gold | Downstream
| M1_TB4 | Upstream | #VALUE! | #VALUE!
| M1_TB8 | Downstream | #VALUE! | #VALUE!
| M2_TB4 | Upstream | #VALUE! | #VALUE!
| M2_TB8 | Downstream | #VALUE! | #VALUE!
[11 empty] | u | wf1 | v1 | wf2 | v2 | wf3 | v3 | wf4 | v4
[11 empty] | 0 | 0.298 |  | -0.3343 |  | 1.9019 |  | -0.0784
[11 empty] | 169 |  | 0.9293 |  | 0.2683 |  | 2.5144 |  | -0.0226
[11 empty] | 1134.0001 |  | 0.351 |  | -0.281 |  | 1.9518 |  | 0.3654
[11 empty] | 1162 |  | 0.7418 |  | 0.0551 |  | 2.3371 |  | 0.2553
[11 empty] | 2129.0001 |  | 0.6367 |  | -0.0073 |  | 2.2279 |  | 0.5368
[11 empty] | 2223 | 0.9225 |  | 0.2639 |  | 2.5051 |  | 0.5409
|  | Measurement 1 | Measurement 2
| M1_TB1 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| M1_TB5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| M2_TB1 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| M2_TB5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | Measurement 1 | Measurement 2
| M1_TB4 | #VALUE! | #VALUE! |  |  |  | #VALUE! | #VALUE! | #VALUE!
| M1_TB8 | #VALUE! | #VALUE! |  |  |  | #VALUE! | #VALUE! | #VALUE!
| M2_TB4 | #VALUE! | #VALUE! |  |  |  | #VALUE! | #VALUE! | #VALUE!
| M2_TB8 | #VALUE! | #VALUE! |  |  |  | #VALUE! | #VALUE! | #VALUE!
| Magnet 01 |  |  |  | Wire-TB
|  | X | Y | Z | Face 1 | Face2
| TB01 | 1.6726 | 0.31204 | 0.39053 |  | #VALUE!
| TB04 | 1.6749 | -3.6694 | 0.39453 | #VALUE!
| TB05 | 1.6758 | 0.31379 | 38.6558 |  | #VALUE!
| TB08 | 1.6765 | -3.6688 | 38.6542 | #VALUE!
| Magnet 02 |  |  |  | Wire-TB
|  | X | Y | Z | Face 1 | Face2
| TB01 | 1.6762 | 0.31789 | 0.39269 |  | #VALUE!
| TB04 | 1.6685 | -3.6645 | 0.38594 | #VALUE!
| TB05 | 1.6742 | 0.31817 | 38.6534 |  | #VALUE!
| TB08 | 1.6656 | -3.6664 | 38.6481 | #VALUE!
Magnet 01
| TB01_TB04 |  | 101.1298 | #VALUE! |  | #VALUE!
| TB05_TB08 |  | 101.1578 | #VALUE! |  | #VALUE!
Magnet 02
| TB01_TB04 |  | 101.1522 | #VALUE! |  | #VALUE!
| TB05_TB08 |  | 101.2086 | #VALUE! |  | #VALUE!