Magnet Measurement Test Plan

Logistic Info

| Person Responsible | Sean Walston (walston@slac.stanford.edu) |
| --- | --- |
| Phone # | 8512 |
| Start Date | 29 March 2006 |
| Finish Date |  |
| Acct # for alignment |  |

Magnet Designation and Type

| Project Name | ILC e+ Source |
| --- | --- |
| Magnet Type | PM |
| Magnet Name/Number | 1/2 NdFeB |
| Serial # / PC # |  |
| Trim Coils | No | Trim Types |  |

Alignment

| Coarse (1.0 mm) | Precision (0.05 mm) |
| --- | --- |
| Has the magnet been fiducalized | No |
| If it has not been fiducalized, what is origin point of the magnet, what is its coordinate system and what surfaces should be used for alignment? | Center of the face is the origin. Face of magnet defines xy plane. Face at z=0. |
| + Z direction of magnet (Please provide drawing) | See sketch below |

Special Alignment Tolerances

| X |  |
| --- | --- |
| Y |  |
| Pitch |  |
| Yaw |  |
| Roll |  |

Polarity

| Main Coil Polarity. (Nearest North pole to Horizontal look in +z direction) |  |
| --- | --- |

Field Map

| Type of map? (Transverse, axial, 3D) | Interested in Bz (axial) |
| --- | --- |
| Dimensions ( X, Y, Z) | 2 cm in r 2.5 cm in z |
| Spacing between step (X, Y, Z) | 1 mm spacing in r 1 mm spacing in z |

Notes and Additional Tests:

-X

Offset to probe element = 1.14 +/- 0.36  mm

+Z (  ( -Z

↓

+X

# Text boxes

Steel mounting tube

3 NdFeB Magnets,

each .5 in diameter by .5 in long