## Slide 1
engineering type: Type 6 / Class 6
SLAC drawing number: SA-375-150-81
SLAC magnet bar-code: 4610
vendor serial number: 33
when measured: 12-Oct-2017 11:28:42
when analyzed: 24-Oct-2017
MAD assignment: multiple
http://www-group.slac.stanford.edu/met/MagMeas/MAGDATA/LCLS-II/Corr/4610/wiredat.ru3
IVB = 408.3498 (A/kG-m)