NON-COMPLIANCE REPORT # 32291-6

|  |  |  |  |
| --- | --- | --- | --- |
| PART NAME: | **ACTUATOR SPACER** | DATE: | **8/6/15** |
| PF/SA NO.: | **PF-391-662-95 R0** | INSPECTOR: | **K. CABAN** |
| WORK ORDER NO.: | **32291-6** | ENGINEER: | **B. ARNOLD** | EXT.: | **8534** |
| VENDOR | **MFD** | PLANNER: | **DIANNA** |

|  |  |
| --- | --- |
| **Reason for Non-Compliance:** | **Disposition (UAI, Rework, Scrap, Other):** |

1. Dim #4,  measures 0.0037 (+.0007” out of tolerance).
2. Dim #6,  ± .005 measures 6.3659 (-.0072” out of tolerance).
	1. Roundness of this diameter measures 0.0154”