
NON-COMPLIANCE REPORT # 33260-55

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PART NAME: | **YAG MIRROR MOUNT** | DATE: | **11/1/16** | | |
| PF/SA NO.: | **PF-380-520-11 R1** | INSPECTOR: | **K. CABAN** | | |
| WORK ORDER NO.: | **33260-55** | ENGINEER: | **M. KRAFT** | EXT.: | **2061** |
| VENDOR | **SYNTEC OPTICS** | PLANNER: | **B. MISSON** | | |

|  |  |
| --- | --- |
| **Reason for Non-Compliance:** | **Disposition (UAI, Rework, Scrap, Other):** |



1. ± 0.005” measures 0.0451 (+0.0101 out of tolerance) .

