NON-COMPLIANCE REPORT # M-24854

|  |  |  |  |
| --- | --- | --- | --- |
| PART NAME: | **10kV BODY** | DATE: | **7/10/15** |
| PF/SA NO.: | **SK-ENJ-150219-2 RED** | INSPECTOR: | **K. CABAN** |
| WORK ORDER NO.: | **M-24854** | ENGINEER: | **JONGWAARD** | EXT.: |  |
| VENDOR | **SAN JOSE DELTA ASSOCIATES** | ROUTE TO: | **KLY** |

|  |  |
| --- | --- |
| **Reason for Non-Compliance:** | **Disposition (UAI, Rework, Scrap, Other):** |

1.  &  measures 0.0026 on 1 part only. See Flatness Plots for clarity.
2. measures 9.7645 – 9.7666 on all parts.
3.  is out of round, per note, measured and evaluated Maximum Inscribed Circle measures
9.0022 on 1 part only.. See Roundness Plots for clarity.
4.  of  measures 0.0167 – 0.0321 on all parts .