|  |  |  |  |
| --- | --- | --- | --- |
| **Date** | **Temperature** | **HXR** | **SXR** |
| March, 1 | 20 C | Capacitive sensors | Reference magnet |
|  |  | Reference magnet | Hall probe On-axis PS |
|  |  | Hall probe On-axis | Hall probe On-axis Undulator |
|  |  |  |  |
| March, 2 | 19 C | Calibrate HXR Hall probe |  |
| March, 3 |  | Calibrate HXR Hall probe |  |
| March, 4 |  |  | Calibrate SXR Hall probe |
| March, 5 |  |  | Calibrate SXR Hall probe |
| March, 8 | 19 C | Capacitive sensors | Reference magnet |
|  |  | Reference magnet | Hall probe On-axis PS |
|  |  | Hall probe On-axis | Hall probe On-axis Undulator |
|  |  |  |  |
| March, 9 | 19.5 C | Calibrate HXR Hall probe |  |
| March, 10 |  | Calibrate HXR Hall probe |  |
| March, 11 |  |  | Calibrate SXR Hall probe |
| March, 12 |  |  | Calibrate SXR Hall probe |
| March, 15 | 19.5 C | Capacitive sensors | Reference magnet |
|  |  | Reference magnet | Hall probe On-axis PS |
|  |  | Hall probe On-axis | Hall probe On-axis Undulator |
|  |  |  |  |
| March, 16 | 20.5 C | Calibrate HXR Hall probe |  |
| March, 17 |  | Calibrate HXR Hall probe |  |
| March, 18 |  |  | Calibrate SXR Hall probe |
| March, 19 |  |  | Calibrate SXR Hall probe |
| March, 22 | 20.5 C | Capacitive sensors | Reference magnet |
|  |  | Reference magnet | Hall probe On-axis PS |
|  |  | Hall probe On-axis | Hall probe On-axis Undulator |
|  |  |  |  |
| March, 23 | 21 C | Calibrate HXR Hall probe |  |
| March, 24 |  | Calibrate HXR Hall probe |  |
| March, 25 |  |  | Calibrate SXR Hall probe |
| March, 26 |  |  | Calibrate SXR Hall probe |
| March, 29 | 21 C | Capacitive sensors | Reference magnet |
|  |  | Reference magnet | Hall probe On-axis PS |
|  |  | Hall probe On-axis | Hall probe On-axis Undulator |
|  |  |  |  |
| March, 30 | 20C | Calibrate HXR Hall probe |  |
| March, 31 |  | Calibrate HXR Hall probe |  |
| April, 1 |  |  | Calibrate SXR Hall probe |
| April, 2 |  |  | Calibrate SXR Hall probe |
| April, 5 | 20 C | Capacitive sensors | Reference magnet |
|  |  | Reference magnet | Hall probe On-axis PS |
|  |  | Hall probe On-axis | Hall probe On-axis Undulator |