Coil Calibration for DC 24 for Corrector runs is in folder LCLS\corr\001035\001035_old_data

Coil Constant = Wire Bdl/I divded by Coil Bdl/I  =  (0.0000640/0.0000609)* 1.12066= 1.17771