## Sheet1
GMW Associates | [15 empty] | GMW Associates
Electromagnet Excitation Plot | [15 empty] | Electromagnet Excitation Plot
Field Vs Current | [15 empty] | Field Vs Current
Contract No: |  |  |  |  | Page: | 1 | of | 2 |  |  |  | Date: |  | Sept 28, 2004 |  | Contract No: |  | Page: | 2 | of | 2 |  | Date: | Sept 28, 2004
Customer: | [11 empty] | Engr: |  | G.Douglas |  | Customer: | [6 empty] | Engr: | G.Douglas
Model: |  | 3474 |  |  | Power Supply: | [6 empty] | Set Current: |  |  |  | Model: | 3474 | Power Supply: |  |  |  |  | Set Current:
Serial No: |  | None |  |  | Serial No: | [6 empty] | Target Field: |  |  |  | Serial No: | None | Serial No: |  |  |  |  | Target Field:
Pole Face: |  | 200mm |  |  | Position: |  |  |  | X=0, Y=0, Z=0 | [6 empty] | Pole Face: | 200mm | Position: |  |  |  | X=0, Y=0, Z=0
Serial No: |  | None |  |  | Notes: | Data taken in Magneto simulation software | [9 empty] | Serial No: | None | Notes: | Data taken in Magneto simulation software
Pole Gap: |  | 05 to 160mm | [13 empty] | Pole Gap: | 05 to 160mm
Pole Spacers: |  | None | [13 empty] | Pole Spacers: | None
Gap [mm]
Amps | 5 | 10 | 20 | 30 |  | 40 |  |  |  | 50 | 60 |  | 70 |  | 80
0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 |  | 0
20 | 2.1 | 1.7219 | 0.88761 | 0.59538 |  | 0.44749 |  |  |  | 0.35836 | 0.29888 |  | 0.25626 |  | 0.22425
40 | 2.3 | 2.186 | 1.653 | 1.1824 |  | 0.89238 |  |  |  | 0.71592 | 0.59751 |  | 0.51244 |  | 0.4487
60 | 2.3406 | 2.2789 | 2 | 1.6439 |  | 1.3158 |  |  |  | 1.0651 | 0.89225 |  | 0.76645 |  | 0.67132
80 | 2.3803 | 2.3114 | 2.1084 | 1.8632 |  | 1.5752 |  |  |  | 1.3606 | 1.1631 |  | 1.0081 |  | 0.88597
100 | 2.3994 | 2.3339 | 2.175 | 1.9634 |  | 1.7393 |  |  |  | 1.5186 | 1.3589 |  | 1.211 |  | 1.0808
120 | 2.4208 | 2.3529 | 2.2123 | 2.0319 |  | 1.8454 |  |  |  | 1.6533 | 1.4732 |  | 1.3365 |  | 1.2226
140 | 2.4444 | 2.3675 | 2.2347 | 2.0803 |  | 1.9087 |  |  |  | 1.7365 | 1.5895 |  | 1.4377 |  | 1.3152
160 | 2.46 | 2.3823 | 2.259 | 2.1095 |  | 1.9451 |  |  |  | 1.8026 | 1.663 |  | 1.5322 |  | 1.4066
180 | 2.48 | 2.4033 | 2.2733 | 2.1379 |  | 1.9826 |  |  |  | 1.8387 | 1.714 |  | 1.5878 |  | 1.4798
200 | 2.5 | 2.42 | 2.2868 | 2.1605 |  | 2.0118 |  |  |  | 1.8805 | 1.7568 |  | 1.6432 |  | 1.5315
Gap [mm]
Amps | 100 | 120 | 140 | 160
0 | 0 | 0 | 0 | 0 |  | 0
20 | 0.17922 | 0.14888 | 0.12714 | 0.11122 |  | 0
40 | 0.35878 | 0.29796 | 0.25457 | 0.22295 |  | 0
60 | 0.5372 | 0.44641 | 0.38147 | 0.3379 |  | 0
80 | 0.71343 | 0.59376 | 0.50792 | 0.45345 |  | 0
100 | 0.8815 | 0.73782 | 0.63342 | 0.56157 |  | 0
120 | 1.0206 | 0.86857 | 0.74035 | 0.66998 |  | 0
140 | 1.1238 | 0.97338 | 0.83548 | 0.77182 |  | 0
160 | 1.2113 | 1.055 | 0.93171 | 0.85739 |  | 0
180 | 1.2798 | 1.1279 | 1.0053 | 0.92283 |  | 0
200 | 1.336 | 1.1792 | 1.0653 | 0.99078 |  | 0
Approximate limit for continuous operation with convection air cooling +/-40A +/-22V
Pole Gap
Maximum current for continuous operation with water cooling +/-140A +/-74V