

Average standard deviation is 0.30μrad measured at HP 13mm



Average standard deviation is 0.06° measured at HP 13mm



Average standard deviation is 0.4mT measured at HP 13mm



Average standard deviation is 0.0.4µm measured at HP 13mm



Average standard deviation is 0.0.2µm measured at HP 13mm



Average standard deviation is 3.2Gcm measured at HP 13mm



Average standard deviation is 6.3Gcm measured at HP 13mm



Average standard deviation is 282 Gcm2 measured at HP 13mm



Average standard deviation is 271 Gcm2 measured at HP 13mm