BLUE DIPOLE MAGNET – STEERING MAGNET (ECHO 7)

FIDUCIALIZATION REPORT

| Inspector: | Keith Caban |
| --- | --- |
| Customerr: | Dieter Walz |
| Date: | Monday, July 20, 2009 |
| Work Order/Charge No.: | 09-3008 |
| Serial Number: | #5 |
| URL of Fiducial Report: | \\Web002\www-group\met\Quality\FIDUCIAL REPORTS\BLUE-DIPOLE FFTB STEERING MAGNET\DIPOLE-4.pdf |

Part Set-up – Coordinate System Set-up

Planar Alignment

- Mid-Plane of the magnet

Spatial Alignment

  - Plane along the bottom plane.

“Z” Zero

- Mid-Plane of the magnet. (see dashed planar alignment above)

“X” & “Y” Zero

- X zero is created by the symmetry point of the outer ends of the magnet where TB 5 & 6 are and opposite where the terminal strip is located.

- Symmetry plane of the pole planes

  - This creates Y- zero

Tooling Ball Measurements/Locations

Projected cylinder into 1” offset plane

| Tooling Ball | Form | n | X | Y | Z | b |
| --- | --- | --- | --- | --- | --- | --- |
| TB 1 | 0.00040 | 0.25046 | 3.48652 | 5.02925 | 1.63371 | 0.00038 |
| TB 2 | 0.00034 | 0.25044 | 3.47357 | 5.02923 | -1.60505 | 0.00037 |
| TB 3 | 0.00023 | 0.25047 | -3.51175 | 5.02701 | -1.62813 | 0.00040 |
| TB 4 | 0.00022 | 0.25057 | -3.50771 | 5.02701 | 1.65017 | 0.00015 |
| TB 5 | 0.00026 | 0.25045 | -6.26583 | 0.00721 | 1.64715 | 0.00044 |
| TB 6 | 0.00028 | 0.25044 | -6.26892 | 0.00109 | -1.61752 | 0.00034 |

Pole Tip Distance/Gaps (at location X, Z)

| Station | Gap Distance | X | Z |
| --- | --- | --- | --- |
| 1 | 0.60022 | -1.125 | -1.375 |
| 2 | 0.60044 | 1.125 | -1.375 |
| 3 | 0.60041 | 0.000 | 0.000 |
| 4 | 0.60112 | -1.125 | 1.375 |
| 5 | 0.60099 | 1.125 | 1.375 |
| Avg. Gap | 0.60064 | - | - |

# Text boxes

+Z

+X

+Y

-Z

+Y

-X

+Y

+Z

+X

+Y

+Y

+Z

+X