LCLS ‘0.91Q17.72’ LTU Quadrupole Magnet

FIDUCIALIZATION REPORT

| Inspector: | Keith Caban |
| --- | --- |
| Responsible Engineer: | Carl Rago |
| Date: | Monday, January 22, 2007 |
| Work Order/Charge No.: | 21699-1 |
| Serial Number: | 000320 |
| URL of Fiducial Report: | \\Web002\www-group\met\Quality\FIDUCIAL REPORTS\LCLS LTU QUAD\000320.pdf |

Part Set-up – Coordinate System Set-up

Spatial Alignment

- Geometric axis of the poles of the magnet.

Planar Alignment

- Clocking plane where TB A,C, D, & E reside.

“Z” Zero

- Mid-plane of the magnet (pole planes on each end).

“X” & “Y” Zero

- Geometric axis of the poles of the magnet.

| Front View | Side View |
| --- | --- |

Tooling Ball Measurements/Locations

Top of magnet; view from “+Y”

| Tooling Ball | FORM | DIAMETER | X | Y | Z |
| --- | --- | --- | --- | --- | --- |
| TB A | 0.00046 | 0.49751 | 5.00743 | 3.70959* | -8.04255 |
| TB B | 0.00024 | 0.49797 | -1.38670 | 7.32264 | -8.04184 |
| TB C | 0.00025 | 0.49953 | -5.01686 | 3.69631 | -8.01610 |
| TB D | 0.00015 | 0.49949 | -5.31589 | 3.69821 | 6.28880 |
| TB E | 0.00049 | 0.49760 | -1.38417 | 7.32461 | 7.99910 |
| TB F | 0.00012 | 0.49983 | 5.29916 | 3.70885 | 6.30051 |

.

* Denotes input error, data set is now correct.

Pole Distances

| Pole | -Z side | +Z side |  |
| --- | --- | --- | --- |
| A-C | 0.90753 | 0.90811 | 0.00058 |
| B-D | 0.90641 | 0.90864 | 0.00223 |

# Text boxes

+Y

+Z

+Y

+X

+X

+Z

D

C

B

A