LCLS Wire Scanner

FIDUCIALIZATION REPORT

| Inspector: | Keith Caban |
| --- | --- |
| Responsible Engineer: | Tim Montagne |
| Date: | Tuesday, August 29, 2006 |
| Work Order/Charge No.: | 21990-1 |
| Serial Number: | 001069 |
| URL of Fiducial Report: | \\Web002\www-group\met\Quality\FIDUCIAL REPORTS\LCLS WIRE SCANNER\LCLS WIRE SCANNER 001069.pdf |

Part Set-up – Coordinate System Set-up

Planar Alignment

- Mid-Plane of (2) Flange Blank-offs

Spatial Alignment

- Base Plane (where stamped 
SA-290-271-00E4) is located

  - Y plane

“Z” Zero

- Mid-Plane of the 2 flanges.

“X” & “Y” Zero

- X zero is created by the 2 flange ends.

| SIDE | FRONT |
| --- | --- |

Tooling Ball Measurements/Locations

| Tooling Ball | FORM | DIAMETER | X | Y | Z |
| --- | --- | --- | --- | --- | --- |
| TB 1 | 0.00079 | 0.49869 | -10.05297 | -0.09050 | -4.29208 |
| TB 2 | 0.00059 | 0.49790 | -10.08649 | -0.11089 | 4.29568 |

# Text boxes

+Y

+X

+Y

-Z