SSRL SPEAR 3

WINDOW UPBEAM FLANGE

FIDUCIALIZATION REPORT

(PF-444-317-32)

Inspector: 	Keith Caban

Engineer: 	Andy Ringwall

Date: 		2/28/05

Charge No:	95-5102-0

Fiducialization Coordinate System Set Up:

Flange is set up with upbeam direction facing towards the ceiling on three 1-2-3 blocks, with one sphere pointing in the plus Y direction.

Z zero is set by a plane Datum D on sheet 2 of PF-444-317-32.

X,Y zero is set by the diameter Datum B..

The flange is clocked by the sphere in the Y direction (circled in orange).

FIDUCIALIZE TOOLING BALLS

| Tooling Ball | Form | Diameter | X | Y | Z |
| --- | --- | --- | --- | --- | --- |
| 1 | 0.00008 | 0.49874 | -6.48339 | 0.01072 | -0.16509 |
| 2 | 0.00073 | 0.49666 | 0.00750 | 6.48584 | -0.13981 |
| 3 | 0.00046 | 0.49789 | 6.48378 | 0.04743 | -0.13466 |

# Text boxes

Z+

Y+

X+

TB 3

TB 2

TB 1

Y+

X+