# MFD NON-COMPLIANCE REPORT # 5164

| PART NAME: | Flange | DATE: | 01/20/06 |
| --- | --- | --- | --- |
| PF/SA NO.: | PF-341-392-51 | INSPECTOR: | K. CABAN |
| WORK ORDER NO.: | 20698-2 | ENGINEER: | A. HILL | EXT.: | 4453 |
| VENDOR | MFD LIGHTMS | ROUTE TO: | PRECISION |

| Reason For Non-Compliance: | Action (UAI,RWK,SCRP) |
| --- | --- |
| n 3.82 ± 0.020 IS OVERSIZED ON 1 PART 3.8503 |  |

| Engineer Signature: |  | Date: |  |
| --- | --- | --- | --- |