# MFD NON-COMPLIANCE REPORT # 7020

Date: June 6, 2003

Job #:  17362-3

Part Number:  PF-444-319-85

## Part Description:  RF Seal, J-Spring, 4x (lower)

Engineer:

Reason For Non-compliance:

Parts 1-6

4x .240`.005 are oversized by  .0229”

4x .150`.005 are oversized by  .0156”

4x .090`.005 are oversized by .0083”

4x .178`.005 are undersized by .0058”

Action Taken:

Use as is.

Engineer Signature: __________________________