## sn001
INSPECTION REPORT
Metrology Department - Quality Inspection | [6 empty] | Date Received:
Part Name | THREADED STANDOFF |  |  |  |  | Route To | PRECISION
Drawing # | PF-342-461-20 |  |  |  |  | Cmm # | N/A
Work Order | 17244-2 |  |  |  |  | Serial No. | 1
MFG. | MFD |  |  |  |  | Insp. Date | 2003-03-26
Resp. Engr. | S. METCALFE |  |  | Ext | 8694 | Inspector | Keith Caban
Dimension | Feature |  | Actual | Nominal | USL | LSL | Act - Nom | IN/OUT
1 | DIST | X | 5.263 | 5.25 | 0.04 | -0.04 | 0.013 | IN
2 | DEPTH | Z | 1.25 | 1.25 | 0.015 | -0.015 | 0 | IN
3 | DEPTH | Z | 2.756 | 2.75 | 0.015 | -0.015 | 0.006 | IN
4 | DIAMETER | DM | 0.31 | 0.312 | 0.015 | -0.015 | -0.002 | IN
5 | DIST | X | 1.756 | 1.75 | 0.04 | -0.04 | 0.006 | IN
6 | THREADS | UNC | GO | 5/16-11 |  |  | OK | IN