## sn001
INSPECTION REPORT
Metrology Department - Quality Inspection | [6 empty] | Date Received: | 2003-04-03
Part Name | BASE PLATE |  |  |  |  | Route To | BRAZING
Drawing # | PF-341-392-31 REV. 1 |  |  |  |  | Cmm # | QC798(A)(B)
Work Order | 17131-69 |  |  |  |  | Serial No. | 1
MFG. | MFD |  |  |  |  | Insp. Date | 2003-04-04
Resp. Engr. | A. HILL |  |  | Ext | 4453 | Inspector | Keith Caban
Dimension | Feature |  | Actual | Nominal | USL | LSL | Act - Nom | IN/OUT
1 | DAT$PLA_A | FORM | 0.00099449 | 0 | 0.01 | 0 | 0.00099449
2 | DIST_10P343 | DY | 10.3431 | 10.343 | 0.005 | -0.005 | 0.0001315
3 | DIST_P15 | Z | -0.15255 | 0.15 | 0.01 | -0.01 | 0.0025504
4 | DIST_P120 | Z | -0.12392 | 0.12 | 0.005 | -0.005 | 0.0039173
5 | RAD_P77 | DM | 0.77414 | 0.77 | 0.02 | 0 | 0.0041354
6 | DIST_16P020 | X | -16.0221 | 16.02 | 0.005 | -0.005 | 0.0020843
7 | DIST_P56 | DX | 0.56054 | 0.56 | 0.01 | -0.01 | 0.00054016
8 | DIST_16P25 | X | -16.2505 | 16.25 | 0.01 | -0.01 | 0.00048425
9 | RAD_P20 | RA | 0.19983 | 0.2 | 0.01 | -0.01 | -0.00017205
10 | RAD_P25 | RA | 0.2505 | 0.25 | 0.01 | -0.01 | 0.00049528
11 | DIST_9P883 | DY | 9.8833 | 9.883 | 0.005 | -0.005 | 0.00029882
12 | AXI_14P036DEG | EA_PX | 14.0392 | 14.036 | 0.25 | 0.25 | 0.00323
13 | DIST_P2067(1) | Y | 0.20678 | 0.2067 | 0.005 | -0.005 | 7.8346e-05
14 | DIST_4P1340(1) | Y | 4.1342 | 4.134 | 0.015 | -0.015 | 0.00024449
15 | DIST_P2067(11) | DX | 0.20664 | 0.2067 | 0.005 | -0.005 | -6.2598e-05
16 | DIST_15P7086 | DX | 15.7206 | 15.7086 | 0.015 | -0.015 | 0.01197
17 | AXI_14P036DEG(1) | EA_PX | 14.0298 | 14.036 | 0.025 | 0.025 | -0.00623
18 | DIST_P2067(2) | Y | -0.20675 | 0.2067 | 0.005 | -0.005 | 4.5276e-05
19 | DIST_4P1340(2) | Y | -4.131 | 4.134 | 0.015 | -0.015 | -0.0030378
20 | DIST_P230 | Z | -0.23357 | 0.23 | 0.005 | -0.005 | 0.0035681
21 | INTPNT | X | -0.11215 | 0.116 | 0.005 | -0.005 | -0.003848
22 | DIST_P716 | DY | -0.70892 | 0.716 | 0.005 | -0.005 | -0.0070819
23 | DAT$PLA_A | FORM | 0.0092299 | 0 | 0.01 | 0 | 0.0092299
24 | POS$THRD(1) | POSITN | 0.0012366 | 0 | 0.014 | 0 | 0.0012366
25 | POS$THRD(2) | POSITN | 0.0018484 | 0 | 0.014 | 0 | 0.0018484
26 | POS$THRD(3) | POSITN | 0.0027917 | 0 | 0.014 | 0 | 0.0027917
27 | POS$THRD(4) | POSITN | 0.010659 | 0 | 0.014 | 0 | 0.010659
28 | POS$THRD(5) | POSITN | 0.0054189 | 0 | 0.014 | 0 | 0.0054189
29 | POS$THRD(6) | POSITN | 0.0036394 | 0 | 0.014 | 0 | 0.0036394
30 | POS$THRD(7) | POSITN | 0.0047307 | 0 | 0.014 | 0 | 0.0047307
31 | ANG_6P19DEG | EA_PX | 6.1877 | 6.19 | 1 | -1 | -0.00232
32 | DIST_15P04 | X | -15.0421 | 15.04 | 0.01 | -0.01 | 0.0021445
33 | DIST_4P00 | DY | -4.0016 | 4 | 0.01 | -0.01 | 0.0016402
34 | CBORE_P359 | DM | 0.3598 | 0.359 | 0.002 | 0 | 0.0008
35 | DM | X | -1.4969 | 1.5 | 0.01 | -0.01 | -0.0031287
36 | X | Z | -0.23563 | 0.237 | 0.005 | -0.005 | -0.0013681
37 | RAD_P625 | DM | 0.6262 | 0.625 | 0.02 | -0.02 | 0.0012004
38 | POS_SIDE$THRD(1) | POSITN | 0.010922 | 0 | 0.014 | 0 | 0.010922
39 | CIR_P10 | DM | 0.09841 | 0.1 | 0.01 | -0.01 | -0.0015902
40 | POS_P10 | POSITN | 0.00086654 | 0 | 0.02 | 0 | 0.00086654
41 | DIST_7P384 | X | -7.383 | 7.384 | 0.01 | -0.01 | -0.001035
42 | DIST_P390 | DX | -0.39115 | 0.39 | 0.005 | -0.005 | 0.0011453
43 | DIST_0P00 | Y | -0.00036024 | 0 | 0.01 | -0.01 | 0.00036024
44 | POS_SLOT(1) | POSITN | 0.0014996 | 0 | 0.016 | 0 | 0.0014996
45 | POS_SLOT(2) | POSITN | 0.0012378 | 0 | 0.016 | 0 | 0.0012378
46 | DIST_P70 | Z | -0.70494 | 0.7 | 0.01 | -0.01 | 0.0049417