{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator",15]
["Date:","2010-04-28"]
["Crew:","MR,FG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",28.279]
["1st. Near",28.279]
["2nd. Far",28.279]
["2nd Near",28.279]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.279}]
["Near Should Read",28.279]
["LOS",28.279]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.767000000000003,32.768999999999998,32.774000000000001,32.76]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.767000000000003},{"$f":"SUM(B24:B25)","v":33.768999999999998},{"$f":"SUM(C24:C25)","v":33.774000000000001},{"$f":"SUM(D24:D25)","v":33.76}]
[{"$f":"B18","v":28.279},{"$f":"B18","v":28.279},{"$f":"B18","v":28.279},{"$f":"B18","v":28.279}]
[{"$f":"SUM(A27-A26)","v":-5.4880000000000031},{"$f":"SUM(B27-B26)","v":-5.4899999999999984},{"$f":"SUM(C27-C26)","v":-5.495000000000001},{"$f":"SUM(D27-D26)","v":-5.4809999999999981}]
[]
["5)","6)","7)","8)"]
[22.978999999999999,22.984000000000002,22.981999999999999,22.983000000000001]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.978999999999999},{"$f":"SUM(B31:B32)","v":23.984000000000002},{"$f":"SUM(C31:C32)","v":23.981999999999999},{"$f":"SUM(D31:D32)","v":23.983000000000001}]
[{"$f":"B18","v":28.279},{"$f":"B18","v":28.279},{"$f":"B18","v":28.279},{"$f":"B18","v":28.279}]
[{"$f":"SUM(A34-A33)","v":4.3000000000000007},{"$f":"SUM(B34-B33)","v":4.2949999999999982},{"$f":"SUM(C34-C33)","v":4.2970000000000006},{"$f":"SUM(D34-D33)","v":4.2959999999999994}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.313000000000002,29.780999999999999,28.021999999999998,28.02]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.313000000000002},{"$f":"SUM(B41:B42)","v":30.780999999999999},{"$f":"SUM(C41:C42)","v":29.021999999999998},{"$f":"SUM(D41:D42)","v":29.02}]
[{"$f":"B18","v":28.279},{"$f":"B18","v":28.279},{"$f":"B18","v":28.279},{"$f":"B18","v":28.279}]
[{"$f":"SUM(A44-A43)","v":-7.0340000000000025},{"$f":"SUM(B44-B43)","v":-2.5019999999999989},{"$f":"SUM(C44-C43)","v":-0.74299999999999855},{"$f":"SUM(D44-D43)","v":-0.74099999999999966}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.279},"LOS"]
["Undulator",{"$f":"B5","v":15}]
["Date:",{"$f":"B6","v":"2010-04-28"}]
["Crew:",{"$f":"B7","v":"MR,FG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.878,30.881]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.878},{"$f":"SUM(C64:C65)","v":31.881}]
[null,{"$f":"B18","v":28.279},{"$f":"B18","v":28.279}]
[0,{"$f":"SUM(B67-B66)","v":-3.5990000000000002},{"$f":"SUM(C67-C66)","v":-3.6020000000000003}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.152000000000001,32.744999999999997,32.744999999999997]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.152000000000001},{"$f":"SUM(B74:B75)","v":33.744999999999997},{"$f":"SUM(C74:C75)","v":33.744999999999997}]
[{"$f":"B18","v":28.279},{"$f":"B18","v":28.279},{"$f":"B18","v":28.279}]
[{"$f":"SUM(A77-A76)","v":-1.8730000000000011},{"$f":"SUM(B77-B76)","v":-5.4659999999999975},{"$f":"SUM(C77-C76)","v":-5.4659999999999975}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.161000000000001,32.756,32.76]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.161000000000001},{"$f":"SUM(B83:B84)","v":33.756},{"$f":"SUM(C83:C84)","v":33.76}]
[{"$f":"B18","v":28.279},{"$f":"B18","v":28.279},{"$f":"B18","v":28.279}]
[{"$f":"SUM(A86-A85)","v":-1.8820000000000014},{"$f":"SUM(B86-B85)","v":-5.4770000000000003},{"$f":"SUM(C86-C85)","v":-5.4809999999999981}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.881,30.873999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.881},{"$f":"SUM(C92:C93)","v":31.873999999999999}]
[null,{"$f":"B18","v":28.279},{"$f":"B18","v":28.279}]
[0,{"$f":"SUM(B95-B94)","v":-3.6020000000000003},{"$f":"SUM(C95-C94)","v":-3.5949999999999989}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,6.18,6.181]
[null,null,1,1]
["Undulator",{"$f":"B5","v":15},{"$f":"SUM(C104+C105)","v":7.18},{"$f":"SUM(D104+D105)","v":7.181}]
["Date:",{"$f":"B6","v":"2010-04-28"}]
["Crew:",{"$f":"B7","v":"MR,FG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":7.1805000000000003}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":6.18},9.7880000000000003,6.19,9.7899999999999991]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":7.18},{"$f":"SUM(B114:B115)","v":10.788},{"$f":"SUM(C114:C115)","v":7.19},{"$f":"SUM(D114:D115)","v":10.79}]
[{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003}]
[{"$f":"SUM(A117-A116)","v":5.0000000000061107E-4},{"$f":"SUM(B117-B116)","v":-3.6074999999999999},{"$f":"SUM(C117-C116)","v":-9.5000000000000639E-3},{"$f":"SUM(D117-D116)","v":-3.6094999999999988}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[6.1920000000000002,9.7929999999999993,{"$f":"D104","v":6.181},9.7880000000000003]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":7.1920000000000002},{"$f":"SUM(B124:B125)","v":10.792999999999999},{"$f":"SUM(C124:C125)","v":7.181},{"$f":"SUM(D124:D125)","v":10.788}]
[{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003}]
[{"$f":"SUM(A127-A126)","v":-1.1499999999999844E-2},{"$f":"SUM(B127-B126)","v":-3.6124999999999989},{"$f":"SUM(C127-C126)","v":-4.9999999999972289E-4},{"$f":"SUM(D127-D126)","v":-3.6074999999999999}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[11.585000000000001,null,-5.47,"LOS"]
[{"$f":"D109","v":7.1805000000000003},null,4.5999999999999999E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4045000000000005},null,{"$f":"SUM(C137+C138)","v":-5.4239999999999995}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4629999999999992},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":15}]
["Date:",{"$f":"B6","v":"2010-04-28"}]
["Crew:",{"$f":"B7","v":"MR,FG"}]
[]
[]
["HI =",{"$f":"D109","v":7.1805000000000003}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[2.7,2.702,2.7069999999999999,2.7080000000000002]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":3.7},{"$f":"SUM(B165:B166)","v":3.702},{"$f":"SUM(C165:C166)","v":3.7069999999999999},{"$f":"SUM(D165:D166)","v":3.7080000000000002}]
[{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003}]
[{"$f":"SUM(A168-A167)","v":3.4805000000000001},{"$f":"SUM(B168-B167)","v":3.4785000000000004},{"$f":"SUM(C168-C167)","v":3.4735000000000005},{"$f":"SUM(D168-D167)","v":3.4725000000000001}]
[]
[]
["5)","6)","7)","8)"]
[9.7859999999999996,9.7899999999999991,9.7940000000000005,9.7970000000000006]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":10.786},{"$f":"SUM(B173+B174)","v":10.79},{"$f":"SUM(C173+C174)","v":10.794},{"$f":"SUM(D173+D174)","v":10.797000000000001}]
[{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003}]
[{"$f":"SUM(A176-A175)","v":-3.6054999999999993},{"$f":"SUM(B176-B175)","v":-3.6094999999999988},{"$f":"SUM(C176-C175)","v":-3.6135000000000002},{"$f":"SUM(D176-D175)","v":-3.6165000000000003}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[6.42,null,8.5640000000000001,11.645]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":7.42},null,{"$f":"SUM(C184+C185)","v":9.5640000000000001},{"$f":"SUM(D184+D185)","v":12.645}]
[{"$f":"D109","v":7.1805000000000003},null,{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003}]
[{"$f":"SUM(A187-A186)","v":-0.2394999999999996},0,{"$f":"SUM(C187-C186)","v":-2.3834999999999997},{"$f":"SUM(D187-D186)","v":-5.4644999999999992}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[5.4710000000000001,5.4720000000000004,5.47,5.4710000000000001]
[{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003},{"$f":"D109","v":7.1805000000000003}]
[{"$f":"SUM(A196-A195)","v":1.7095000000000002},{"$f":"SUM(B196-B195)","v":1.7084999999999999},{"$f":"SUM(C196-C195)","v":1.7105000000000006},{"$f":"SUM(D196-D195)","v":1.7095000000000002}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":15}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-04-28"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"MR,FG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4805000000000001},{"$f":"B10*25.4","v":88.404700000000005},null,null,5,{"$f":"Sheet1!A35","v":4.3000000000000007},{"$f":"G10*25.4","v":109.22000000000001}]
[2,{"$f":"Sheet1!B169","v":3.4785000000000004},{"$f":"B11*25.4","v":88.35390000000001},null,null,6,{"$f":"Sheet1!B35","v":4.2949999999999982},{"$f":"G11*25.4","v":109.09299999999995}]
[3,{"$f":"Sheet1!C169","v":3.4735000000000005},{"$f":"B12*25.4","v":88.226900000000001},null,null,7,{"$f":"Sheet1!C35","v":4.2970000000000006},{"$f":"G12*25.4","v":109.14380000000001}]
[4,{"$f":"Sheet1!D169","v":3.4725000000000001},{"$f":"B13*25.4","v":88.201499999999996},null,null,8,{"$f":"Sheet1!D35","v":4.2959999999999994},{"$f":"G13*25.4","v":109.11839999999998}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4659999999999975},{"$f":"Sheet1!C118","v":-9.5000000000000639E-3},{"$f":"B20*25.4","v":-138.83639999999994},{"$f":"C20*25.4","v":-0.24130000000000162},null,{"$f":"H10-D21","v":156.79420000000005},{"$f":"C10-E20","v":88.646000000000001}]
["X1",{"$f":"Sheet1!A78","v":-1.8730000000000011},{"$f":"Sheet1!D118","v":-3.6094999999999988},{"$f":"B21*25.4","v":-47.574200000000026},{"$f":"C21*25.4","v":-91.681299999999965}]
["Y1",{"$f":"Sheet1!B78","v":-5.4659999999999975},null,{"$f":"B22*25.4","v":-138.83639999999994}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4770000000000003},{"$f":"Sheet1!A128","v":-1.1499999999999844E-2},{"$f":"B26*25.4","v":-139.11580000000001},{"$f":"C26*25.4","v":-0.29209999999999603},null,{"$f":"H13-D27","v":156.9212},{"$f":"C13-E26","v":88.493599999999986}]
["X1",{"$f":"Sheet1!A87","v":-1.8820000000000014},{"$f":"Sheet1!B128","v":-3.6124999999999989},{"$f":"B27*25.4","v":-47.802800000000033},{"$f":"C27*25.4","v":-91.757499999999965}]
["Y2",{"$f":"Sheet1!C87","v":-5.4809999999999981},"\\",{"$f":"B28*25.4","v":-139.21739999999994}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4629999999999992},{"$f":"B36*25.4","v":-138.76019999999997},null,"US  +",{"$f":"Sheet1!A197","v":1.7095000000000002},{"$f":"F36*25.4","v":43.421300000000002}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7084999999999999},{"$f":"F37*25.4","v":43.395899999999997}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7105000000000006},{"$f":"F38*25.4","v":43.446700000000014}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7095000000000002},{"$f":"F39*25.4","v":43.421300000000002}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4045000000000005},{"$f":"B42*25.4","v":-111.87430000000001}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":15}]
["Date"," ",{"$f":"Sheet1!B6","v":"2010-04-28"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"MR,FG"}]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4880000000000031},{"$f":"Sheet1!A169","v":3.4805000000000001},{"$f":"SUM(B10*25.4)","v":-139.39520000000007},{"$f":"SUM(D10*25.4)","v":-3540.6380800000015}]
[2,{"$f":"Sheet1!B28","v":-5.4899999999999984},{"$f":"Sheet1!B169","v":3.4785000000000004},{"$f":"SUM(B11*25.4)","v":-139.44599999999994},{"$f":"SUM(D11*25.4)","v":-3541.9283999999984},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.495000000000001},{"$f":"Sheet1!C169","v":3.4735000000000005},-139.57300000000001,-3545.1541999999999,null,{"$f":"Sheet1!C141","v":-5.4629999999999992},{"$f":"SUM(G12*25.4)","v":-138.76019999999997}]
[4,{"$f":"Sheet1!D28","v":-5.4809999999999981},{"$f":"Sheet1!D169","v":3.4725000000000001},-139.21739999999994,-3536.1219599999981]
[5,{"$f":"Sheet1!A35","v":4.3000000000000007},{"$f":"Sheet1!A177","v":-3.6054999999999993},109.22000000000001,2774.1880000000001]
[6,{"$f":"Sheet1!B35","v":4.2949999999999982},{"$f":"Sheet1!B177","v":-3.6094999999999988},109.09299999999995,2770.9621999999986,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2970000000000006},{"$f":"Sheet1!C177","v":-3.6135000000000002},109.14380000000001,2772.25252]
[8,{"$f":"Sheet1!D35","v":4.2959999999999994},{"$f":"Sheet1!D177","v":-3.6165000000000003},109.11839999999998,2771.6073599999995,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4045000000000005},{"$f":"SUM(G18*25.4)","v":-111.87430000000001}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8730000000000011},{"$f":"Sheet1!C118","v":-9.5000000000000639E-3},{"$f":"SUM(B23*25.4)","v":-47.574200000000026},{"$f":"SUM(C23*25.4)","v":-0.24130000000000162}]
["X1",{"$f":"Sheet1!A78","v":-1.8730000000000011},{"$f":"Sheet1!D118","v":-3.6094999999999988},{"$f":"SUM(B24*25.4)","v":-47.574200000000026},{"$f":"SUM(C24*25.4)","v":-91.681299999999965},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4659999999999975},null,{"$f":"SUM(B25*25.4)","v":-138.83639999999994},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7095000000000002},{"$f":"SUM(H25*25.4)","v":43.421300000000002}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7084999999999999},{"$f":"SUM(H26*25.4)","v":43.395899999999997}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7105000000000006},{"$f":"SUM(H27*25.4)","v":43.446700000000014}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7095000000000002},{"$f":"SUM(H28*25.4)","v":43.421300000000002}]
["Y1",{"$f":"Sheet1!B87","v":-5.4770000000000003},{"$f":"Sheet1!A128","v":-1.1499999999999844E-2},{"$f":"SUM(B29*25.4)","v":-139.11580000000001},{"$f":"SUM(C29*25.4)","v":-0.29209999999999603}]
["X1",{"$f":"Sheet1!A87","v":-1.8820000000000014},{"$f":"Sheet1!B128","v":-3.6124999999999989},{"$f":"SUM(B30*25.4)","v":-47.802800000000033},{"$f":"SUM(C30*25.4)","v":-91.757499999999965}]
["Y2",{"$f":"Sheet1!C87","v":-5.4809999999999981},null,{"$f":"SUM(B31*25.4)","v":-139.21739999999994}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5990000000000002},{"$f":"Sheet1!A118","v":5.0000000000061107E-4},{"$f":"SUM(B37*25.4)","v":-91.414599999999993},{"$f":"SUM(C37*25.4)","v":1.270000000001552E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6074999999999999},0,{"$f":"SUM(C38*25.4)","v":-91.630499999999998}]
["Y2",{"$f":"Sheet1!C68","v":-3.6020000000000003},null,{"$f":"SUM(B39*25.4)","v":-91.490800000000007}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6020000000000003},{"$f":"Sheet1!C128","v":-4.9999999999972289E-4},{"$f":"SUM(B43*25.4)","v":-91.490800000000007},{"$f":"SUM(C43*25.4)","v":-1.269999999999296E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6074999999999999},0,{"$f":"SUM(C44*25.4)","v":-91.630499999999998}]
["Y2",{"$f":"Sheet1!C96","v":-3.5949999999999989},null,{"$f":"SUM(B45*25.4)","v":-91.31299999999996}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0340000000000025},{"$f":"Sheet1!A188","v":-0.2394999999999996},{"$f":"SUM(B49*25.4)","v":-178.66360000000006},{"$f":"SUM(C49*25.4)","v":-6.0832999999999897}]
["B",{"$f":"Sheet1!B45","v":-2.5019999999999989},null,{"$f":"SUM(B50*25.4)","v":-63.550799999999967}]
["C",{"$f":"Sheet1!C45","v":-0.74299999999999855},{"$f":"Sheet1!C188","v":-2.3834999999999997},{"$f":"SUM(B51*25.4)","v":-18.872199999999964},{"$f":"SUM(C51*25.4)","v":-60.540899999999986}]
["D",{"$f":"Sheet1!D45","v":-0.74099999999999966},{"$f":"Sheet1!D188","v":-5.4644999999999992},{"$f":"SUM(B52*25.4)","v":-18.82139999999999},{"$f":"SUM(C52*25.4)","v":-138.79829999999998}]