{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator",22]
["Date:","2013-05-17"]
["Crew:","BR,MR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",36]
["1st. Near",29.338999999999999]
["2nd. Far",25]
["2nd Near",26.576000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.104649751122984}]
["Near Should Read",27.104649751122981]
["LOS",27.104649751122984]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[31.606000000000002,31.602,31.603000000000002,31.61]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":32.606000000000002},{"$f":"SUM(B24:B25)","v":32.602000000000004},{"$f":"SUM(C24:C25)","v":32.603000000000002},{"$f":"SUM(D24:D25)","v":32.61}]
[{"$f":"B18","v":27.104649751122984},{"$f":"B18","v":27.104649751122984},{"$f":"B18","v":27.104649751122984},{"$f":"B18","v":27.104649751122984}]
[{"$f":"SUM(A27-A26)","v":-5.5013502488770172},{"$f":"SUM(B27-B26)","v":-5.4973502488770194},{"$f":"SUM(C27-C26)","v":-5.4983502488770171},{"$f":"SUM(D27-D26)","v":-5.505350248877015}]
[]
["5)","6)","7)","8)"]
[21.815000000000001,21.818000000000001,21.815000000000001,21.821999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":22.815000000000001},{"$f":"SUM(B31:B32)","v":22.818000000000001},{"$f":"SUM(C31:C32)","v":22.815000000000001},{"$f":"SUM(D31:D32)","v":22.821999999999999}]
[{"$f":"B18","v":27.104649751122984},{"$f":"B18","v":27.104649751122984},{"$f":"B18","v":27.104649751122984},{"$f":"B18","v":27.104649751122984}]
[{"$f":"SUM(A34-A33)","v":4.2896497511229832},{"$f":"SUM(B34-B33)","v":4.2866497511229831},{"$f":"SUM(C34-C33)","v":4.2896497511229832},{"$f":"SUM(D34-D33)","v":4.2826497511229853}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.151000000000003,28.62,26.856999999999999,28.856999999999999]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.151000000000003},{"$f":"SUM(B41:B42)","v":29.62},{"$f":"SUM(C41:C42)","v":27.856999999999999},{"$f":"SUM(D41:D42)","v":29.856999999999999}]
[{"$f":"B18","v":27.104649751122984},{"$f":"B18","v":27.104649751122984},{"$f":"B18","v":27.104649751122984},{"$f":"B18","v":27.104649751122984}]
[{"$f":"SUM(A44-A43)","v":-7.0463502488770189},{"$f":"SUM(B44-B43)","v":-2.5153502488770165},{"$f":"SUM(C44-C43)","v":-0.75235024887701485},{"$f":"SUM(D44-D43)","v":-2.7523502488770148}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.104649751122984},"LOS"]
["Undulator",{"$f":"B5","v":22}]
["Date:",{"$f":"B6","v":"2013-05-17"}]
["Crew:",{"$f":"B7","v":"BR,MR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,29.704999999999998,29.707999999999998]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":30.704999999999998},{"$f":"SUM(C64:C65)","v":30.707999999999998}]
[null,{"$f":"B18","v":27.104649751122984},{"$f":"B18","v":27.104649751122984}]
[0,{"$f":"SUM(B67-B66)","v":-3.6003502488770138},{"$f":"SUM(C67-C66)","v":-3.6033502488770139}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[27.997,31.593,31.594000000000001]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":28.997},{"$f":"SUM(B74:B75)","v":32.593000000000004},{"$f":"SUM(C74:C75)","v":32.594000000000001}]
[{"$f":"B18","v":27.104649751122984},{"$f":"B18","v":27.104649751122984},{"$f":"B18","v":27.104649751122984}]
[{"$f":"SUM(A77-A76)","v":-1.8923502488770154},{"$f":"SUM(B77-B76)","v":-5.4883502488770191},{"$f":"SUM(C77-C76)","v":-5.4893502488770167}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28,31.594999999999999,31.6]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29},{"$f":"SUM(B83:B84)","v":32.594999999999999},{"$f":"SUM(C83:C84)","v":32.6}]
[{"$f":"B18","v":27.104649751122984},{"$f":"B18","v":27.104649751122984},{"$f":"B18","v":27.104649751122984}]
[{"$f":"SUM(A86-A85)","v":-1.8953502488770155},{"$f":"SUM(B86-B85)","v":-5.4903502488770144},{"$f":"SUM(C86-C85)","v":-5.495350248877017}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,29.704000000000001,29.701000000000001]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":30.704000000000001},{"$f":"SUM(C92:C93)","v":30.701000000000001}]
[null,{"$f":"B18","v":27.104649751122984},{"$f":"B18","v":27.104649751122984}]
[0,{"$f":"SUM(B95-B94)","v":-3.5993502488770162},{"$f":"SUM(C95-C94)","v":-3.596350248877016}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,7.569,7.5650000000000004]
[null,null,1,1]
["Undulator",{"$f":"B5","v":22},{"$f":"SUM(C104+C105)","v":8.5689999999999991},{"$f":"SUM(D104+D105)","v":8.5650000000000013}]
["Date:",{"$f":"B6","v":"2013-05-17"}]
["Crew:",{"$f":"B7","v":"BR,MR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":8.5670000000000002}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":7.569},11.177,7.5720000000000001,11.172000000000001]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":8.5689999999999991},{"$f":"SUM(B114:B115)","v":12.177},{"$f":"SUM(C114:C115)","v":8.5719999999999992},{"$f":"SUM(D114:D115)","v":12.172000000000001}]
[{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002}]
[{"$f":"SUM(A117-A116)","v":-1.9999999999988916E-3},{"$f":"SUM(B117-B116)","v":-3.6099999999999994},{"$f":"SUM(C117-C116)","v":-4.9999999999990052E-3},{"$f":"SUM(D117-D116)","v":-3.6050000000000004}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[7.5780000000000003,11.178000000000001,{"$f":"D104","v":7.5650000000000004},11.166]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":8.5779999999999994},{"$f":"SUM(B124:B125)","v":12.178000000000001},{"$f":"SUM(C124:C125)","v":8.5650000000000013},{"$f":"SUM(D124:D125)","v":12.166}]
[{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002}]
[{"$f":"SUM(A127-A126)","v":-1.0999999999999233E-2},{"$f":"SUM(B127-B126)","v":-3.6110000000000007},{"$f":"SUM(C127-C126)","v":1.9999999999988916E-3},{"$f":"SUM(D127-D126)","v":-3.5990000000000002}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[12.968,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":8.5670000000000002},null,3.7999999999999999E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4009999999999998},null,{"$f":"SUM(C137+C138)","v":-5.4260000000000002}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4649999999999999},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":22}]
["Date:",{"$f":"B6","v":"2013-05-17"}]
["Crew:",{"$f":"B7","v":"BR,MR"}]
[]
[]
["HI =",{"$f":"D109","v":8.5670000000000002}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[4.0910000000000002,4.0949999999999998,4.0940000000000003,4.0919999999999996]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":5.0910000000000002},{"$f":"SUM(B165:B166)","v":5.0949999999999998},{"$f":"SUM(C165:C166)","v":5.0940000000000003},{"$f":"SUM(D165:D166)","v":5.0919999999999996}]
[{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002}]
[{"$f":"SUM(A168-A167)","v":3.476},{"$f":"SUM(B168-B167)","v":3.4720000000000004},{"$f":"SUM(C168-C167)","v":3.4729999999999999},{"$f":"SUM(D168-D167)","v":3.4750000000000005}]
[]
[]
["5)","6)","7)","8)"]
[11.172000000000001,11.173999999999999,11.175000000000001,11.176]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":12.172000000000001},{"$f":"SUM(B173+B174)","v":12.173999999999999},{"$f":"SUM(C173+C174)","v":12.175000000000001},{"$f":"SUM(D173+D174)","v":12.176}]
[{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002}]
[{"$f":"SUM(A176-A175)","v":-3.6050000000000004},{"$f":"SUM(B176-B175)","v":-3.6069999999999993},{"$f":"SUM(C176-C175)","v":-3.6080000000000005},{"$f":"SUM(D176-D175)","v":-3.609}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[7.8090000000000002,null,9.9550000000000001,13.036]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":8.8090000000000011},null,{"$f":"SUM(C184+C185)","v":10.955},{"$f":"SUM(D184+D185)","v":14.036}]
[{"$f":"D109","v":8.5670000000000002},null,{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002}]
[{"$f":"SUM(A187-A186)","v":-0.24200000000000088},0,{"$f":"SUM(C187-C186)","v":-2.3879999999999999},{"$f":"SUM(D187-D186)","v":-5.4689999999999994}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[6.8550000000000004,6.8550000000000004,6.8579999999999997,6.859]
[{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002},{"$f":"D109","v":8.5670000000000002}]
[{"$f":"SUM(A196-A195)","v":1.7119999999999997},{"$f":"SUM(B196-B195)","v":1.7119999999999997},{"$f":"SUM(C196-C195)","v":1.7090000000000005},{"$f":"SUM(D196-D195)","v":1.7080000000000002}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":22}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-05-17"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR,MR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.476},{"$f":"B10*25.4","v":88.290399999999991},null,null,5,{"$f":"Sheet1!A35","v":4.2896497511229832},{"$f":"G10*25.4","v":108.95710367852377}]
[2,{"$f":"Sheet1!B169","v":3.4720000000000004},{"$f":"B11*25.4","v":88.188800000000001},null,null,6,{"$f":"Sheet1!B35","v":4.2866497511229831},{"$f":"G11*25.4","v":108.88090367852377}]
[3,{"$f":"Sheet1!C169","v":3.4729999999999999},{"$f":"B12*25.4","v":88.214199999999991},null,null,7,{"$f":"Sheet1!C35","v":4.2896497511229832},{"$f":"G12*25.4","v":108.95710367852377}]
[4,{"$f":"Sheet1!D169","v":3.4750000000000005},{"$f":"B13*25.4","v":88.265000000000015},null,null,8,{"$f":"Sheet1!D35","v":4.2826497511229853},{"$f":"G13*25.4","v":108.77930367852382}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4893502488770167},{"$f":"Sheet1!C118","v":-4.9999999999990052E-3},{"$f":"B20*25.4","v":-139.42949632147622},{"$f":"C20*25.4","v":-0.12699999999997472},null,{"$f":"H10-D21","v":157.02279999999996},{"$f":"C10-E20","v":88.417399999999972}]
["X1",{"$f":"Sheet1!A78","v":-1.8923502488770154},{"$f":"Sheet1!D118","v":-3.6050000000000004},{"$f":"B21*25.4","v":-48.065696321476189},{"$f":"C21*25.4","v":-91.567000000000007}]
["Y1",{"$f":"Sheet1!B78","v":-5.4883502488770191},null,{"$f":"B22*25.4","v":-139.40409632147629}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4903502488770144},{"$f":"Sheet1!A128","v":-1.0999999999999233E-2},{"$f":"B26*25.4","v":-139.45489632147616},{"$f":"C26*25.4","v":-0.2793999999999805},null,{"$f":"H13-D27","v":156.9212},{"$f":"C13-E26","v":88.544399999999996}]
["X1",{"$f":"Sheet1!A87","v":-1.8953502488770155},{"$f":"Sheet1!B128","v":-3.6110000000000007},{"$f":"B27*25.4","v":-48.141896321476189},{"$f":"C27*25.4","v":-91.719400000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.495350248877017},"\\",{"$f":"B28*25.4","v":-139.58189632147622}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4649999999999999},{"$f":"B36*25.4","v":-138.81099999999998},null,"US  +",{"$f":"Sheet1!A197","v":1.7119999999999997},{"$f":"F36*25.4","v":43.484799999999993}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7119999999999997},{"$f":"F37*25.4","v":43.484799999999993}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7090000000000005},{"$f":"F38*25.4","v":43.408600000000014}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7080000000000002},{"$f":"F39*25.4","v":43.383200000000002}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4009999999999998},{"$f":"B42*25.4","v":-111.7854}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-05-17"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.5013502488770172},{"$f":"Sheet1!A169","v":3.476},{"$f":"SUM(B10*25.4)","v":-139.73429632147622},{"$f":"SUM(C10*25.4)","v":88.290399999999991}]
[2,{"$f":"Sheet1!B28","v":-5.4973502488770194},{"$f":"Sheet1!B169","v":3.4720000000000004},{"$f":"SUM(B11*25.4)","v":-139.63269632147629},{"$f":"SUM(C11*25.4)","v":88.188800000000001},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4983502488770171},{"$f":"Sheet1!C169","v":3.4729999999999999},-139.65809632147622,88.214199999999991,null,{"$f":"Sheet1!C141","v":-5.4649999999999999},{"$f":"SUM(G12*25.4)","v":-138.81099999999998}]
[4,{"$f":"Sheet1!D28","v":-5.505350248877015},{"$f":"Sheet1!D169","v":3.4750000000000005},-139.83589632147618,88.265000000000015]
[5,{"$f":"Sheet1!A35","v":4.2896497511229832},{"$f":"Sheet1!A177","v":-3.6050000000000004},108.95710367852377,-91.567000000000007]
[6,{"$f":"Sheet1!B35","v":4.2866497511229831},{"$f":"Sheet1!B177","v":-3.6069999999999993},108.88090367852377,-91.617799999999974,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2896497511229832},{"$f":"Sheet1!C177","v":-3.6080000000000005},108.95710367852377,-91.643200000000007]
[8,{"$f":"Sheet1!D35","v":4.2826497511229853},{"$f":"Sheet1!D177","v":-3.609},108.77930367852382,-91.668599999999998,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4009999999999998},{"$f":"SUM(G18*25.4)","v":-111.7854}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8923502488770154},{"$f":"Sheet1!C118","v":-4.9999999999990052E-3},{"$f":"SUM(B23*25.4)","v":-48.065696321476189},{"$f":"SUM(C23*25.4)","v":-0.12699999999997472}]
["X1",{"$f":"Sheet1!A78","v":-1.8923502488770154},{"$f":"Sheet1!D118","v":-3.6050000000000004},{"$f":"SUM(B24*25.4)","v":-48.065696321476189},{"$f":"SUM(C24*25.4)","v":-91.567000000000007},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4883502488770191},null,{"$f":"SUM(B25*25.4)","v":-139.40409632147629},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7119999999999997},{"$f":"SUM(H25*25.4)","v":43.484799999999993}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7119999999999997},{"$f":"SUM(H26*25.4)","v":43.484799999999993}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7090000000000005},{"$f":"SUM(H27*25.4)","v":43.408600000000014}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7080000000000002},{"$f":"SUM(H28*25.4)","v":43.383200000000002}]
["Y1",{"$f":"Sheet1!B87","v":-5.4903502488770144},{"$f":"Sheet1!A128","v":-1.0999999999999233E-2},{"$f":"SUM(B29*25.4)","v":-139.45489632147616},{"$f":"SUM(C29*25.4)","v":-0.2793999999999805}]
["X1",{"$f":"Sheet1!A87","v":-1.8953502488770155},{"$f":"Sheet1!B128","v":-3.6110000000000007},{"$f":"SUM(B30*25.4)","v":-48.141896321476189},{"$f":"SUM(C30*25.4)","v":-91.719400000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.495350248877017},null,{"$f":"SUM(B31*25.4)","v":-139.58189632147622}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6003502488770138},{"$f":"Sheet1!A118","v":-1.9999999999988916E-3},{"$f":"SUM(B37*25.4)","v":-91.448896321476141},{"$f":"SUM(C37*25.4)","v":-5.079999999997184E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6099999999999994},0,{"$f":"SUM(C38*25.4)","v":-91.693999999999974}]
["Y2",{"$f":"Sheet1!C68","v":-3.6033502488770139},null,{"$f":"SUM(B39*25.4)","v":-91.525096321476155}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5993502488770162},{"$f":"Sheet1!C128","v":1.9999999999988916E-3},{"$f":"SUM(B43*25.4)","v":-91.423496321476208},{"$f":"SUM(C43*25.4)","v":5.079999999997184E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5990000000000002},0,{"$f":"SUM(C44*25.4)","v":-91.414599999999993}]
["Y2",{"$f":"Sheet1!C96","v":-3.596350248877016},null,{"$f":"SUM(B45*25.4)","v":-91.347296321476207}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0463502488770189},{"$f":"Sheet1!A188","v":-0.24200000000000088},{"$f":"SUM(B49*25.4)","v":-178.97729632147627},{"$f":"SUM(C49*25.4)","v":-6.146800000000022}]
["B",{"$f":"Sheet1!B45","v":-2.5153502488770165},null,{"$f":"SUM(B50*25.4)","v":-63.889896321476215}]
["C",{"$f":"Sheet1!C45","v":-0.75235024887701485},{"$f":"Sheet1!C188","v":-2.3879999999999999},{"$f":"SUM(B51*25.4)","v":-19.109696321476175},{"$f":"SUM(C51*25.4)","v":-60.655199999999994}]
["D",{"$f":"Sheet1!D45","v":-2.7523502488770148},{"$f":"Sheet1!D188","v":-5.4689999999999994},{"$f":"SUM(B52*25.4)","v":-69.909696321476176},{"$f":"SUM(C52*25.4)","v":-138.91259999999997}]