{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator",25]
["Date:","2014-02-07"]
["Crew:","BR-MR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",29]
["1st. Near",27.239000000000001]
["2nd. Far",28]
["2nd Near",26.986999999999998]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":26.645721925133682}]
["Near Should Read",26.645721925133682]
["LOS",26.645721925133682]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[31.14,31.141999999999999,31.135000000000002,31.128]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":32.14},{"$f":"SUM(B24:B25)","v":32.141999999999996},{"$f":"SUM(C24:C25)","v":32.135000000000005},{"$f":"SUM(D24:D25)","v":32.128}]
[{"$f":"B18","v":26.645721925133682},{"$f":"B18","v":26.645721925133682},{"$f":"B18","v":26.645721925133682},{"$f":"B18","v":26.645721925133682}]
[{"$f":"SUM(A27-A26)","v":-5.4942780748663189},{"$f":"SUM(B27-B26)","v":-5.4962780748663143},{"$f":"SUM(C27-C26)","v":-5.4892780748663235},{"$f":"SUM(D27-D26)","v":-5.4822780748663185}]
[]
["5)","6)","7)","8)"]
[21.363,21.364999999999998,21.363,21.353999999999999]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":22.363},{"$f":"SUM(B31:B32)","v":22.364999999999998},{"$f":"SUM(C31:C32)","v":22.363},{"$f":"SUM(D31:D32)","v":22.353999999999999}]
[{"$f":"B18","v":26.645721925133682},{"$f":"B18","v":26.645721925133682},{"$f":"B18","v":26.645721925133682},{"$f":"B18","v":26.645721925133682}]
[{"$f":"SUM(A34-A33)","v":4.2827219251336821},{"$f":"SUM(B34-B33)","v":4.2807219251336832},{"$f":"SUM(C34-C33)","v":4.2827219251336821},{"$f":"SUM(D34-D33)","v":4.2917219251336824}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[32.69,28.155999999999999,26.398,26.398]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":33.69},{"$f":"SUM(B41:B42)","v":29.155999999999999},{"$f":"SUM(C41:C42)","v":27.398},{"$f":"SUM(D41:D42)","v":27.398}]
[{"$f":"B18","v":26.645721925133682},{"$f":"B18","v":26.645721925133682},{"$f":"B18","v":26.645721925133682},{"$f":"B18","v":26.645721925133682}]
[{"$f":"SUM(A44-A43)","v":-7.0442780748663161},{"$f":"SUM(B44-B43)","v":-2.5102780748663172},{"$f":"SUM(C44-C43)","v":-0.75227807486631804},{"$f":"SUM(D44-D43)","v":-0.75227807486631804}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":26.645721925133682},"LOS"]
["Undulator",{"$f":"B5","v":25}]
["Date:",{"$f":"B6","v":"2014-02-07"}]
["Crew:",{"$f":"B7","v":"BR-MR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,29.244,29.247]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":30.244},{"$f":"SUM(C64:C65)","v":30.247}]
[null,{"$f":"B18","v":26.645721925133682},{"$f":"B18","v":26.645721925133682}]
[0,{"$f":"SUM(B67-B66)","v":-3.5982780748663181},{"$f":"SUM(C67-C66)","v":-3.6012780748663182}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[27.542000000000002,31.138000000000002,31.138999999999999]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":28.542000000000002},{"$f":"SUM(B74:B75)","v":32.138000000000005},{"$f":"SUM(C74:C75)","v":32.138999999999996}]
[{"$f":"B18","v":26.645721925133682},{"$f":"B18","v":26.645721925133682},{"$f":"B18","v":26.645721925133682}]
[{"$f":"SUM(A77-A76)","v":-1.8962780748663199},{"$f":"SUM(B77-B76)","v":-5.4922780748663236},{"$f":"SUM(C77-C76)","v":-5.4932780748663141}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[27.529,31.125,31.126999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":28.529},{"$f":"SUM(B83:B84)","v":32.125},{"$f":"SUM(C83:C84)","v":32.126999999999995}]
[{"$f":"B18","v":26.645721925133682},{"$f":"B18","v":26.645721925133682},{"$f":"B18","v":26.645721925133682}]
[{"$f":"SUM(A86-A85)","v":-1.8832780748663183},{"$f":"SUM(B86-B85)","v":-5.4792780748663183},{"$f":"SUM(C86-C85)","v":-5.4812780748663137}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,29.241,29.24]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":30.241},{"$f":"SUM(C92:C93)","v":30.24}]
[null,{"$f":"B18","v":26.645721925133682},{"$f":"B18","v":26.645721925133682}]
[0,{"$f":"SUM(B95-B94)","v":-3.595278074866318},{"$f":"SUM(C95-C94)","v":-3.5942780748663168}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.7270000000000003,9.7349999999999994]
[null,null,1,1]
["Undulator",{"$f":"B5","v":25},{"$f":"SUM(C104+C105)","v":10.727},{"$f":"SUM(D104+D105)","v":10.734999999999999}]
["Date:",{"$f":"B6","v":"2014-02-07"}]
["Crew:",{"$f":"B7","v":"BR-MR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.731}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.7270000000000003},13.335000000000001,9.73,13.331]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.727},{"$f":"SUM(B114:B115)","v":14.335000000000001},{"$f":"SUM(C114:C115)","v":10.73},{"$f":"SUM(D114:D115)","v":14.331}]
[{"$f":"D109","v":10.731},{"$f":"D109","v":10.731},{"$f":"D109","v":10.731},{"$f":"D109","v":10.731}]
[{"$f":"SUM(A117-A116)","v":3.9999999999995595E-3},{"$f":"SUM(B117-B116)","v":-3.604000000000001},{"$f":"SUM(C117-C116)","v":9.9999999999944578E-4},{"$f":"SUM(D117-D116)","v":-3.5999999999999996}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.734,13.333,{"$f":"D104","v":9.7349999999999994},13.337999999999999]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.734},{"$f":"SUM(B124:B125)","v":14.333},{"$f":"SUM(C124:C125)","v":10.734999999999999},{"$f":"SUM(D124:D125)","v":14.337999999999999}]
[{"$f":"D109","v":10.731},{"$f":"D109","v":10.731},{"$f":"D109","v":10.731},{"$f":"D109","v":10.731}]
[{"$f":"SUM(A127-A126)","v":-3.0000000000001137E-3},{"$f":"SUM(B127-B126)","v":-3.6020000000000003},{"$f":"SUM(C127-C126)","v":-3.9999999999995595E-3},{"$f":"SUM(D127-D126)","v":-3.6069999999999993}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[15.125999999999999,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.731},null,4.2999999999999997E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3949999999999996},null,{"$f":"SUM(C137+C138)","v":-5.4210000000000003}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.46},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":25}]
["Date:","2014-02-07"]
["Crew:",{"$f":"B7","v":"BR-MR"}]
[]
[]
["HI =",{"$f":"D109","v":10.731}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[6.2489999999999997,6.2530000000000001,6.2560000000000002,6.2539999999999996]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":7.2489999999999997},{"$f":"SUM(B165:B166)","v":7.2530000000000001},{"$f":"SUM(C165:C166)","v":7.2560000000000002},{"$f":"SUM(D165:D166)","v":7.2539999999999996}]
[{"$f":"D109","v":10.731},{"$f":"D109","v":10.731},{"$f":"D109","v":10.731},{"$f":"D109","v":10.731}]
[{"$f":"SUM(A168-A167)","v":3.4820000000000002},{"$f":"SUM(B168-B167)","v":3.4779999999999998},{"$f":"SUM(C168-C167)","v":3.4749999999999996},{"$f":"SUM(D168-D167)","v":3.4770000000000003}]
[]
[]
["5)","6)","7)","8)"]
[13.329000000000001,13.326000000000001,13.333,13.332000000000001]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":14.329000000000001},{"$f":"SUM(B173+B174)","v":14.326000000000001},{"$f":"SUM(C173+C174)","v":14.333},{"$f":"SUM(D173+D174)","v":14.332000000000001}]
[{"$f":"D109","v":10.731},{"$f":"D109","v":10.731},{"$f":"D109","v":10.731},{"$f":"D109","v":10.731}]
[{"$f":"SUM(A176-A175)","v":-3.5980000000000008},{"$f":"SUM(B176-B175)","v":-3.5950000000000006},{"$f":"SUM(C176-C175)","v":-3.6020000000000003},{"$f":"SUM(D176-D175)","v":-3.6010000000000009}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.9710000000000001,null,12.116,15.196999999999999]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.971},null,{"$f":"SUM(C184+C185)","v":13.116},{"$f":"SUM(D184+D185)","v":16.196999999999999}]
[{"$f":"D109","v":10.731},null,{"$f":"D109","v":10.731},{"$f":"D109","v":10.731}]
[{"$f":"SUM(A187-A186)","v":-0.24000000000000021},0,{"$f":"SUM(C187-C186)","v":-2.3849999999999998},{"$f":"SUM(D187-D186)","v":-5.4659999999999993}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[9.0139999999999993,9.0139999999999993,9.0169999999999995,9.0169999999999995]
[{"$f":"D109","v":10.731},{"$f":"D109","v":10.731},{"$f":"D109","v":10.731},{"$f":"D109","v":10.731}]
[{"$f":"SUM(A196-A195)","v":1.7170000000000005},{"$f":"SUM(B196-B195)","v":1.7170000000000005},{"$f":"SUM(C196-C195)","v":1.7140000000000004},{"$f":"SUM(D196-D195)","v":1.7140000000000004}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":25}]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-02-07"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR-MR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4820000000000002},{"$f":"B10*25.4","v":88.442800000000005},null,null,5,{"$f":"Sheet1!A35","v":4.2827219251336821},{"$f":"G10*25.4","v":108.78113689839552}]
[2,{"$f":"Sheet1!B169","v":3.4779999999999998},{"$f":"B11*25.4","v":88.341199999999986},null,null,6,{"$f":"Sheet1!B35","v":4.2807219251336832},{"$f":"G11*25.4","v":108.73033689839555}]
[3,{"$f":"Sheet1!C169","v":3.4749999999999996},{"$f":"B12*25.4","v":88.264999999999986},null,null,7,{"$f":"Sheet1!C35","v":4.2827219251336821},{"$f":"G12*25.4","v":108.78113689839552}]
[4,{"$f":"Sheet1!D169","v":3.4770000000000003},{"$f":"B13*25.4","v":88.31580000000001},null,null,8,{"$f":"Sheet1!D35","v":4.2917219251336824},{"$f":"G13*25.4","v":109.00973689839553}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4932780748663141},{"$f":"Sheet1!C118","v":9.9999999999944578E-4},{"$f":"B20*25.4","v":-139.52926310160439},{"$f":"C20*25.4","v":2.539999999998592E-2},null,{"$f":"H10-D21","v":156.94660000000005},{"$f":"C10-E20","v":88.417400000000015}]
["X1",{"$f":"Sheet1!A78","v":-1.8962780748663199},{"$f":"Sheet1!D118","v":-3.5999999999999996},{"$f":"B21*25.4","v":-48.165463101604523},{"$f":"C21*25.4","v":-91.439999999999984}]
["Y1",{"$f":"Sheet1!B78","v":-5.4922780748663236},null,{"$f":"B22*25.4","v":-139.50386310160462}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4792780748663183},{"$f":"Sheet1!A128","v":-3.0000000000001137E-3},{"$f":"B26*25.4","v":-139.17366310160449},{"$f":"C26*25.4","v":-7.6200000000002877E-2},null,{"$f":"H13-D27","v":156.84500000000003},{"$f":"C13-E26","v":88.39200000000001}]
["X1",{"$f":"Sheet1!A87","v":-1.8832780748663183},{"$f":"Sheet1!B128","v":-3.6020000000000003},{"$f":"B27*25.4","v":-47.835263101604482},{"$f":"C27*25.4","v":-91.490800000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4812780748663137},"\\",{"$f":"B28*25.4","v":-139.22446310160436}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.46},{"$f":"B36*25.4","v":-138.684},null,"US  +",{"$f":"Sheet1!A197","v":1.7170000000000005},{"$f":"F36*25.4","v":43.611800000000009}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7170000000000005},{"$f":"F37*25.4","v":43.611800000000009}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7140000000000004},{"$f":"F38*25.4","v":43.535600000000009}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7140000000000004},{"$f":"F39*25.4","v":43.535600000000009}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3949999999999996},{"$f":"B42*25.4","v":-111.63299999999998}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-02-07"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4942780748663189},{"$f":"Sheet1!A169","v":3.4820000000000002},{"$f":"SUM(B10*25.4)","v":-139.55466310160449},{"$f":"SUM(C10*25.4)","v":88.442800000000005}]
[2,{"$f":"Sheet1!B28","v":-5.4962780748663143},{"$f":"Sheet1!B169","v":3.4779999999999998},{"$f":"SUM(B11*25.4)","v":-139.60546310160439},{"$f":"SUM(C11*25.4)","v":88.341199999999986},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4892780748663235},{"$f":"Sheet1!C169","v":3.4749999999999996},-139.42766310160462,88.264999999999986,null,{"$f":"Sheet1!C141","v":-5.46},{"$f":"SUM(G12*25.4)","v":-138.684}]
[4,{"$f":"Sheet1!D28","v":-5.4822780748663185},{"$f":"Sheet1!D169","v":3.4770000000000003},-139.24986310160449,88.31580000000001]
[5,{"$f":"Sheet1!A35","v":4.2827219251336821},{"$f":"Sheet1!A177","v":-3.5980000000000008},108.78113689839552,-91.389200000000017]
[6,{"$f":"Sheet1!B35","v":4.2807219251336832},{"$f":"Sheet1!B177","v":-3.5950000000000006},108.73033689839555,-91.313000000000017,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2827219251336821},{"$f":"Sheet1!C177","v":-3.6020000000000003},108.78113689839552,-91.490800000000007]
[8,{"$f":"Sheet1!D35","v":4.2917219251336824},{"$f":"Sheet1!D177","v":-3.6010000000000009},109.00973689839553,-91.465400000000017,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3949999999999996},{"$f":"SUM(G18*25.4)","v":-111.63299999999998}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8962780748663199},{"$f":"Sheet1!C118","v":9.9999999999944578E-4},{"$f":"SUM(B23*25.4)","v":-48.165463101604523},{"$f":"SUM(C23*25.4)","v":2.539999999998592E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8962780748663199},{"$f":"Sheet1!D118","v":-3.5999999999999996},{"$f":"SUM(B24*25.4)","v":-48.165463101604523},{"$f":"SUM(C24*25.4)","v":-91.439999999999984},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4922780748663236},null,{"$f":"SUM(B25*25.4)","v":-139.50386310160462},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7170000000000005},{"$f":"SUM(H25*25.4)","v":43.611800000000009}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7170000000000005},{"$f":"SUM(H26*25.4)","v":43.611800000000009}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7140000000000004},{"$f":"SUM(H27*25.4)","v":43.535600000000009}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7140000000000004},{"$f":"SUM(H28*25.4)","v":43.535600000000009}]
["Y1",{"$f":"Sheet1!B87","v":-5.4792780748663183},{"$f":"Sheet1!A128","v":-3.0000000000001137E-3},{"$f":"SUM(B29*25.4)","v":-139.17366310160449},{"$f":"SUM(C29*25.4)","v":-7.6200000000002877E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.8832780748663183},{"$f":"Sheet1!B128","v":-3.6020000000000003},{"$f":"SUM(B30*25.4)","v":-47.835263101604482},{"$f":"SUM(C30*25.4)","v":-91.490800000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4812780748663137},null,{"$f":"SUM(B31*25.4)","v":-139.22446310160436}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5982780748663181},{"$f":"Sheet1!A118","v":3.9999999999995595E-3},{"$f":"SUM(B37*25.4)","v":-91.396263101604475},{"$f":"SUM(C37*25.4)","v":0.10159999999998881},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.604000000000001},0,{"$f":"SUM(C38*25.4)","v":-91.541600000000017}]
["Y2",{"$f":"Sheet1!C68","v":-3.6012780748663182},null,{"$f":"SUM(B39*25.4)","v":-91.472463101604475}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.595278074866318},{"$f":"Sheet1!C128","v":-3.9999999999995595E-3},{"$f":"SUM(B43*25.4)","v":-91.320063101604475},{"$f":"SUM(C43*25.4)","v":-0.10159999999998881}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6069999999999993},0,{"$f":"SUM(C44*25.4)","v":-91.617799999999974}]
["Y2",{"$f":"Sheet1!C96","v":-3.5942780748663168},null,{"$f":"SUM(B45*25.4)","v":-91.294663101604442}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0442780748663161},{"$f":"Sheet1!A188","v":-0.24000000000000021},{"$f":"SUM(B49*25.4)","v":-178.92466310160441},{"$f":"SUM(C49*25.4)","v":-6.0960000000000054}]
["B",{"$f":"Sheet1!B45","v":-2.5102780748663172},null,{"$f":"SUM(B50*25.4)","v":-63.761063101604449}]
["C",{"$f":"Sheet1!C45","v":-0.75227807486631804},{"$f":"Sheet1!C188","v":-2.3849999999999998},{"$f":"SUM(B51*25.4)","v":-19.107863101604476},{"$f":"SUM(C51*25.4)","v":-60.578999999999994}]
["D",{"$f":"Sheet1!D45","v":-0.75227807486631804},{"$f":"Sheet1!D188","v":-5.4659999999999993},{"$f":"SUM(B52*25.4)","v":-19.107863101604476},{"$f":"SUM(C52*25.4)","v":-138.83639999999997}]