{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":7,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 30"]
["Date:","2011-08-16"]
["Crew:","JM, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",26]
["1st. Near",27.821999999999999]
["2nd. Far",29]
["2nd Near",28.609000000000002]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":28.469950293718934}]
["Near Should Read",28.469950293718934]
["LOS",28.469950293718934]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.954000000000001,32.948999999999998,32.945999999999998,32.945]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.954000000000001},{"$f":"SUM(B24:B25)","v":33.948999999999998},{"$f":"SUM(C24:C25)","v":33.945999999999998},{"$f":"SUM(D24:D25)","v":33.945}]
[{"$f":"B18","v":28.469950293718934},{"$f":"B18","v":28.469950293718934},{"$f":"B18","v":28.469950293718934},{"$f":"B18","v":28.469950293718934}]
[{"$f":"SUM(A27-A26)","v":-5.4840497062810662},{"$f":"SUM(B27-B26)","v":-5.4790497062810637},{"$f":"SUM(C27-C26)","v":-5.4760497062810636},{"$f":"SUM(D27-D26)","v":-5.4750497062810659}]
[]
["5)","6)","7)","8)"]
[23.175999999999998,23.172000000000001,23.170999999999999,23.169,null,null," "]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.175999999999998},{"$f":"SUM(B31:B32)","v":24.172000000000001},{"$f":"SUM(C31:C32)","v":24.170999999999999},{"$f":"SUM(D31:D32)","v":24.169}]
[{"$f":"B18","v":28.469950293718934},{"$f":"B18","v":28.469950293718934},{"$f":"B18","v":28.469950293718934},{"$f":"B18","v":28.469950293718934}]
[{"$f":"SUM(A34-A33)","v":4.293950293718936},{"$f":"SUM(B34-B33)","v":4.2979502937189338},{"$f":"SUM(C34-C33)","v":4.298950293718935},{"$f":"SUM(D34-D33)","v":4.3009502937189339}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[34.505000000000003,29.966000000000001,28.212,28.212]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":35.505000000000003},{"$f":"SUM(B41:B42)","v":30.966000000000001},{"$f":"SUM(C41:C42)","v":29.212},{"$f":"SUM(D41:D42)","v":29.212}]
[{"$f":"B18","v":28.469950293718934},{"$f":"B18","v":28.469950293718934},{"$f":"B18","v":28.469950293718934},{"$f":"B18","v":28.469950293718934}]
[{"$f":"SUM(A44-A43)","v":-7.0350497062810682},{"$f":"SUM(B44-B43)","v":-2.4960497062810667},{"$f":"SUM(C44-C43)","v":-0.74204970628106537},{"$f":"SUM(D44-D43)","v":-0.74204970628106537}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":28.469950293718934},"LOS"]
["Undulator",{"$f":"B5","v":"SN 30"}]
["Date:",{"$f":"B6","v":"2011-08-16"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,31.068999999999999,31.074000000000002]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":32.069000000000003},{"$f":"SUM(C64:C65)","v":32.073999999999998}]
[null,{"$f":"B18","v":28.469950293718934},{"$f":"B18","v":28.469950293718934}]
[0,{"$f":"SUM(B67-B66)","v":-3.5990497062810682},{"$f":"SUM(C67-C66)","v":-3.6040497062810637}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[29.352,32.950000000000003,32.947000000000003]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":30.352},{"$f":"SUM(B74:B75)","v":33.950000000000003},{"$f":"SUM(C74:C75)","v":33.947000000000003}]
[{"$f":"B18","v":28.469950293718934},{"$f":"B18","v":28.469950293718934},{"$f":"B18","v":28.469950293718934}]
[{"$f":"SUM(A77-A76)","v":-1.8820497062810659},{"$f":"SUM(B77-B76)","v":-5.4800497062810685},{"$f":"SUM(C77-C76)","v":-5.4770497062810684}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[29.349,32.945,32.945]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":30.349},{"$f":"SUM(B83:B84)","v":33.945},{"$f":"SUM(C83:C84)","v":33.945}]
[{"$f":"B18","v":28.469950293718934},{"$f":"B18","v":28.469950293718934},{"$f":"B18","v":28.469950293718934}]
[{"$f":"SUM(A86-A85)","v":-1.8790497062810658},{"$f":"SUM(B86-B85)","v":-5.4750497062810659},{"$f":"SUM(C86-C85)","v":-5.4750497062810659}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,31.068000000000001,31.062999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":32.067999999999998},{"$f":"SUM(C92:C93)","v":32.063000000000002}]
[null,{"$f":"B18","v":28.469950293718934},{"$f":"B18","v":28.469950293718934}]
[0,{"$f":"SUM(B95-B94)","v":-3.5980497062810635},{"$f":"SUM(C95-C94)","v":-3.593049706281068}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.5579999999999998,8.57]
[null,null,1,1,null," "]
["Undulator",{"$f":"B5","v":"SN 30"},{"$f":"SUM(C104+C105)","v":9.5579999999999998},{"$f":"SUM(D104+D105)","v":9.57}]
["Date:",{"$f":"B6","v":"2011-08-16"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.5640000000000001}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.5579999999999998},12.166,8.5589999999999993,12.161]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.5579999999999998},{"$f":"SUM(B114:B115)","v":13.166},{"$f":"SUM(C114:C115)","v":9.5589999999999993},{"$f":"SUM(D114:D115)","v":13.161}]
[{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001}]
[{"$f":"SUM(A117-A116)","v":6.0000000000002274E-3},{"$f":"SUM(B117-B116)","v":-3.6020000000000003},{"$f":"SUM(C117-C116)","v":5.0000000000007816E-3},{"$f":"SUM(D117-D116)","v":-3.5969999999999995}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.5649999999999995,12.166,{"$f":"D104","v":8.57},12.172000000000001]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.5649999999999995},{"$f":"SUM(B124:B125)","v":13.166},{"$f":"SUM(C124:C125)","v":9.57},{"$f":"SUM(D124:D125)","v":13.172000000000001}]
[{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001}]
[{"$f":"SUM(A127-A126)","v":-9.9999999999944578E-4},{"$f":"SUM(B127-B126)","v":-3.6020000000000003},{"$f":"SUM(C127-C126)","v":-6.0000000000002274E-3},{"$f":"SUM(D127-D126)","v":-3.6080000000000005}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[13.958,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.5640000000000001},null,0.04,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3940000000000001},null,{"$f":"SUM(C137+C138)","v":-5.4240000000000004}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4630000000000001},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 30"}]
["Date:",{"$f":"B6","v":"2011-08-16"}]
["Crew:",{"$f":"B7","v":"JM, LG"}]
[]
[]
["HI =",{"$f":"D109","v":9.5640000000000001}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.0789999999999997,5.085,5.0869999999999997,5.0869999999999997]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.0789999999999997},{"$f":"SUM(B165:B166)","v":6.085},{"$f":"SUM(C165:C166)","v":6.0869999999999997},{"$f":"SUM(D165:D166)","v":6.0869999999999997}]
[{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001}]
[{"$f":"SUM(A168-A167)","v":3.4850000000000003},{"$f":"SUM(B168-B167)","v":3.4790000000000001},{"$f":"SUM(C168-C167)","v":3.4770000000000003},{"$f":"SUM(D168-D167)","v":3.4770000000000003}]
[]
[]
["5)","6)","7)","8)"]
[12.153,12.157,12.157,12.16]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.153},{"$f":"SUM(B173+B174)","v":13.157},{"$f":"SUM(C173+C174)","v":13.157},{"$f":"SUM(D173+D174)","v":13.16}]
[{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001}]
[{"$f":"SUM(A176-A175)","v":-3.5890000000000004},{"$f":"SUM(B176-B175)","v":-3.593},{"$f":"SUM(C176-C175)","v":-3.593},{"$f":"SUM(D176-D175)","v":-3.5960000000000001}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[8.8000000000000007,null,10.942,14.023999999999999]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":9.8000000000000007},null,{"$f":"SUM(C184+C185)","v":11.942},{"$f":"SUM(D184+D185)","v":15.023999999999999}]
[{"$f":"D109","v":9.5640000000000001},null,{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001}]
[{"$f":"SUM(A187-A186)","v":-0.23600000000000065},0,{"$f":"SUM(C187-C186)","v":-2.3780000000000001},{"$f":"SUM(D187-D186)","v":-5.4599999999999991}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[7.8419999999999996,7.8419999999999996,7.8470000000000004,7.8479999999999999]
[{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001},{"$f":"D109","v":9.5640000000000001}]
[{"$f":"SUM(A196-A195)","v":1.7220000000000004},{"$f":"SUM(B196-B195)","v":1.7220000000000004},{"$f":"SUM(C196-C195)","v":1.7169999999999996},{"$f":"SUM(D196-D195)","v":1.7160000000000002}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 30"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-08-16"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"JM, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4850000000000003},{"$f":"B10*25.4","v":88.519000000000005},null,null,5,{"$f":"Sheet1!A35","v":4.293950293718936},{"$f":"G10*25.4","v":109.06633746046097}]
[2,{"$f":"Sheet1!B169","v":3.4790000000000001},{"$f":"B11*25.4","v":88.366599999999991},null,null,6,{"$f":"Sheet1!B35","v":4.2979502937189338},{"$f":"G11*25.4","v":109.16793746046091}]
[3,{"$f":"Sheet1!C169","v":3.4770000000000003},{"$f":"B12*25.4","v":88.31580000000001},null,null,7,{"$f":"Sheet1!C35","v":4.298950293718935},{"$f":"G12*25.4","v":109.19333746046094}]
[4,{"$f":"Sheet1!D169","v":3.4770000000000003},{"$f":"B13*25.4","v":88.31580000000001},null,null,8,{"$f":"Sheet1!D35","v":4.3009502937189339},{"$f":"G13*25.4","v":109.24413746046092}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4770497062810684},{"$f":"Sheet1!C118","v":5.0000000000007816E-3},{"$f":"B20*25.4","v":-139.11706253953912},{"$f":"C20*25.4","v":0.12700000000001985},null,{"$f":"H10-D21","v":156.87040000000005},{"$f":"C10-E20","v":88.391999999999982}]
["X1",{"$f":"Sheet1!A78","v":-1.8820497062810659},{"$f":"Sheet1!D118","v":-3.5969999999999995},{"$f":"B21*25.4","v":-47.804062539539075},{"$f":"C21*25.4","v":-91.363799999999983}]
["Y1",{"$f":"Sheet1!B78","v":-5.4800497062810685},null,{"$f":"B22*25.4","v":-139.19326253953912}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4750497062810659},{"$f":"Sheet1!A128","v":-9.9999999999944578E-4},{"$f":"B26*25.4","v":-139.06626253953905},{"$f":"C26*25.4","v":-2.539999999998592E-2},null,{"$f":"H13-D27","v":156.97199999999998},{"$f":"C13-E26","v":88.341200000000001}]
["X1",{"$f":"Sheet1!A87","v":-1.8790497062810658},{"$f":"Sheet1!B128","v":-3.6020000000000003},{"$f":"B27*25.4","v":-47.727862539539068},{"$f":"C27*25.4","v":-91.490800000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4750497062810659},"\\",{"$f":"B28*25.4","v":-139.06626253953905}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4630000000000001},{"$f":"B36*25.4","v":-138.7602},null,"US  +",{"$f":"Sheet1!A197","v":1.7220000000000004},{"$f":"F36*25.4","v":43.738800000000005}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7220000000000004},{"$f":"F37*25.4","v":43.738800000000005}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7169999999999996},{"$f":"F38*25.4","v":43.611799999999988}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7160000000000002},{"$f":"F39*25.4","v":43.586400000000005}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3940000000000001},{"$f":"B42*25.4","v":-111.60759999999999}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-08-16"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4840497062810662},{"$f":"Sheet1!A169","v":3.4850000000000003},{"$f":"SUM(B10*25.4)","v":-139.29486253953908},{"$f":"SUM(C10*25.4)","v":88.519000000000005}]
[2,{"$f":"Sheet1!B28","v":-5.4790497062810637},{"$f":"Sheet1!B169","v":3.4790000000000001},{"$f":"SUM(B11*25.4)","v":-139.16786253953902},{"$f":"SUM(C11*25.4)","v":88.366599999999991},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4760497062810636},{"$f":"Sheet1!C169","v":3.4770000000000003},-139.09166253953902,88.31580000000001,null,{"$f":"Sheet1!C141","v":-5.4630000000000001},{"$f":"SUM(G12*25.4)","v":-138.7602}]
[4,{"$f":"Sheet1!D28","v":-5.4750497062810659},{"$f":"Sheet1!D169","v":3.4770000000000003},-139.06626253953905,88.31580000000001]
[5,{"$f":"Sheet1!A35","v":4.293950293718936},{"$f":"Sheet1!A177","v":-3.5890000000000004},109.06633746046097,-91.160600000000002]
[6,{"$f":"Sheet1!B35","v":4.2979502937189338},{"$f":"Sheet1!B177","v":-3.593},109.16793746046091,-91.262199999999993,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.298950293718935},{"$f":"Sheet1!C177","v":-3.593},109.19333746046094,-91.262199999999993]
[8,{"$f":"Sheet1!D35","v":4.3009502937189339},{"$f":"Sheet1!D177","v":-3.5960000000000001},109.24413746046092,-91.338399999999993,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3940000000000001},{"$f":"SUM(G18*25.4)","v":-111.60759999999999}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8820497062810659},{"$f":"Sheet1!C118","v":5.0000000000007816E-3},{"$f":"SUM(B23*25.4)","v":-47.804062539539075},{"$f":"SUM(C23*25.4)","v":0.12700000000001985}]
["X1",{"$f":"Sheet1!A78","v":-1.8820497062810659},{"$f":"Sheet1!D118","v":-3.5969999999999995},{"$f":"SUM(B24*25.4)","v":-47.804062539539075},{"$f":"SUM(C24*25.4)","v":-91.363799999999983},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4800497062810685},null,{"$f":"SUM(B25*25.4)","v":-139.19326253953912},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7220000000000004},{"$f":"SUM(H25*25.4)","v":43.738800000000005}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7220000000000004},{"$f":"SUM(H26*25.4)","v":43.738800000000005}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7169999999999996},{"$f":"SUM(H27*25.4)","v":43.611799999999988}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7160000000000002},{"$f":"SUM(H28*25.4)","v":43.586400000000005}]
["Y1",{"$f":"Sheet1!B87","v":-5.4750497062810659},{"$f":"Sheet1!A128","v":-9.9999999999944578E-4},{"$f":"SUM(B29*25.4)","v":-139.06626253953905},{"$f":"SUM(C29*25.4)","v":-2.539999999998592E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.8790497062810658},{"$f":"Sheet1!B128","v":-3.6020000000000003},{"$f":"SUM(B30*25.4)","v":-47.727862539539068},{"$f":"SUM(C30*25.4)","v":-91.490800000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4750497062810659},null,{"$f":"SUM(B31*25.4)","v":-139.06626253953905}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5990497062810682},{"$f":"Sheet1!A118","v":6.0000000000002274E-3},{"$f":"SUM(B37*25.4)","v":-91.415862539539134},{"$f":"SUM(C37*25.4)","v":0.15240000000000575},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6020000000000003},0,{"$f":"SUM(C38*25.4)","v":-91.490800000000007}]
["Y2",{"$f":"Sheet1!C68","v":-3.6040497062810637},null,{"$f":"SUM(B39*25.4)","v":-91.542862539539016}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5980497062810635},{"$f":"Sheet1!C128","v":-6.0000000000002274E-3},{"$f":"SUM(B43*25.4)","v":-91.390462539539001},{"$f":"SUM(C43*25.4)","v":-0.15240000000000575}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6080000000000005},0,{"$f":"SUM(C44*25.4)","v":-91.643200000000007}]
["Y2",{"$f":"Sheet1!C96","v":-3.593049706281068},null,{"$f":"SUM(B45*25.4)","v":-91.26346253953912}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0350497062810682},{"$f":"Sheet1!A188","v":-0.23600000000000065},{"$f":"SUM(B49*25.4)","v":-178.69026253953913},{"$f":"SUM(C49*25.4)","v":-5.9944000000000166}]
["B",{"$f":"Sheet1!B45","v":-2.4960497062810667},null,{"$f":"SUM(B50*25.4)","v":-63.399662539539094}]
["C",{"$f":"Sheet1!C45","v":-0.74204970628106537},{"$f":"Sheet1!C188","v":-2.3780000000000001},{"$f":"SUM(B51*25.4)","v":-18.848062539539061},{"$f":"SUM(C51*25.4)","v":-60.401200000000003}]
["D",{"$f":"Sheet1!D45","v":-0.74204970628106537},{"$f":"Sheet1!D188","v":-5.4599999999999991},{"$f":"SUM(B52*25.4)","v":-18.848062539539061},{"$f":"SUM(C52*25.4)","v":-138.68399999999997}]