{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 32"]
["Date:","2012-04-24"]
["Crew:","BR, LG"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",27]
["1st. Near",27.381]
["2nd. Far",28]
["2nd Near",27.649000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.520491803278688}]
["Near Should Read",27.520491803278688]
["LOS",27.520491803278688]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[32.009,32.012,32.01,32.008000000000003]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":33.009},{"$f":"SUM(B24:B25)","v":33.012},{"$f":"SUM(C24:C25)","v":33.01},{"$f":"SUM(D24:D25)","v":33.008000000000003}]
[{"$f":"B18","v":27.520491803278688},{"$f":"B18","v":27.520491803278688},{"$f":"B18","v":27.520491803278688},{"$f":"B18","v":27.520491803278688}]
[{"$f":"SUM(A27-A26)","v":-5.4885081967213125},{"$f":"SUM(B27-B26)","v":-5.4915081967213126},{"$f":"SUM(C27-C26)","v":-5.4895081967213102},{"$f":"SUM(D27-D26)","v":-5.4875081967213148}]
[]
["5)","6)","7)","8)"]
[22.228000000000002,22.228000000000002,22.228999999999999,22.23]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":23.228000000000002},{"$f":"SUM(B31:B32)","v":23.228000000000002},{"$f":"SUM(C31:C32)","v":23.228999999999999},{"$f":"SUM(D31:D32)","v":23.23}]
[{"$f":"B18","v":27.520491803278688},{"$f":"B18","v":27.520491803278688},{"$f":"B18","v":27.520491803278688},{"$f":"B18","v":27.520491803278688}]
[{"$f":"SUM(A34-A33)","v":4.2924918032786863},{"$f":"SUM(B34-B33)","v":4.2924918032786863},{"$f":"SUM(C34-C33)","v":4.2914918032786886},{"$f":"SUM(D34-D33)","v":4.2904918032786874}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.555,29.021999999999998,27.263000000000002,27.263000000000002]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.555},{"$f":"SUM(B41:B42)","v":30.021999999999998},{"$f":"SUM(C41:C42)","v":28.263000000000002},{"$f":"SUM(D41:D42)","v":28.263000000000002}]
[{"$f":"B18","v":27.520491803278688},{"$f":"B18","v":27.520491803278688},{"$f":"B18","v":27.520491803278688},{"$f":"B18","v":27.520491803278688}]
[{"$f":"SUM(A44-A43)","v":-7.0345081967213119},{"$f":"SUM(B44-B43)","v":-2.5015081967213106},{"$f":"SUM(C44-C43)","v":-0.74250819672131385},{"$f":"SUM(D44-D43)","v":-0.74250819672131385}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.520491803278688},"LOS"]
["Undulator",{"$f":"B5","v":"SN 32"}]
["Date:",{"$f":"B6","v":"2012-04-24"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,30.12,30.123999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":31.12},{"$f":"SUM(C64:C65)","v":31.123999999999999}]
[null,{"$f":"B18","v":27.520491803278688},{"$f":"B18","v":27.520491803278688}]
[0,{"$f":"SUM(B67-B66)","v":-3.5995081967213132},{"$f":"SUM(C67-C66)","v":-3.603508196721311}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[28.405999999999999,31.998999999999999,32]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":29.405999999999999},{"$f":"SUM(B74:B75)","v":32.998999999999995},{"$f":"SUM(C74:C75)","v":33}]
[{"$f":"B18","v":27.520491803278688},{"$f":"B18","v":27.520491803278688},{"$f":"B18","v":27.520491803278688}]
[{"$f":"SUM(A77-A76)","v":-1.885508196721311},{"$f":"SUM(B77-B76)","v":-5.4785081967213074},{"$f":"SUM(C77-C76)","v":-5.4795081967213122}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[28.41,32.002000000000002,32.006999999999998]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":29.41},{"$f":"SUM(B83:B84)","v":33.002000000000002},{"$f":"SUM(C83:C84)","v":33.006999999999998}]
[{"$f":"B18","v":27.520491803278688},{"$f":"B18","v":27.520491803278688},{"$f":"B18","v":27.520491803278688}]
[{"$f":"SUM(A86-A85)","v":-1.8895081967213123},{"$f":"SUM(B86-B85)","v":-5.4815081967213146},{"$f":"SUM(C86-C85)","v":-5.4865081967213101}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,30.120999999999999,30.119]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":31.120999999999999},{"$f":"SUM(C92:C93)","v":31.119}]
[null,{"$f":"B18","v":27.520491803278688},{"$f":"B18","v":27.520491803278688}]
[0,{"$f":"SUM(B95-B94)","v":-3.6005081967213108},{"$f":"SUM(C95-C94)","v":-3.5985081967213119}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.3230000000000004,8.3109999999999999]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 32"},{"$f":"SUM(C104+C105)","v":9.3230000000000004},{"$f":"SUM(D104+D105)","v":9.3109999999999999}]
["Date:",{"$f":"B6","v":"2012-04-24"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.3170000000000002}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.3230000000000004},11.93,8.3249999999999993,11.926]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.3230000000000004},{"$f":"SUM(B114:B115)","v":12.93},{"$f":"SUM(C114:C115)","v":9.3249999999999993},{"$f":"SUM(D114:D115)","v":12.926}]
[{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002}]
[{"$f":"SUM(A117-A116)","v":-6.0000000000002274E-3},{"$f":"SUM(B117-B116)","v":-3.6129999999999995},{"$f":"SUM(C117-C116)","v":-7.9999999999991189E-3},{"$f":"SUM(D117-D116)","v":-3.609}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.3249999999999993,11.925000000000001,{"$f":"D104","v":8.3109999999999999},11.912000000000001]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.3249999999999993},{"$f":"SUM(B124:B125)","v":12.925000000000001},{"$f":"SUM(C124:C125)","v":9.3109999999999999},{"$f":"SUM(D124:D125)","v":12.912000000000001}]
[{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002}]
[{"$f":"SUM(A127-A126)","v":-7.9999999999991189E-3},{"$f":"SUM(B127-B126)","v":-3.6080000000000005},{"$f":"SUM(C127-C126)","v":6.0000000000002274E-3},{"$f":"SUM(D127-D126)","v":-3.5950000000000006}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[" "]
[13.722,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.3170000000000002},null,3.3000000000000002E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.4049999999999994},null,{"$f":"SUM(C137+C138)","v":-5.431}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.47},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 32"}]
["Date:",{"$f":"B6","v":"2012-04-24"}]
["Crew:",{"$f":"B7","v":"BR, LG"}]
[]
[]
["HI =",{"$f":"D109","v":9.3170000000000002}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[4.8419999999999996,4.8449999999999998,4.8449999999999998,4.8410000000000002]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":5.8419999999999996},{"$f":"SUM(B165:B166)","v":5.8449999999999998},{"$f":"SUM(C165:C166)","v":5.8449999999999998},{"$f":"SUM(D165:D166)","v":5.8410000000000002}]
[{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002}]
[{"$f":"SUM(A168-A167)","v":3.4750000000000005},{"$f":"SUM(B168-B167)","v":3.4720000000000004},{"$f":"SUM(C168-C167)","v":3.4720000000000004},{"$f":"SUM(D168-D167)","v":3.476}]
[]
[]
["5)","6)","7)","8)"]
[11.922000000000001,11.923,11.925000000000001,11.920999999999999]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":12.922000000000001},{"$f":"SUM(B173+B174)","v":12.923},{"$f":"SUM(C173+C174)","v":12.925000000000001},{"$f":"SUM(D173+D174)","v":12.920999999999999}]
[{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002}]
[{"$f":"SUM(A176-A175)","v":-3.6050000000000004},{"$f":"SUM(B176-B175)","v":-3.6059999999999999},{"$f":"SUM(C176-C175)","v":-3.6080000000000005},{"$f":"SUM(D176-D175)","v":-3.6039999999999992}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[8.5619999999999994,null,10.707000000000001,13.789]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":9.5619999999999994},null,{"$f":"SUM(C184+C185)","v":11.707000000000001},{"$f":"SUM(D184+D185)","v":14.789}]
[{"$f":"D109","v":9.3170000000000002},null,{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002}]
[{"$f":"SUM(A187-A186)","v":-0.24499999999999922},0,{"$f":"SUM(C187-C186)","v":-2.3900000000000006},{"$f":"SUM(D187-D186)","v":-5.4719999999999995}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[7.6040000000000001,7.6059999999999999,7.6059999999999999,7.6070000000000002]
[{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002},{"$f":"D109","v":9.3170000000000002}]
[{"$f":"SUM(A196-A195)","v":1.7130000000000001},{"$f":"SUM(B196-B195)","v":1.7110000000000003},{"$f":"SUM(C196-C195)","v":1.7110000000000003},{"$f":"SUM(D196-D195)","v":1.71}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 32"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-04-24"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"BR, LG"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4750000000000005},{"$f":"B10*25.4","v":88.265000000000015},null,null,5,{"$f":"Sheet1!A35","v":4.2924918032786863},{"$f":"G10*25.4","v":109.02929180327862}]
[2,{"$f":"Sheet1!B169","v":3.4720000000000004},{"$f":"B11*25.4","v":88.188800000000001},null,null,6,{"$f":"Sheet1!B35","v":4.2924918032786863},{"$f":"G11*25.4","v":109.02929180327862}]
[3,{"$f":"Sheet1!C169","v":3.4720000000000004},{"$f":"B12*25.4","v":88.188800000000001},null,null,7,{"$f":"Sheet1!C35","v":4.2914918032786886},{"$f":"G12*25.4","v":109.00389180327869}]
[4,{"$f":"Sheet1!D169","v":3.476},{"$f":"B13*25.4","v":88.290399999999991},null,null,8,{"$f":"Sheet1!D35","v":4.2904918032786874},{"$f":"G13*25.4","v":108.97849180327866}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4795081967213122},{"$f":"Sheet1!C118","v":-7.9999999999991189E-3},{"$f":"B20*25.4","v":-139.17950819672132},{"$f":"C20*25.4","v":-0.20319999999997762},null,{"$f":"H10-D21","v":156.92119999999991},{"$f":"C10-E20","v":88.468199999999996}]
["X1",{"$f":"Sheet1!A78","v":-1.885508196721311},{"$f":"Sheet1!D118","v":-3.609},{"$f":"B21*25.4","v":-47.891908196721296},{"$f":"C21*25.4","v":-91.668599999999998}]
["Y1",{"$f":"Sheet1!B78","v":-5.4785081967213074},null,{"$f":"B22*25.4","v":-139.15410819672121}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4815081967213146},{"$f":"Sheet1!A128","v":-7.9999999999991189E-3},{"$f":"B26*25.4","v":-139.23030819672138},{"$f":"C26*25.4","v":-0.20319999999997762},null,{"$f":"H13-D27","v":156.97199999999998},{"$f":"C13-E26","v":88.493599999999972}]
["X1",{"$f":"Sheet1!A87","v":-1.8895081967213123},{"$f":"Sheet1!B128","v":-3.6080000000000005},{"$f":"B27*25.4","v":-47.993508196721329},{"$f":"C27*25.4","v":-91.643200000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4865081967213101},"\\",{"$f":"B28*25.4","v":-139.35730819672128}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.47},{"$f":"B36*25.4","v":-138.93799999999999},null,"US  +",{"$f":"Sheet1!A197","v":1.7130000000000001},{"$f":"F36*25.4","v":43.510199999999998}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7110000000000003},{"$f":"F37*25.4","v":43.459400000000002}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7110000000000003},{"$f":"F38*25.4","v":43.459400000000002}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.71},{"$f":"F39*25.4","v":43.433999999999997}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.4049999999999994},{"$f":"B42*25.4","v":-111.88699999999997}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2012-04-24"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4885081967213125},{"$f":"Sheet1!A169","v":3.4750000000000005},{"$f":"SUM(B10*25.4)","v":-139.40810819672134},{"$f":"SUM(C10*25.4)","v":88.265000000000015}]
[2,{"$f":"Sheet1!B28","v":-5.4915081967213126},{"$f":"Sheet1!B169","v":3.4720000000000004},{"$f":"SUM(B11*25.4)","v":-139.48430819672134},{"$f":"SUM(C11*25.4)","v":88.188800000000001},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4895081967213102},{"$f":"Sheet1!C169","v":3.4720000000000004},-139.43350819672128,88.188800000000001,null,{"$f":"Sheet1!C141","v":-5.47},{"$f":"SUM(G12*25.4)","v":-138.93799999999999}]
[4,{"$f":"Sheet1!D28","v":-5.4875081967213148},{"$f":"Sheet1!D169","v":3.476},-139.38270819672138,88.290399999999991]
[5,{"$f":"Sheet1!A35","v":4.2924918032786863},{"$f":"Sheet1!A177","v":-3.6050000000000004},109.02929180327862,-91.567000000000007]
[6,{"$f":"Sheet1!B35","v":4.2924918032786863},{"$f":"Sheet1!B177","v":-3.6059999999999999},109.02929180327862,-91.592399999999998,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2914918032786886},{"$f":"Sheet1!C177","v":-3.6080000000000005},109.00389180327869,-91.643200000000007]
[8,{"$f":"Sheet1!D35","v":4.2904918032786874},{"$f":"Sheet1!D177","v":-3.6039999999999992},108.97849180327866,-91.541599999999974,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.4049999999999994},{"$f":"SUM(G18*25.4)","v":-111.88699999999997}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.885508196721311},{"$f":"Sheet1!C118","v":-7.9999999999991189E-3},{"$f":"SUM(B23*25.4)","v":-47.891908196721296},{"$f":"SUM(C23*25.4)","v":-0.20319999999997762}]
["X1",{"$f":"Sheet1!A78","v":-1.885508196721311},{"$f":"Sheet1!D118","v":-3.609},{"$f":"SUM(B24*25.4)","v":-47.891908196721296},{"$f":"SUM(C24*25.4)","v":-91.668599999999998},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4785081967213074},null,{"$f":"SUM(B25*25.4)","v":-139.15410819672121},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7130000000000001},{"$f":"SUM(H25*25.4)","v":43.510199999999998}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7110000000000003},{"$f":"SUM(H26*25.4)","v":43.459400000000002}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7110000000000003},{"$f":"SUM(H27*25.4)","v":43.459400000000002}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.71},{"$f":"SUM(H28*25.4)","v":43.433999999999997}]
["Y1",{"$f":"Sheet1!B87","v":-5.4815081967213146},{"$f":"Sheet1!A128","v":-7.9999999999991189E-3},{"$f":"SUM(B29*25.4)","v":-139.23030819672138},{"$f":"SUM(C29*25.4)","v":-0.20319999999997762}]
["X1",{"$f":"Sheet1!A87","v":-1.8895081967213123},{"$f":"Sheet1!B128","v":-3.6080000000000005},{"$f":"SUM(B30*25.4)","v":-47.993508196721329},{"$f":"SUM(C30*25.4)","v":-91.643200000000007}]
["Y2",{"$f":"Sheet1!C87","v":-5.4865081967213101},null,{"$f":"SUM(B31*25.4)","v":-139.35730819672128}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5995081967213132},{"$f":"Sheet1!A118","v":-6.0000000000002274E-3},{"$f":"SUM(B37*25.4)","v":-91.427508196721348},{"$f":"SUM(C37*25.4)","v":-0.15240000000000575},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6129999999999995},0,{"$f":"SUM(C38*25.4)","v":-91.770199999999988}]
["Y2",{"$f":"Sheet1!C68","v":-3.603508196721311},null,{"$f":"SUM(B39*25.4)","v":-91.529108196721296}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6005081967213108},{"$f":"Sheet1!C128","v":6.0000000000002274E-3},{"$f":"SUM(B43*25.4)","v":-91.452908196721296},{"$f":"SUM(C43*25.4)","v":0.15240000000000575}]
["X1",0,{"$f":"Sheet1!D128","v":-3.5950000000000006},0,{"$f":"SUM(C44*25.4)","v":-91.313000000000017}]
["Y2",{"$f":"Sheet1!C96","v":-3.5985081967213119},null,{"$f":"SUM(B45*25.4)","v":-91.402108196721315}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0345081967213119},{"$f":"Sheet1!A188","v":-0.24499999999999922},{"$f":"SUM(B49*25.4)","v":-178.6765081967213},{"$f":"SUM(C49*25.4)","v":-6.2229999999999794}]
["B",{"$f":"Sheet1!B45","v":-2.5015081967213106},null,{"$f":"SUM(B50*25.4)","v":-63.538308196721289}]
["C",{"$f":"Sheet1!C45","v":-0.74250819672131385},{"$f":"Sheet1!C188","v":-2.3900000000000006},{"$f":"SUM(B51*25.4)","v":-18.859708196721371},{"$f":"SUM(C51*25.4)","v":-60.70600000000001}]
["D",{"$f":"Sheet1!D45","v":-0.74250819672131385},{"$f":"Sheet1!D188","v":-5.4719999999999995},{"$f":"SUM(B52*25.4)","v":-18.859708196721371},{"$f":"SUM(C52*25.4)","v":-138.98879999999997}]