{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 34"]
["Date:","2014-03-18"]
["Crew:","MR, BR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",29]
["1st. Near",27.555]
["2nd. Far",27]
["2nd Near",27.050999999999998]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.068181818181817}]
["Near Should Read",27.068181818181817]
["LOS",27.068181818181817]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[31.568999999999999,31.562000000000001,31.562000000000001,31.562999999999999]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":32.569000000000003},{"$f":"SUM(B24:B25)","v":32.561999999999998},{"$f":"SUM(C24:C25)","v":32.561999999999998},{"$f":"SUM(D24:D25)","v":32.563000000000002}]
[{"$f":"B18","v":27.068181818181817},{"$f":"B18","v":27.068181818181817},{"$f":"B18","v":27.068181818181817},{"$f":"B18","v":27.068181818181817}]
[{"$f":"SUM(A27-A26)","v":-5.500818181818186},{"$f":"SUM(B27-B26)","v":-5.493818181818181},{"$f":"SUM(C27-C26)","v":-5.493818181818181},{"$f":"SUM(D27-D26)","v":-5.4948181818181858}]
[]
["5)","6)","7)","8)"]
[21.786000000000001,21.780999999999999,21.780999999999999,21.78]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":22.786000000000001},{"$f":"SUM(B31:B32)","v":22.780999999999999},{"$f":"SUM(C31:C32)","v":22.780999999999999},{"$f":"SUM(D31:D32)","v":22.78}]
[{"$f":"B18","v":27.068181818181817},{"$f":"B18","v":27.068181818181817},{"$f":"B18","v":27.068181818181817},{"$f":"B18","v":27.068181818181817}]
[{"$f":"SUM(A34-A33)","v":4.2821818181818152},{"$f":"SUM(B34-B33)","v":4.2871818181818178},{"$f":"SUM(C34-C33)","v":4.2871818181818178},{"$f":"SUM(D34-D33)","v":4.2881818181818154}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.113,28.579000000000001,26.82,26.82]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.113},{"$f":"SUM(B41:B42)","v":29.579000000000001},{"$f":"SUM(C41:C42)","v":27.82},{"$f":"SUM(D41:D42)","v":27.82}]
[{"$f":"B18","v":27.068181818181817},{"$f":"B18","v":27.068181818181817},{"$f":"B18","v":27.068181818181817},{"$f":"B18","v":27.068181818181817}]
[{"$f":"SUM(A44-A43)","v":-7.044818181818183},{"$f":"SUM(B44-B43)","v":-2.5108181818181841},{"$f":"SUM(C44-C43)","v":-0.75181818181818372},{"$f":"SUM(D44-D43)","v":-0.75181818181818372}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.068181818181817},"LOS"]
["Undulator",{"$f":"B5","v":"SN 34"}]
["Date:",{"$f":"B6","v":"2014-03-18"}]
["Crew:",{"$f":"B7","v":"MR, BR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,29.667999999999999,29.670999999999999]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":30.667999999999999},{"$f":"SUM(C64:C65)","v":30.670999999999999}]
[null,{"$f":"B18","v":27.068181818181817},{"$f":"B18","v":27.068181818181817}]
[0,{"$f":"SUM(B67-B66)","v":-3.5998181818181827},{"$f":"SUM(C67-C66)","v":-3.6028181818181828}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[27.965,31.559000000000001,31.561]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":28.965},{"$f":"SUM(B74:B75)","v":32.558999999999997},{"$f":"SUM(C74:C75)","v":32.561}]
[{"$f":"B18","v":27.068181818181817},{"$f":"B18","v":27.068181818181817},{"$f":"B18","v":27.068181818181817}]
[{"$f":"SUM(A77-A76)","v":-1.8968181818181833},{"$f":"SUM(B77-B76)","v":-5.4908181818181809},{"$f":"SUM(C77-C76)","v":-5.4928181818181834}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[27.960999999999999,31.556000000000001,31.556000000000001]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":28.960999999999999},{"$f":"SUM(B83:B84)","v":32.555999999999997},{"$f":"SUM(C83:C84)","v":32.555999999999997}]
[{"$f":"B18","v":27.068181818181817},{"$f":"B18","v":27.068181818181817},{"$f":"B18","v":27.068181818181817}]
[{"$f":"SUM(A86-A85)","v":-1.892818181818182},{"$f":"SUM(B86-B85)","v":-5.4878181818181808},{"$f":"SUM(C86-C85)","v":-5.4878181818181808}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,29.666,29.663]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":30.666},{"$f":"SUM(C92:C93)","v":30.663}]
[null,{"$f":"B18","v":27.068181818181817},{"$f":"B18","v":27.068181818181817}]
[0,{"$f":"SUM(B95-B94)","v":-3.5978181818181838},{"$f":"SUM(C95-C94)","v":-3.5948181818181837}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,9.1609999999999996,9.1609999999999996]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 34"},{"$f":"SUM(C104+C105)","v":10.161},{"$f":"SUM(D104+D105)","v":10.161}]
["Date:",{"$f":"B6","v":"2014-03-18"}]
["Crew:",{"$f":"B7","v":"MR, BR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":10.161}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":9.1609999999999996},12.768000000000001,9.1630000000000003,12.765000000000001]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":10.161},{"$f":"SUM(B114:B115)","v":13.768000000000001},{"$f":"SUM(C114:C115)","v":10.163},{"$f":"SUM(D114:D115)","v":13.765000000000001}]
[{"$f":"D109","v":10.161},{"$f":"D109","v":10.161},{"$f":"D109","v":10.161},{"$f":"D109","v":10.161}]
[{"$f":"SUM(A117-A116)","v":0},{"$f":"SUM(B117-B116)","v":-3.6070000000000011},{"$f":"SUM(C117-C116)","v":-2.0000000000006679E-3},{"$f":"SUM(D117-D116)","v":-3.604000000000001}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[9.1620000000000008,12.760999999999999,{"$f":"D104","v":9.1609999999999996},12.762]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":10.162000000000001},{"$f":"SUM(B124:B125)","v":13.760999999999999},{"$f":"SUM(C124:C125)","v":10.161},{"$f":"SUM(D124:D125)","v":13.762}]
[{"$f":"D109","v":10.161},{"$f":"D109","v":10.161},{"$f":"D109","v":10.161},{"$f":"D109","v":10.161}]
[{"$f":"SUM(A127-A126)","v":-1.0000000000012221E-3},{"$f":"SUM(B127-B126)","v":-3.5999999999999996},{"$f":"SUM(C127-C126)","v":0},{"$f":"SUM(D127-D126)","v":-3.6010000000000009}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.563000000000001,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":10.161},null,3.7999999999999999E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.402000000000001},null,{"$f":"SUM(C137+C138)","v":-5.4260000000000002}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4649999999999999},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 34"}]
["Date:",{"$f":"B6","v":"2014-03-18"}]
["Crew:",{"$f":"B7","v":"MR, BR"}]
[]
[]
["HI =",{"$f":"D109","v":10.161}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.6849999999999996,5.6820000000000004,5.681,5.6820000000000004]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.6849999999999996},{"$f":"SUM(B165:B166)","v":6.6820000000000004},{"$f":"SUM(C165:C166)","v":6.681},{"$f":"SUM(D165:D166)","v":6.6820000000000004}]
[{"$f":"D109","v":10.161},{"$f":"D109","v":10.161},{"$f":"D109","v":10.161},{"$f":"D109","v":10.161}]
[{"$f":"SUM(A168-A167)","v":3.476},{"$f":"SUM(B168-B167)","v":3.4789999999999992},{"$f":"SUM(C168-C167)","v":3.4799999999999995},{"$f":"SUM(D168-D167)","v":3.4789999999999992}]
[]
[]
["5)","6)","7)","8)"]
[12.762,12.759,12.757999999999999,12.760999999999999]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.762},{"$f":"SUM(B173+B174)","v":13.759},{"$f":"SUM(C173+C174)","v":13.757999999999999},{"$f":"SUM(D173+D174)","v":13.760999999999999}]
[{"$f":"D109","v":10.161},{"$f":"D109","v":10.161},{"$f":"D109","v":10.161},{"$f":"D109","v":10.161}]
[{"$f":"SUM(A176-A175)","v":-3.6010000000000009},{"$f":"SUM(B176-B175)","v":-3.5980000000000008},{"$f":"SUM(C176-C175)","v":-3.5969999999999995},{"$f":"SUM(D176-D175)","v":-3.5999999999999996}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.4039999999999999,null,11.548,14.629]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.404},null,{"$f":"SUM(C184+C185)","v":12.548},{"$f":"SUM(D184+D185)","v":15.629}]
[{"$f":"D109","v":10.161},null,{"$f":"D109","v":10.161},{"$f":"D109","v":10.161}]
[{"$f":"SUM(A187-A186)","v":-0.24300000000000033},0,{"$f":"SUM(C187-C186)","v":-2.3870000000000005},{"$f":"SUM(D187-D186)","v":-5.468}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.4480000000000004,8.4489999999999998,8.4459999999999997,8.4469999999999992]
[{"$f":"D109","v":10.161},{"$f":"D109","v":10.161},{"$f":"D109","v":10.161},{"$f":"D109","v":10.161}]
[{"$f":"SUM(A196-A195)","v":1.7129999999999992},{"$f":"SUM(B196-B195)","v":1.7119999999999997},{"$f":"SUM(C196-C195)","v":1.7149999999999999},{"$f":"SUM(D196-D195)","v":1.7140000000000004}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 34"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-03-18"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"MR, BR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.476},{"$f":"B10*25.4","v":88.290399999999991},null,null,5,{"$f":"Sheet1!A35","v":4.2821818181818152},{"$f":"G10*25.4","v":108.7674181818181}]
[2,{"$f":"Sheet1!B169","v":3.4789999999999992},{"$f":"B11*25.4","v":88.366599999999977},null,null,6,{"$f":"Sheet1!B35","v":4.2871818181818178},{"$f":"G11*25.4","v":108.89441818181817}]
[3,{"$f":"Sheet1!C169","v":3.4799999999999995},{"$f":"B12*25.4","v":88.391999999999982},null,null,7,{"$f":"Sheet1!C35","v":4.2871818181818178},{"$f":"G12*25.4","v":108.89441818181817}]
[4,{"$f":"Sheet1!D169","v":3.4789999999999992},{"$f":"B13*25.4","v":88.366599999999977},null,null,8,{"$f":"Sheet1!D35","v":4.2881818181818154},{"$f":"G13*25.4","v":108.9198181818181}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4928181818181834},{"$f":"Sheet1!C118","v":-2.0000000000006679E-3},{"$f":"B20*25.4","v":-139.51758181818184},{"$f":"C20*25.4","v":-5.0800000000016964E-2},null,{"$f":"H10-D21","v":156.94659999999996},{"$f":"C10-E20","v":88.341200000000015}]
["X1",{"$f":"Sheet1!A78","v":-1.8968181818181833},{"$f":"Sheet1!D118","v":-3.604000000000001},{"$f":"B21*25.4","v":-48.179181818181853},{"$f":"C21*25.4","v":-91.541600000000017}]
["Y1",{"$f":"Sheet1!B78","v":-5.4908181818181809},null,{"$f":"B22*25.4","v":-139.4667818181818}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4878181818181808},{"$f":"Sheet1!A128","v":-1.0000000000012221E-3},{"$f":"B26*25.4","v":-139.39058181818177},{"$f":"C26*25.4","v":-2.540000000003104E-2},null,{"$f":"H13-D27","v":156.99739999999991},{"$f":"C13-E26","v":88.39200000000001}]
["X1",{"$f":"Sheet1!A87","v":-1.892818181818182},{"$f":"Sheet1!B128","v":-3.5999999999999996},{"$f":"B27*25.4","v":-48.07758181818182},{"$f":"C27*25.4","v":-91.439999999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4878181818181808},"\\",{"$f":"B28*25.4","v":-139.39058181818177}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4649999999999999},{"$f":"B36*25.4","v":-138.81099999999998},null,"US  +",{"$f":"Sheet1!A197","v":1.7129999999999992},{"$f":"F36*25.4","v":43.510199999999976}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7119999999999997},{"$f":"F37*25.4","v":43.484799999999993}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7149999999999999},{"$f":"F38*25.4","v":43.560999999999993}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7140000000000004},{"$f":"F39*25.4","v":43.535600000000009}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.402000000000001},{"$f":"B42*25.4","v":-111.81080000000001}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2014-03-18"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.500818181818186},{"$f":"Sheet1!A169","v":3.476},{"$f":"SUM(B10*25.4)","v":-139.72078181818191},{"$f":"SUM(C10*25.4)","v":88.290399999999991}]
[2,{"$f":"Sheet1!B28","v":-5.493818181818181},{"$f":"Sheet1!B169","v":3.4789999999999992},{"$f":"SUM(B11*25.4)","v":-139.5429818181818},{"$f":"SUM(C11*25.4)","v":88.366599999999977},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.493818181818181},{"$f":"Sheet1!C169","v":3.4799999999999995},-139.5429818181818,88.391999999999982,null,{"$f":"Sheet1!C141","v":-5.4649999999999999},{"$f":"SUM(G12*25.4)","v":-138.81099999999998}]
[4,{"$f":"Sheet1!D28","v":-5.4948181818181858},{"$f":"Sheet1!D169","v":3.4789999999999992},-139.5683818181819,88.366599999999977]
[5,{"$f":"Sheet1!A35","v":4.2821818181818152},{"$f":"Sheet1!A177","v":-3.6010000000000009},108.7674181818181,-91.465400000000017]
[6,{"$f":"Sheet1!B35","v":4.2871818181818178},{"$f":"Sheet1!B177","v":-3.5980000000000008},108.89441818181817,-91.389200000000017,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2871818181818178},{"$f":"Sheet1!C177","v":-3.5969999999999995},108.89441818181817,-91.363799999999983]
[8,{"$f":"Sheet1!D35","v":4.2881818181818154},{"$f":"Sheet1!D177","v":-3.5999999999999996},108.9198181818181,-91.439999999999984,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.402000000000001},{"$f":"SUM(G18*25.4)","v":-111.81080000000001}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8968181818181833},{"$f":"Sheet1!C118","v":-2.0000000000006679E-3},{"$f":"SUM(B23*25.4)","v":-48.179181818181853},{"$f":"SUM(C23*25.4)","v":-5.0800000000016964E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8968181818181833},{"$f":"Sheet1!D118","v":-3.604000000000001},{"$f":"SUM(B24*25.4)","v":-48.179181818181853},{"$f":"SUM(C24*25.4)","v":-91.541600000000017},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4908181818181809},null,{"$f":"SUM(B25*25.4)","v":-139.4667818181818},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7129999999999992},{"$f":"SUM(H25*25.4)","v":43.510199999999976}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7119999999999997},{"$f":"SUM(H26*25.4)","v":43.484799999999993}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7149999999999999},{"$f":"SUM(H27*25.4)","v":43.560999999999993}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7140000000000004},{"$f":"SUM(H28*25.4)","v":43.535600000000009}]
["Y1",{"$f":"Sheet1!B87","v":-5.4878181818181808},{"$f":"Sheet1!A128","v":-1.0000000000012221E-3},{"$f":"SUM(B29*25.4)","v":-139.39058181818177},{"$f":"SUM(C29*25.4)","v":-2.540000000003104E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.892818181818182},{"$f":"Sheet1!B128","v":-3.5999999999999996},{"$f":"SUM(B30*25.4)","v":-48.07758181818182},{"$f":"SUM(C30*25.4)","v":-91.439999999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4878181818181808},null,{"$f":"SUM(B31*25.4)","v":-139.39058181818177}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5998181818181827},{"$f":"Sheet1!A118","v":0},{"$f":"SUM(B37*25.4)","v":-91.435381818181838},{"$f":"SUM(C37*25.4)","v":0},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6070000000000011},0,{"$f":"SUM(C38*25.4)","v":-91.617800000000017}]
["Y2",{"$f":"Sheet1!C68","v":-3.6028181818181828},null,{"$f":"SUM(B39*25.4)","v":-91.511581818181838}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5978181818181838},{"$f":"Sheet1!C128","v":0},{"$f":"SUM(B43*25.4)","v":-91.384581818181857},{"$f":"SUM(C43*25.4)","v":0}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6010000000000009},0,{"$f":"SUM(C44*25.4)","v":-91.465400000000017}]
["Y2",{"$f":"Sheet1!C96","v":-3.5948181818181837},null,{"$f":"SUM(B45*25.4)","v":-91.308381818181857}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.044818181818183},{"$f":"Sheet1!A188","v":-0.24300000000000033},{"$f":"SUM(B49*25.4)","v":-178.93838181818182},{"$f":"SUM(C49*25.4)","v":-6.1722000000000081}]
["B",{"$f":"Sheet1!B45","v":-2.5108181818181841},null,{"$f":"SUM(B50*25.4)","v":-63.774781818181872}]
["C",{"$f":"Sheet1!C45","v":-0.75181818181818372},{"$f":"Sheet1!C188","v":-2.3870000000000005},{"$f":"SUM(B51*25.4)","v":-19.096181818181865},{"$f":"SUM(C51*25.4)","v":-60.62980000000001}]
["D",{"$f":"Sheet1!D45","v":-0.75181818181818372},{"$f":"Sheet1!D188","v":-5.468},{"$f":"SUM(B52*25.4)","v":-19.096181818181865},{"$f":"SUM(C52*25.4)","v":-138.88719999999998}]