{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator",35]
["Date:","2011-01-17"]
["Crew:","jmcd, hi"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",26]
["1st. Near",25.815000000000001]
["2nd. Far",23]
["2nd Near",24.972000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":25.742698191933243}]
["Near Should Read",25.742698191933243]
["LOS",25.742698191933243]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[30.231000000000002,30.228000000000002,30.222999999999999,30.224]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":31.231000000000002},{"$f":"SUM(B24:B25)","v":31.228000000000002},{"$f":"SUM(C24:C25)","v":31.222999999999999},{"$f":"SUM(D24:D25)","v":31.224}]
[{"$f":"B18","v":25.742698191933243},{"$f":"B18","v":25.742698191933243},{"$f":"B18","v":25.742698191933243},{"$f":"B18","v":25.742698191933243}]
[{"$f":"SUM(A27-A26)","v":-5.4883018080667583},{"$f":"SUM(B27-B26)","v":-5.4853018080667582},{"$f":"SUM(C27-C26)","v":-5.4803018080667556},{"$f":"SUM(D27-D26)","v":-5.4813018080667568}]
[]
["5)","6)","7)","8)"]
[20.452000000000002,20.446999999999999,20.443999999999999,20.449000000000002]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":21.452000000000002},{"$f":"SUM(B31:B32)","v":21.446999999999999},{"$f":"SUM(C31:C32)","v":21.443999999999999},{"$f":"SUM(D31:D32)","v":21.449000000000002}]
[{"$f":"B18","v":25.742698191933243},{"$f":"B18","v":25.742698191933243},{"$f":"B18","v":25.742698191933243},{"$f":"B18","v":25.742698191933243}]
[{"$f":"SUM(A34-A33)","v":4.2906981919332416},{"$f":"SUM(B34-B33)","v":4.2956981919332442},{"$f":"SUM(C34-C33)","v":4.2986981919332443},{"$f":"SUM(D34-D33)","v":4.2936981919332418}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[31.776,27.242999999999999,25.486000000000001,25.486000000000001]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":32.775999999999996},{"$f":"SUM(B41:B42)","v":28.242999999999999},{"$f":"SUM(C41:C42)","v":26.486000000000001},{"$f":"SUM(D41:D42)","v":26.486000000000001}]
[{"$f":"B18","v":25.742698191933243},{"$f":"B18","v":25.742698191933243},{"$f":"B18","v":25.742698191933243},{"$f":"B18","v":25.742698191933243}]
[{"$f":"SUM(A44-A43)","v":-7.0333018080667529},{"$f":"SUM(B44-B43)","v":-2.5003018080667552},{"$f":"SUM(C44-C43)","v":-0.74330180806675727},{"$f":"SUM(D44-D43)","v":-0.74330180806675727}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":25.742698191933243},"LOS"]
["Undulator",{"$f":"B5","v":35}]
["Date:",{"$f":"B6","v":"2011-01-17"}]
["Crew:",{"$f":"B7","v":"jmcd, hi"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,28.343,28.346]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":29.343},{"$f":"SUM(C64:C65)","v":29.346}]
[null,{"$f":"B18","v":25.742698191933243},{"$f":"B18","v":25.742698191933243}]
[0,{"$f":"SUM(B67-B66)","v":-3.6003018080667566},{"$f":"SUM(C67-C66)","v":-3.6033018080667567}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[26.626000000000001,30.22,30.222999999999999]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":27.626000000000001},{"$f":"SUM(B74:B75)","v":31.22},{"$f":"SUM(C74:C75)","v":31.222999999999999}]
[{"$f":"B18","v":25.742698191933243},{"$f":"B18","v":25.742698191933243},{"$f":"B18","v":25.742698191933243}]
[{"$f":"SUM(A77-A76)","v":-1.8833018080667578},{"$f":"SUM(B77-B76)","v":-5.4773018080667555},{"$f":"SUM(C77-C76)","v":-5.4803018080667556}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[26.626000000000001,30.222000000000001,30.222999999999999]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":27.626000000000001},{"$f":"SUM(B83:B84)","v":31.222000000000001},{"$f":"SUM(C83:C84)","v":31.222999999999999}]
[{"$f":"B18","v":25.742698191933243},{"$f":"B18","v":25.742698191933243},{"$f":"B18","v":25.742698191933243}]
[{"$f":"SUM(A86-A85)","v":-1.8833018080667578},{"$f":"SUM(B86-B85)","v":-5.4793018080667579},{"$f":"SUM(C86-C85)","v":-5.4803018080667556}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,28.343,28.338000000000001]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":29.343},{"$f":"SUM(C92:C93)","v":29.338000000000001}]
[null,{"$f":"B18","v":25.742698191933243},{"$f":"B18","v":25.742698191933243}]
[0,{"$f":"SUM(B95-B94)","v":-3.6003018080667566},{"$f":"SUM(C95-C94)","v":-3.5953018080667576}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,5.0890000000000004,5.0919999999999996]
[null,null,1,1]
["Undulator",{"$f":"B5","v":35},{"$f":"SUM(C104+C105)","v":6.0890000000000004},{"$f":"SUM(D104+D105)","v":6.0919999999999996}]
["Date:",{"$f":"B6","v":"2011-01-17"}]
["Crew:",{"$f":"B7","v":"jmcd, hi"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":6.0905000000000005}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":5.0890000000000004},8.6969999999999992,5.0919999999999996,8.6920000000000002]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":6.0890000000000004},{"$f":"SUM(B114:B115)","v":9.6969999999999992},{"$f":"SUM(C114:C115)","v":6.0919999999999996},{"$f":"SUM(D114:D115)","v":9.6920000000000002}]
[{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005}]
[{"$f":"SUM(A117-A116)","v":1.5000000000000568E-3},{"$f":"SUM(B117-B116)","v":-3.6064999999999987},{"$f":"SUM(C117-C116)","v":-1.4999999999991687E-3},{"$f":"SUM(D117-D116)","v":-3.6014999999999997}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[5.0919999999999996,8.6920000000000002,{"$f":"D104","v":5.0919999999999996},8.6920000000000002]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":6.0919999999999996},{"$f":"SUM(B124:B125)","v":9.6920000000000002},{"$f":"SUM(C124:C125)","v":6.0919999999999996},{"$f":"SUM(D124:D125)","v":9.6920000000000002}]
[{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005}]
[{"$f":"SUM(A127-A126)","v":-1.4999999999991687E-3},{"$f":"SUM(B127-B126)","v":-3.6014999999999997},{"$f":"SUM(C127-C126)","v":-1.4999999999991687E-3},{"$f":"SUM(D127-D126)","v":-3.6014999999999997}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[10.488,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":6.0905000000000005},null,4.1000000000000002E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3974999999999991},null,{"$f":"SUM(C137+C138)","v":-5.423}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4619999999999997},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":35}]
["Date:",{"$f":"B6","v":"2011-01-17"}]
["Crew:",{"$f":"B7","v":"jmcd, hi"}]
[]
[]
["HI =",{"$f":"D109","v":6.0905000000000005}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[1.613,1.6160000000000001,1.615,1.6120000000000001]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":2.613},{"$f":"SUM(B165:B166)","v":2.6160000000000001},{"$f":"SUM(C165:C166)","v":2.6150000000000002},{"$f":"SUM(D165:D166)","v":2.6120000000000001}]
[{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005}]
[{"$f":"SUM(A168-A167)","v":3.4775000000000005},{"$f":"SUM(B168-B167)","v":3.4745000000000004},{"$f":"SUM(C168-C167)","v":3.4755000000000003},{"$f":"SUM(D168-D167)","v":3.4785000000000004}]
[]
[]
["5)","6)","7)","8)"]
[8.6839999999999993,8.6850000000000005,8.6850000000000005,8.69]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":9.6839999999999993},{"$f":"SUM(B173+B174)","v":9.6850000000000005},{"$f":"SUM(C173+C174)","v":9.6850000000000005},{"$f":"SUM(D173+D174)","v":9.69}]
[{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005}]
[{"$f":"SUM(A176-A175)","v":-3.5934999999999988},{"$f":"SUM(B176-B175)","v":-3.5945},{"$f":"SUM(C176-C175)","v":-3.5945},{"$f":"SUM(D176-D175)","v":-3.599499999999999}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[5.33,null,5.4720000000000004,10.553000000000001]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":6.33},null,{"$f":"SUM(C184+C185)","v":6.4720000000000004},{"$f":"SUM(D184+D185)","v":11.553000000000001}]
[{"$f":"D109","v":6.0905000000000005},null,{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005}]
[{"$f":"SUM(A187-A186)","v":-0.2394999999999996},0,{"$f":"SUM(C187-C186)","v":-0.38149999999999995},{"$f":"SUM(D187-D186)","v":-5.4625000000000004}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[4.3719999999999999,4.3730000000000002,4.3710000000000004,4.3719999999999999]
[{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005},{"$f":"D109","v":6.0905000000000005}]
[{"$f":"SUM(A196-A195)","v":1.7185000000000006},{"$f":"SUM(B196-B195)","v":1.7175000000000002},{"$f":"SUM(C196-C195)","v":1.7195},{"$f":"SUM(D196-D195)","v":1.7185000000000006}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":35}]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-01-17"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"jmcd, hi"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4775000000000005},{"$f":"B10*25.4","v":88.328500000000005},null,null,5,{"$f":"Sheet1!A35","v":4.2906981919332416},{"$f":"G10*25.4","v":108.98373407510434}]
[2,{"$f":"Sheet1!B169","v":3.4745000000000004},{"$f":"B11*25.4","v":88.252300000000005},null,null,6,{"$f":"Sheet1!B35","v":4.2956981919332442},{"$f":"G11*25.4","v":109.1107340751044}]
[3,{"$f":"Sheet1!C169","v":3.4755000000000003},{"$f":"B12*25.4","v":88.277699999999996},null,null,7,{"$f":"Sheet1!C35","v":4.2986981919332443},{"$f":"G12*25.4","v":109.1869340751044}]
[4,{"$f":"Sheet1!D169","v":3.4785000000000004},{"$f":"B13*25.4","v":88.35390000000001},null,null,8,{"$f":"Sheet1!D35","v":4.2936981919332418},{"$f":"G13*25.4","v":109.05993407510434}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4803018080667556},{"$f":"Sheet1!C118","v":-1.4999999999991687E-3},{"$f":"B20*25.4","v":-139.19966592489558},{"$f":"C20*25.4","v":-3.809999999997888E-2},null,{"$f":"H10-D21","v":156.81959999999998},{"$f":"C10-E20","v":88.366599999999991}]
["X1",{"$f":"Sheet1!A78","v":-1.8833018080667578},{"$f":"Sheet1!D118","v":-3.6014999999999997},{"$f":"B21*25.4","v":-47.83586592489565},{"$f":"C21*25.4","v":-91.478099999999984}]
["Y1",{"$f":"Sheet1!B78","v":-5.4773018080667555},null,{"$f":"B22*25.4","v":-139.12346592489558}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4793018080667579},{"$f":"Sheet1!A128","v":-1.4999999999991687E-3},{"$f":"B26*25.4","v":-139.17426592489565},{"$f":"C26*25.4","v":-3.809999999997888E-2},null,{"$f":"H13-D27","v":156.89579999999998},{"$f":"C13-E26","v":88.391999999999996}]
["X1",{"$f":"Sheet1!A87","v":-1.8833018080667578},{"$f":"Sheet1!B128","v":-3.6014999999999997},{"$f":"B27*25.4","v":-47.83586592489565},{"$f":"C27*25.4","v":-91.478099999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4803018080667556},"\\",{"$f":"B28*25.4","v":-139.19966592489558}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4619999999999997},{"$f":"B36*25.4","v":-138.73479999999998},null,"US  +",{"$f":"Sheet1!A197","v":1.7185000000000006},{"$f":"F36*25.4","v":43.649900000000009}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7175000000000002},{"$f":"F37*25.4","v":43.624500000000005}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7195},{"$f":"F38*25.4","v":43.6753}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7185000000000006},{"$f":"F39*25.4","v":43.649900000000009}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3974999999999991},{"$f":"B42*25.4","v":-111.69649999999997}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-01-17"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.4883018080667583},{"$f":"Sheet1!A169","v":3.4775000000000005},{"$f":"SUM(B10*25.4)","v":-139.40286592489565},{"$f":"SUM(C10*25.4)","v":88.328500000000005}]
[2,{"$f":"Sheet1!B28","v":-5.4853018080667582},{"$f":"Sheet1!B169","v":3.4745000000000004},{"$f":"SUM(B11*25.4)","v":-139.32666592489565},{"$f":"SUM(C11*25.4)","v":88.252300000000005},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4803018080667556},{"$f":"Sheet1!C169","v":3.4755000000000003},-139.19966592489558,88.277699999999996,null,{"$f":"Sheet1!C141","v":-5.4619999999999997},{"$f":"SUM(G12*25.4)","v":-138.73479999999998}]
[4,{"$f":"Sheet1!D28","v":-5.4813018080667568},{"$f":"Sheet1!D169","v":3.4785000000000004},-139.2250659248956,88.35390000000001]
[5,{"$f":"Sheet1!A35","v":4.2906981919332416},{"$f":"Sheet1!A177","v":-3.5934999999999988},108.98373407510434,-91.27489999999996]
[6,{"$f":"Sheet1!B35","v":4.2956981919332442},{"$f":"Sheet1!B177","v":-3.5945},109.1107340751044,-91.300299999999993,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2986981919332443},{"$f":"Sheet1!C177","v":-3.5945},109.1869340751044,-91.300299999999993]
[8,{"$f":"Sheet1!D35","v":4.2936981919332418},{"$f":"Sheet1!D177","v":-3.599499999999999},109.05993407510434,-91.427299999999974,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3974999999999991},{"$f":"SUM(G18*25.4)","v":-111.69649999999997}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8833018080667578},{"$f":"Sheet1!C118","v":-1.4999999999991687E-3},{"$f":"SUM(B23*25.4)","v":-47.83586592489565},{"$f":"SUM(C23*25.4)","v":-3.809999999997888E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8833018080667578},{"$f":"Sheet1!D118","v":-3.6014999999999997},{"$f":"SUM(B24*25.4)","v":-47.83586592489565},{"$f":"SUM(C24*25.4)","v":-91.478099999999984},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4773018080667555},null,{"$f":"SUM(B25*25.4)","v":-139.12346592489558},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7185000000000006},{"$f":"SUM(H25*25.4)","v":43.649900000000009}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7175000000000002},{"$f":"SUM(H26*25.4)","v":43.624500000000005}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7195},{"$f":"SUM(H27*25.4)","v":43.6753}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7185000000000006},{"$f":"SUM(H28*25.4)","v":43.649900000000009}]
["Y1",{"$f":"Sheet1!B87","v":-5.4793018080667579},{"$f":"Sheet1!A128","v":-1.4999999999991687E-3},{"$f":"SUM(B29*25.4)","v":-139.17426592489565},{"$f":"SUM(C29*25.4)","v":-3.809999999997888E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.8833018080667578},{"$f":"Sheet1!B128","v":-3.6014999999999997},{"$f":"SUM(B30*25.4)","v":-47.83586592489565},{"$f":"SUM(C30*25.4)","v":-91.478099999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4803018080667556},null,{"$f":"SUM(B31*25.4)","v":-139.19966592489558}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.6003018080667566},{"$f":"Sheet1!A118","v":1.5000000000000568E-3},{"$f":"SUM(B37*25.4)","v":-91.447665924895617},{"$f":"SUM(C37*25.4)","v":3.8100000000001438E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6064999999999987},0,{"$f":"SUM(C38*25.4)","v":-91.605099999999965}]
["Y2",{"$f":"Sheet1!C68","v":-3.6033018080667567},null,{"$f":"SUM(B39*25.4)","v":-91.523865924895617}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.6003018080667566},{"$f":"Sheet1!C128","v":-1.4999999999991687E-3},{"$f":"SUM(B43*25.4)","v":-91.447665924895617},{"$f":"SUM(C43*25.4)","v":-3.809999999997888E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6014999999999997},0,{"$f":"SUM(C44*25.4)","v":-91.478099999999984}]
["Y2",{"$f":"Sheet1!C96","v":-3.5953018080667576},null,{"$f":"SUM(B45*25.4)","v":-91.320665924895636}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0333018080667529},{"$f":"Sheet1!A188","v":-0.2394999999999996},{"$f":"SUM(B49*25.4)","v":-178.6458659248955},{"$f":"SUM(C49*25.4)","v":-6.0832999999999897}]
["B",{"$f":"Sheet1!B45","v":-2.5003018080667552},null,{"$f":"SUM(B50*25.4)","v":-63.507665924895576}]
["C",{"$f":"Sheet1!C45","v":-0.74330180806675727},{"$f":"Sheet1!C188","v":-0.38149999999999995},{"$f":"SUM(B51*25.4)","v":-18.879865924895633},{"$f":"SUM(C51*25.4)","v":-9.6900999999999975}]
["D",{"$f":"Sheet1!D45","v":-0.74330180806675727},{"$f":"Sheet1!D188","v":-5.4625000000000004},{"$f":"SUM(B52*25.4)","v":-18.879865924895633},{"$f":"SUM(C52*25.4)","v":-138.7475}]