{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 39"]
["Date:","2013-09-25"]
["Crew:","LG, BR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",28]
["1st. Near",27.263000000000002]
["2nd. Far",26.5]
["2nd Near",26.882000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":27.012064343163541}]
["Near Should Read",27.012064343163541]
["LOS",27.012064343163541]
[]
["Undulator "]
[null,null,null," "]
[]
["1)","2)","3)","4)"]
[31.513000000000002,31.506,31.503,31.501000000000001]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":32.513000000000005},{"$f":"SUM(B24:B25)","v":32.506},{"$f":"SUM(C24:C25)","v":32.503},{"$f":"SUM(D24:D25)","v":32.501000000000005}]
[{"$f":"B18","v":27.012064343163541},{"$f":"B18","v":27.012064343163541},{"$f":"B18","v":27.012064343163541},{"$f":"B18","v":27.012064343163541}]
[{"$f":"SUM(A27-A26)","v":-5.5009356568364645},{"$f":"SUM(B27-B26)","v":-5.4939356568364595},{"$f":"SUM(C27-C26)","v":-5.4909356568364593},{"$f":"SUM(D27-D26)","v":-5.488935656836464}]
[]
["5)","6)","7)","8)"]
[21.725999999999999,21.724,21.722999999999999,21.725000000000001]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":22.725999999999999},{"$f":"SUM(B31:B32)","v":22.724},{"$f":"SUM(C31:C32)","v":22.722999999999999},{"$f":"SUM(D31:D32)","v":22.725000000000001}]
[{"$f":"B18","v":27.012064343163541},{"$f":"B18","v":27.012064343163541},{"$f":"B18","v":27.012064343163541},{"$f":"B18","v":27.012064343163541}]
[{"$f":"SUM(A34-A33)","v":4.2860643431635417},{"$f":"SUM(B34-B33)","v":4.2880643431635406},{"$f":"SUM(C34-C33)","v":4.2890643431635418},{"$f":"SUM(D34-D33)","v":4.2870643431635393}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[33.055,28.521000000000001,26.763000000000002,26.763000000000002]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":34.055},{"$f":"SUM(B41:B42)","v":29.521000000000001},{"$f":"SUM(C41:C42)","v":27.763000000000002},{"$f":"SUM(D41:D42)","v":27.763000000000002}]
[{"$f":"B18","v":27.012064343163541},{"$f":"B18","v":27.012064343163541},{"$f":"B18","v":27.012064343163541},{"$f":"B18","v":27.012064343163541}]
[{"$f":"SUM(A44-A43)","v":-7.0429356568364589},{"$f":"SUM(B44-B43)","v":-2.50893565683646},{"$f":"SUM(C44-C43)","v":-0.75093565683646091},{"$f":"SUM(D44-D43)","v":-0.75093565683646091}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":27.012064343163541},"LOS"]
["Undulator",{"$f":"B5","v":"SN 39"}]
["Date:",{"$f":"B6","v":"2013-09-25"}]
["Crew:",{"$f":"B7","v":"LG, BR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,29.61,29.611999999999998]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":30.61},{"$f":"SUM(C64:C65)","v":30.611999999999998}]
[null,{"$f":"B18","v":27.012064343163541},{"$f":"B18","v":27.012064343163541}]
[0,{"$f":"SUM(B67-B66)","v":-3.5979356568364587},{"$f":"SUM(C67-C66)","v":-3.5999356568364576}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[27.905000000000001,31.498999999999999,31.501000000000001]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":28.905000000000001},{"$f":"SUM(B74:B75)","v":32.498999999999995},{"$f":"SUM(C74:C75)","v":32.501000000000005}]
[{"$f":"B18","v":27.012064343163541},{"$f":"B18","v":27.012064343163541},{"$f":"B18","v":27.012064343163541}]
[{"$f":"SUM(A77-A76)","v":-1.8929356568364604},{"$f":"SUM(B77-B76)","v":-5.4869356568364545},{"$f":"SUM(C77-C76)","v":-5.488935656836464}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[27.902999999999999,31.5,31.5]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":28.902999999999999},{"$f":"SUM(B83:B84)","v":32.5},{"$f":"SUM(C83:C84)","v":32.5}]
[{"$f":"B18","v":27.012064343163541},{"$f":"B18","v":27.012064343163541},{"$f":"B18","v":27.012064343163541}]
[{"$f":"SUM(A86-A85)","v":-1.8909356568364579},{"$f":"SUM(B86-B85)","v":-5.4879356568364592},{"$f":"SUM(C86-C85)","v":-5.4879356568364592}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,29.609000000000002,29.600999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":30.609000000000002},{"$f":"SUM(C92:C93)","v":30.600999999999999}]
[null,{"$f":"B18","v":27.012064343163541},{"$f":"B18","v":27.012064343163541}]
[0,{"$f":"SUM(B95-B94)","v":-3.596935656836461},{"$f":"SUM(C95-C94)","v":-3.5889356568364583}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.9740000000000002,8.9760000000000009]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 39"},{"$f":"SUM(C104+C105)","v":9.9740000000000002},{"$f":"SUM(D104+D105)","v":9.9760000000000009}]
["Date:",{"$f":"B6","v":"2013-09-25"}]
["Crew:",{"$f":"B7","v":"LG, BR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.9750000000000014}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.9740000000000002},12.58,8.9770000000000003,12.378]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.9740000000000002},{"$f":"SUM(B114:B115)","v":13.58},{"$f":"SUM(C114:C115)","v":9.9770000000000003},{"$f":"SUM(D114:D115)","v":13.378}]
[{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014}]
[{"$f":"SUM(A117-A116)","v":1.0000000000012221E-3},{"$f":"SUM(B117-B116)","v":-3.6049999999999986},{"$f":"SUM(C117-C116)","v":-1.9999999999988916E-3},{"$f":"SUM(D117-D116)","v":-3.4029999999999987}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.98,12.58,{"$f":"D104","v":8.9760000000000009},12.577999999999999]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.98},{"$f":"SUM(B124:B125)","v":13.58},{"$f":"SUM(C124:C125)","v":9.9760000000000009},{"$f":"SUM(D124:D125)","v":13.577999999999999}]
[{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014}]
[{"$f":"SUM(A127-A126)","v":-4.9999999999990052E-3},{"$f":"SUM(B127-B126)","v":-3.6049999999999986},{"$f":"SUM(C127-C126)","v":-9.9999999999944578E-4},{"$f":"SUM(D127-D126)","v":-3.602999999999998}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.375,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.9750000000000014},null,4.1000000000000002E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.3999999999999986},null,{"$f":"SUM(C137+C138)","v":-5.423}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.4619999999999997},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 39"}]
["Date:",{"$f":"B6","v":"2013-09-25"}]
["Crew:",{"$f":"B7","v":"LG, BR"}]
[]
[]
["HI =",{"$f":"D109","v":9.9750000000000014}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.5,5.4969999999999999,5.4969999999999999,5.4980000000000002]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.5},{"$f":"SUM(B165:B166)","v":6.4969999999999999},{"$f":"SUM(C165:C166)","v":6.4969999999999999},{"$f":"SUM(D165:D166)","v":6.4980000000000002}]
[{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014}]
[{"$f":"SUM(A168-A167)","v":3.4750000000000014},{"$f":"SUM(B168-B167)","v":3.4780000000000015},{"$f":"SUM(C168-C167)","v":3.4780000000000015},{"$f":"SUM(D168-D167)","v":3.4770000000000012}]
[]
[]
["5)","6)","7)","8)"]
[12.571,12.574,12.573,12.573]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.571},{"$f":"SUM(B173+B174)","v":13.574},{"$f":"SUM(C173+C174)","v":13.573},{"$f":"SUM(D173+D174)","v":13.573}]
[{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014}]
[{"$f":"SUM(A176-A175)","v":-3.5959999999999983},{"$f":"SUM(B176-B175)","v":-3.5989999999999984},{"$f":"SUM(C176-C175)","v":-3.597999999999999},{"$f":"SUM(D176-D175)","v":-3.597999999999999}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.2149999999999999,null,11.358000000000001,14.438000000000001]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.215},null,{"$f":"SUM(C184+C185)","v":12.358000000000001},{"$f":"SUM(D184+D185)","v":15.438000000000001}]
[{"$f":"D109","v":9.9750000000000014},null,{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014}]
[{"$f":"SUM(A187-A186)","v":-0.23999999999999844},0,{"$f":"SUM(C187-C186)","v":-2.3829999999999991},{"$f":"SUM(D187-D186)","v":-5.4629999999999992}]
[]
[]
["Flats"]
[]
["U/S"," ","D/S"]
["(+)","(-)","(+)","(-)"]
[8.2579999999999991,8.2590000000000003,8.2590000000000003,8.26]
[{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014},{"$f":"D109","v":9.9750000000000014}]
[{"$f":"SUM(A196-A195)","v":1.7170000000000023},{"$f":"SUM(B196-B195)","v":1.7160000000000011},{"$f":"SUM(C196-C195)","v":1.7160000000000011},{"$f":"SUM(D196-D195)","v":1.7150000000000016}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 39"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-09-25"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"LG, BR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4750000000000014},{"$f":"B10*25.4","v":88.265000000000029},null,null,5,{"$f":"Sheet1!A35","v":4.2860643431635417},{"$f":"G10*25.4","v":108.86603431635395}]
[2,{"$f":"Sheet1!B169","v":3.4780000000000015},{"$f":"B11*25.4","v":88.341200000000029},null,null,6,{"$f":"Sheet1!B35","v":4.2880643431635406},{"$f":"G11*25.4","v":108.91683431635393}]
[3,{"$f":"Sheet1!C169","v":3.4780000000000015},{"$f":"B12*25.4","v":88.341200000000029},null,null,7,{"$f":"Sheet1!C35","v":4.2890643431635418},{"$f":"G12*25.4","v":108.94223431635396}]
[4,{"$f":"Sheet1!D169","v":3.4770000000000012},{"$f":"B13*25.4","v":88.315800000000024},null,null,8,{"$f":"Sheet1!D35","v":4.2870643431635393},{"$f":"G13*25.4","v":108.89143431635389}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.488935656836464},{"$f":"Sheet1!C118","v":-1.9999999999988916E-3},{"$f":"B20*25.4","v":-139.41896568364618},{"$f":"C20*25.4","v":-5.079999999997184E-2},null,{"$f":"H10-D21","v":156.94660000000005},{"$f":"C10-E20","v":88.315799999999996}]
["X1",{"$f":"Sheet1!A78","v":-1.8929356568364604},{"$f":"Sheet1!D118","v":-3.4029999999999987},{"$f":"B21*25.4","v":-48.080565683646093},{"$f":"C21*25.4","v":-86.436199999999957}]
["Y1",{"$f":"Sheet1!B78","v":-5.4869356568364545},null,{"$f":"B22*25.4","v":-139.36816568364594}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4879356568364592},{"$f":"Sheet1!A128","v":-4.9999999999990052E-3},{"$f":"B26*25.4","v":-139.39356568364605},{"$f":"C26*25.4","v":-0.12699999999997472},null,{"$f":"H13-D27","v":156.92119999999991},{"$f":"C13-E26","v":88.442800000000005}]
["X1",{"$f":"Sheet1!A87","v":-1.8909356568364579},{"$f":"Sheet1!B128","v":-3.6049999999999986},{"$f":"B27*25.4","v":-48.029765683646026},{"$f":"C27*25.4","v":-91.566999999999965}]
["Y2",{"$f":"Sheet1!C87","v":-5.4879356568364592},"\\",{"$f":"B28*25.4","v":-139.39356568364605}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.4619999999999997},{"$f":"B36*25.4","v":-138.73479999999998},null,"US  +",{"$f":"Sheet1!A197","v":1.7170000000000023},{"$f":"F36*25.4","v":43.611800000000059}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7160000000000011},{"$f":"F37*25.4","v":43.586400000000026}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7160000000000011},{"$f":"F38*25.4","v":43.586400000000026}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7150000000000016},{"$f":"F39*25.4","v":43.561000000000043}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.3999999999999986},{"$f":"B42*25.4","v":-111.75999999999996}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2013-09-25"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.5009356568364645},{"$f":"Sheet1!A169","v":3.4750000000000014},{"$f":"SUM(B10*25.4)","v":-139.72376568364618},{"$f":"SUM(C10*25.4)","v":88.265000000000029}]
[2,{"$f":"Sheet1!B28","v":-5.4939356568364595},{"$f":"Sheet1!B169","v":3.4780000000000015},{"$f":"SUM(B11*25.4)","v":-139.54596568364607},{"$f":"SUM(C11*25.4)","v":88.341200000000029},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4909356568364593},{"$f":"Sheet1!C169","v":3.4780000000000015},-139.46976568364607,88.341200000000029,null,{"$f":"Sheet1!C141","v":-5.4619999999999997},{"$f":"SUM(G12*25.4)","v":-138.73479999999998}]
[4,{"$f":"Sheet1!D28","v":-5.488935656836464},{"$f":"Sheet1!D169","v":3.4770000000000012},-139.41896568364618,88.315800000000024]
[5,{"$f":"Sheet1!A35","v":4.2860643431635417},{"$f":"Sheet1!A177","v":-3.5959999999999983},108.86603431635395,-91.33839999999995]
[6,{"$f":"Sheet1!B35","v":4.2880643431635406},{"$f":"Sheet1!B177","v":-3.5989999999999984},108.91683431635393,-91.41459999999995,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2890643431635418},{"$f":"Sheet1!C177","v":-3.597999999999999},108.94223431635396,-91.389199999999974]
[8,{"$f":"Sheet1!D35","v":4.2870643431635393},{"$f":"Sheet1!D177","v":-3.597999999999999},108.89143431635389,-91.389199999999974,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.3999999999999986},{"$f":"SUM(G18*25.4)","v":-111.75999999999996}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.8929356568364604},{"$f":"Sheet1!C118","v":-1.9999999999988916E-3},{"$f":"SUM(B23*25.4)","v":-48.080565683646093},{"$f":"SUM(C23*25.4)","v":-5.079999999997184E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.8929356568364604},{"$f":"Sheet1!D118","v":-3.4029999999999987},{"$f":"SUM(B24*25.4)","v":-48.080565683646093},{"$f":"SUM(C24*25.4)","v":-86.436199999999957},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4869356568364545},null,{"$f":"SUM(B25*25.4)","v":-139.36816568364594},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7170000000000023},{"$f":"SUM(H25*25.4)","v":43.611800000000059}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7160000000000011},{"$f":"SUM(H26*25.4)","v":43.586400000000026}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7160000000000011},{"$f":"SUM(H27*25.4)","v":43.586400000000026}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7150000000000016},{"$f":"SUM(H28*25.4)","v":43.561000000000043}]
["Y1",{"$f":"Sheet1!B87","v":-5.4879356568364592},{"$f":"Sheet1!A128","v":-4.9999999999990052E-3},{"$f":"SUM(B29*25.4)","v":-139.39356568364605},{"$f":"SUM(C29*25.4)","v":-0.12699999999997472}]
["X1",{"$f":"Sheet1!A87","v":-1.8909356568364579},{"$f":"Sheet1!B128","v":-3.6049999999999986},{"$f":"SUM(B30*25.4)","v":-48.029765683646026},{"$f":"SUM(C30*25.4)","v":-91.566999999999965}]
["Y2",{"$f":"Sheet1!C87","v":-5.4879356568364592},null,{"$f":"SUM(B31*25.4)","v":-139.39356568364605}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5979356568364587},{"$f":"Sheet1!A118","v":1.0000000000012221E-3},{"$f":"SUM(B37*25.4)","v":-91.387565683646045},{"$f":"SUM(C37*25.4)","v":2.540000000003104E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6049999999999986},0,{"$f":"SUM(C38*25.4)","v":-91.566999999999965}]
["Y2",{"$f":"Sheet1!C68","v":-3.5999356568364576},null,{"$f":"SUM(B39*25.4)","v":-91.438365683646012}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.596935656836461},{"$f":"Sheet1!C128","v":-9.9999999999944578E-4},{"$f":"SUM(B43*25.4)","v":-91.362165683646097},{"$f":"SUM(C43*25.4)","v":-2.539999999998592E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.602999999999998},0,{"$f":"SUM(C44*25.4)","v":-91.516199999999941}]
["Y2",{"$f":"Sheet1!C96","v":-3.5889356568364583},null,{"$f":"SUM(B45*25.4)","v":-91.158965683646031}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0429356568364589},{"$f":"Sheet1!A188","v":-0.23999999999999844},{"$f":"SUM(B49*25.4)","v":-178.89056568364606},{"$f":"SUM(C49*25.4)","v":-6.0959999999999601}]
["B",{"$f":"Sheet1!B45","v":-2.50893565683646},null,{"$f":"SUM(B50*25.4)","v":-63.726965683646078}]
["C",{"$f":"Sheet1!C45","v":-0.75093565683646091},{"$f":"Sheet1!C188","v":-2.3829999999999991},{"$f":"SUM(B51*25.4)","v":-19.073765683646105},{"$f":"SUM(C51*25.4)","v":-60.528199999999977}]
["D",{"$f":"Sheet1!D45","v":-0.75093565683646091},{"$f":"Sheet1!D188","v":-5.4629999999999992},{"$f":"SUM(B52*25.4)","v":-19.073765683646105},{"$f":"SUM(C52*25.4)","v":-138.76019999999997}]