## Slide 1
X
Z
Y
Chart: Height
| 29.979800000000001 | 542.46590000000003 | 1054.9564 | 1114.9539 | 1627.4411 | 2139.9290999999998 | 2199.9268999999999 | 2712.4142999999999 | 3224.9025999999999
DY_W [um] | 19 | 9.8 | 6.6 | 12.7 | 14.8 | 29.1 | 23.9 | 14.6 | 18
DY_E [um] | 23.3 | 9.7 | 5.2 | 10.2 | 10 | 21.3 | 21 | 9.6 | 12.7
Chart: X
| 29.979399999999998 | 542.46699999999998 | 1054.9549 | 1114.9536000000001 | 1627.4412 | 2139.9286000000002 | 2199.9272000000001 | 2712.4142999999999 | 3224.9018999999998
DX_W [um] | -27.7 | -26.8 | -29 | -22.5 | -23.6 | -30.3 | -29.1 | -28.2 | -25.6
DX_E [um] | -25.1 | -24.2 | -26 | -20.6 | -23.7 | -29.3 | -26.4 | -25.1 | -22.9
Rails’ reference surfaces

## Slide 2
Chart: Y (no ends)
Tuning fixture
Carrier
Chart: X (No ends)

## Slide 3
Tuning fixture
Carrier
Chart: X (No ends)
Chart: Y (no ends) (Re-tuned)

## Slide 6
X
Y

## Slide 7
Chart: Y (no ends) (Re-tuned)
Chart: X (No ends)

## Slide 8
K = 2.944046
Ypos = 1.812 mm

## Slide 10
Chart: Difference in Y (Run14-Run13)
Chart: Difference in X (Run14-Run13)

## Slide 12
Chart: Difference in Y (Run14-Run13)
K = 3.001455
Ypos = 1.729mm

## Slide 14
“0” Kugler (HP)
“0” Fixture (TP)
MA
TPmag
TPpm
HPpm
MA = 3.3+Tpmag -TPpm+pmS-HPpm
3.3mm
“0”TP
pmS

## Slide 17
 |  |  |  | Y center |  |  |  |  |  |  |  |  | Calculations | 
 | TP Meas. |  |  |  |  |  | HP Meas. |  |  |  |  |  |  | 
 | Magnets |  |  | Sphere |  |  | PM |  |  | MC to Sph. |  |  | MAy | MAx
Date: | x | y |  | x | y |  | x | y |  | x | y |  |  | 
6-Feb | -0.7366 | 236.9007 |  | 17.505 | 159.2437 |  | 85.573 | 182.94 |  | 45.58 | 104.709 |  | 1.711 | 99.988
10-Feb | -0.7336 | 236.8977 |  |  |  |  | 85.615 | 182.955 |  |  |  |  | 1.708 | 99.9798
11-Feb | -0.663 | 236.923 |  | 17.5002 | 159.2407 |  | 85.56 | 182.958 |  |  |  |  | 1.7087 | 99.9848
24-Feb | -0.595 | 236.932 |  | 17.503 | 159.244 |  | 85.565 | 182.954 |  |  |  |  | 1.711 | 99.983
24-Mar | -0.595 | 236.932 |  | 17.601 | 159.255 |  | 85.566 | 182.966 |  |  |  |  | 1.684 | 99.886
30-Mar | -0.592 | 236.92 |  | 17.515 | 159.256 |  | 85.567 | 182.993 |  |  |  |  | 1.68 | 99.972
22-Apr | -0.584 | 236.919 |  | 17.495 | 159.253 |  | 85.576 | 182.946 |  |  |  |  | 1.729 | 100.001