## Slide 1
X
Z
Y
Chart: Height
| 29.979800000000001 | 542.46590000000003 | 1054.9564 | 1114.9539 | 1627.4411 | 2139.9290999999998 | 2199.9268999999999 | 2712.4142999999999 | 3224.9025999999999
DY_W [um] | 19 | 9.8 | 6.6 | 12.7 | 14.8 | 29.1 | 23.9 | 14.6 | 18
DY_E [um] | 23.3 | 9.7 | 5.2 | 10.2 | 10 | 21.3 | 21 | 9.6 | 12.7
Chart: X
| 29.979399999999998 | 542.46699999999998 | 1054.9549 | 1114.9536000000001 | 1627.4412 | 2139.9286000000002 | 2199.9272000000001 | 2712.4142999999999 | 3224.9018999999998
DX_W [um] | -27.7 | -26.8 | -29 | -22.5 | -23.6 | -30.3 | -29.1 | -28.2 | -25.6
DX_E [um] | -25.1 | -24.2 | -26 | -20.6 | -23.7 | -29.3 | -26.4 | -25.1 | -22.9
Reference surfaces

## Slide 2
X
Y

## Slide 3
Chart: Y (no ends)
Tuning fixture
Carrier
Chart: X (No ends)

## Slide 4
Chart: Y (no ends)
Tuning fixture
Carrier
Chart: X (No ends)

## Slide 6
“0” Kugler (HP)
“0” Fixture (TP)
MA
TPmag
TPpm
HPpm
MA = Tpmag +3.4-TPpm-HPpm
3.4mm
“0”TP

## Slide 7
 |  |  | MA calc. |  |  |  |  |  |  | 
TP Meas. |  |  |  |  |  | HP Meas. |  |  |  | 
Magnets |  |  | Sphere |  |  | PM |  |  | MC to Sph. | 
x | y |  | x | y |  | x | y |  | x | y
-0.7366 | 236.9007 |  | 17.505 | 159.2437 |  | 85.573 | 182.94 |  | 45.58 | 104.709
 |  |  |  |  |  | 85.615 | 182.955 |  |  | 
Calculations |  |  |  |  |  |  |  |  |  | 
Date | 2/5/26 | 2/6/26 |  |  |  |  |  |  |  | 
MAy = | 1.811 | 1.826 |  |  |  |  |  |  |  | 
MAx = | 100.03 | 99.988 |  |  |  |  |  |  |  |