{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":197,"n_cols":4,"rows_kept":197,"cut":false,"hidden":false,"merged":[]}
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
["Undulator","SN 37"]
["Date:","2011-05-09"]
["Crew:","JM, BR"]
[]
["BUCK IN "]
["Far Value",0,"PM1 X1"]
["Near Value",0,"PM 4 X1"]
["1st Far",26]
["1st. Near",28.279]
["2nd. Far",30]
["2nd Near",29.405000000000001]
["Far Should Read",{"$f":"BuckIn(B10,B11,B12,B13,B14,B15)","v":29.171885873347254}]
["Near Should Read",29.171885873347254]
["LOS",29.171885873347254]
[]
["Undulator "]
[]
[]
["1)","2)","3)","4)"]
[33.652999999999999,33.65,33.652000000000001,33.648000000000003]
[1,1,1,1]
[{"$f":"SUM(A24:A25)","v":34.652999999999999},{"$f":"SUM(B24:B25)","v":34.65},{"$f":"SUM(C24:C25)","v":34.652000000000001},{"$f":"SUM(D24:D25)","v":34.648000000000003}]
[{"$f":"B18","v":29.171885873347254},{"$f":"B18","v":29.171885873347254},{"$f":"B18","v":29.171885873347254},{"$f":"B18","v":29.171885873347254}]
[{"$f":"SUM(A27-A26)","v":-5.481114126652745},{"$f":"SUM(B27-B26)","v":-5.4781141266527449},{"$f":"SUM(C27-C26)","v":-5.4801141266527473},{"$f":"SUM(D27-D26)","v":-5.4761141266527495}]
[]
["5)","6)","7)","8)"]
[23.872,23.875,23.873999999999999,23.87]
[1,1,1,1]
[{"$f":"SUM(A31:A32)","v":24.872},{"$f":"SUM(B31:B32)","v":24.875},{"$f":"SUM(C31:C32)","v":24.873999999999999},{"$f":"SUM(D31:D32)","v":24.87}]
[{"$f":"B18","v":29.171885873347254},{"$f":"B18","v":29.171885873347254},{"$f":"B18","v":29.171885873347254},{"$f":"B18","v":29.171885873347254}]
[{"$f":"SUM(A34-A33)","v":4.2998858733472538},{"$f":"SUM(B34-B33)","v":4.2968858733472537},{"$f":"SUM(C34-C33)","v":4.2978858733472549},{"$f":"SUM(D34-D33)","v":4.3018858733472527}]
[]
[]
[null,"Reference","Block"]
[]
["A)","B)","C)","D)"]
[35.204999999999998,30.673999999999999,28.911999999999999,28.913]
[1,1,1,1]
[{"$f":"SUM(A41:A42)","v":36.204999999999998},{"$f":"SUM(B41:B42)","v":31.673999999999999},{"$f":"SUM(C41:C42)","v":29.911999999999999},{"$f":"SUM(D41:D42)","v":29.913}]
[{"$f":"B18","v":29.171885873347254},{"$f":"B18","v":29.171885873347254},{"$f":"B18","v":29.171885873347254},{"$f":"B18","v":29.171885873347254}]
[{"$f":"SUM(A44-A43)","v":-7.0331141266527446},{"$f":"SUM(B44-B43)","v":-2.5021141266527458},{"$f":"SUM(C44-C43)","v":-0.74011412665274534},{"$f":"SUM(D44-D43)","v":-0.74111412665274656}]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"X\""]
[]
[{"$f":"B18","v":29.171885873347254},"LOS"]
["Undulator",{"$f":"B5","v":"SN 37"}]
["Date:",{"$f":"B6","v":"2011-05-09"}]
["Crew:",{"$f":"B7","v":"JM, BR"}]
[]
[]
[null,"PM4"]
[]
["X1) Buck In","Y1)","Y2)"]
[null,31.77,31.774000000000001]
[null,1,1]
[null,{"$f":"SUM(B64:B65)","v":32.769999999999996},{"$f":"SUM(C64:C65)","v":32.774000000000001}]
[null,{"$f":"B18","v":29.171885873347254},{"$f":"B18","v":29.171885873347254}]
[0,{"$f":"SUM(B67-B66)","v":-3.5981141266527423},{"$f":"SUM(C67-C66)","v":-3.6021141266527472}]
[]
[]
[null,"PM3"]
[]
["X1)","Y1)","Y2)"]
[30.05,33.643999999999998,33.648000000000003]
[1,1,1]
[{"$f":"SUM(A74:A75)","v":31.05},{"$f":"SUM(B74:B75)","v":34.643999999999998},{"$f":"SUM(C74:C75)","v":34.648000000000003}]
[{"$f":"B18","v":29.171885873347254},{"$f":"B18","v":29.171885873347254},{"$f":"B18","v":29.171885873347254}]
[{"$f":"SUM(A77-A76)","v":-1.878114126652747},{"$f":"SUM(B77-B76)","v":-5.4721141266527447},{"$f":"SUM(C77-C76)","v":-5.4761141266527495}]
[]
[]
[null,"PM 2"]
["X1)","Y1)","Y2)"]
[30.05,33.643999999999998,33.646000000000001]
[1,1,1]
[{"$f":"SUM(A83:A84)","v":31.05},{"$f":"SUM(B83:B84)","v":34.643999999999998},{"$f":"SUM(C83:C84)","v":34.646000000000001}]
[{"$f":"B18","v":29.171885873347254},{"$f":"B18","v":29.171885873347254},{"$f":"B18","v":29.171885873347254}]
[{"$f":"SUM(A86-A85)","v":-1.878114126652747},{"$f":"SUM(B86-B85)","v":-5.4721141266527447},{"$f":"SUM(C86-C85)","v":-5.4741141266527471}]
[]
[]
[null,"PM1"]
["X1) Buck In","Y1)","Y2)"]
[null,31.768999999999998,31.766999999999999]
[null,1,1]
[null,{"$f":"SUM(B92:B93)","v":32.768999999999998},{"$f":"SUM(C92:C93)","v":32.766999999999996}]
[null,{"$f":"B18","v":29.171885873347254},{"$f":"B18","v":29.171885873347254}]
[0,{"$f":"SUM(B95-B94)","v":-3.5971141266527447},{"$f":"SUM(C95-C94)","v":-3.5951141266527422}]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\"",null,"PM4Y1","PM1Y1"]
[null,null,8.8360000000000003,8.84]
[null,null,1,1]
["Undulator",{"$f":"B5","v":"SN 37"},{"$f":"SUM(C104+C105)","v":9.8360000000000003},{"$f":"SUM(D104+D105)","v":9.84}]
["Date:",{"$f":"B6","v":"2011-05-09"}]
["Crew:",{"$f":"B7","v":"JM, BR"}]
[null,null,"HI =",{"$f":"AVERAGE(C106,D106)","v":9.838000000000001}]
[]
["PM4",null,"PM3"]
[]
["Y1)","X1)","Y2)","X1"]
[{"$f":"C104","v":8.8360000000000003},12.441000000000001,8.8390000000000004,12.439]
[1,1,1,1]
[{"$f":"SUM(A114:A115)","v":9.8360000000000003},{"$f":"SUM(B114:B115)","v":13.441000000000001},{"$f":"SUM(C114:C115)","v":9.8390000000000004},{"$f":"SUM(D114:D115)","v":13.439}]
[{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001}]
[{"$f":"SUM(A117-A116)","v":2.0000000000006679E-3},{"$f":"SUM(B117-B116)","v":-3.6029999999999998},{"$f":"SUM(C117-C116)","v":-9.9999999999944578E-4},{"$f":"SUM(D117-D116)","v":-3.6009999999999991}]
[]
[]
["PM2",null,"PM1"]
[]
["Y1)","X1)","Y1)","X1)"]
[8.84,12.441000000000001,{"$f":"D104","v":8.84},12.439]
[1,1,1,1]
[{"$f":"SUM(A124:A125)","v":9.84},{"$f":"SUM(B124:B125)","v":13.441000000000001},{"$f":"SUM(C124:C125)","v":9.84},{"$f":"SUM(D124:D125)","v":13.439}]
[{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001}]
[{"$f":"SUM(A127-A126)","v":-1.9999999999988916E-3},{"$f":"SUM(B127-B126)","v":-3.6029999999999998},{"$f":"SUM(C127-C126)","v":-1.9999999999988916E-3},{"$f":"SUM(D127-D126)","v":-3.6009999999999991}]
[]
[]
[]
[]
[]
[]
["Top Of Gage Block",null,"Probe Location in (X)"]
[]
[14.234,null,-5.4640000000000004,"LOS"]
[{"$f":"D109","v":9.838000000000001},null,5.2999999999999999E-2,"Mic To Plus Edge"]
[{"$f":"SUM(A138-A137)","v":-4.395999999999999},null,{"$f":"SUM(C137+C138)","v":-5.4110000000000005}]
[null,null,-3.9E-2]
[null,null,{"$f":"(C139+C140)","v":-5.45},"Probe Location"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["MMF",null,null,"PM Checks"]
[]
["\"Y\""]
[]
["Undulator",{"$f":"B5","v":"SN 37"}]
["Date:",{"$f":"B6","v":"2011-05-09"}]
["Crew:",{"$f":"B7","v":"JM, BR"}]
[]
[]
["HI =",{"$f":"D109","v":9.838000000000001}]
[]
["Undulator"]
[]
["1)","2)","3)","4)"]
[5.3559999999999999,5.3529999999999998,5.36,5.3570000000000002]
[1,1,1,1]
[{"$f":"SUM(A165:A166)","v":6.3559999999999999},{"$f":"SUM(B165:B166)","v":6.3529999999999998},{"$f":"SUM(C165:C166)","v":6.36},{"$f":"SUM(D165:D166)","v":6.3570000000000002}]
[{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001}]
[{"$f":"SUM(A168-A167)","v":3.4820000000000011},{"$f":"SUM(B168-B167)","v":3.4850000000000012},{"$f":"SUM(C168-C167)","v":3.4780000000000006},{"$f":"SUM(D168-D167)","v":3.4810000000000008}]
[]
[]
["5)","6)","7)","8)"]
[12.438000000000001,12.435,12.442,12.442]
[1,1,1,1]
[{"$f":"SUM(A173+A174)","v":13.438000000000001},{"$f":"SUM(B173+B174)","v":13.435},{"$f":"SUM(C173+C174)","v":13.442},{"$f":"SUM(D173+D174)","v":13.442}]
[{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001}]
[{"$f":"SUM(A176-A175)","v":-3.5999999999999996},{"$f":"SUM(B176-B175)","v":-3.5969999999999995},{"$f":"SUM(C176-C175)","v":-3.6039999999999992},{"$f":"SUM(D176-D175)","v":-3.6039999999999992}]
[]
[]
[]
["Reference Block"]
[]
["A)","B)","C)","D)"]
[9.0730000000000004,null,11.22,14.301]
[1,null,1,1]
[{"$f":"SUM(A184+A185)","v":10.073},null,{"$f":"SUM(C184+C185)","v":12.22},{"$f":"SUM(D184+D185)","v":15.301}]
[{"$f":"D109","v":9.838000000000001},null,{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001}]
[{"$f":"SUM(A187-A186)","v":-0.23499999999999943},0,{"$f":"SUM(C187-C186)","v":-2.3819999999999997},{"$f":"SUM(D187-D186)","v":-5.4629999999999992}]
[]
[]
["Flats"]
[]
["U/S",null,"D/S"]
["(+)","(-)","(+)","(-)"]
[8.1180000000000003,8.1189999999999998,8.1210000000000004,8.1219999999999999]
[{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001},{"$f":"D109","v":9.838000000000001}]
[{"$f":"SUM(A196-A195)","v":1.7200000000000006},{"$f":"SUM(B196-B195)","v":1.7190000000000012},{"$f":"SUM(C196-C195)","v":1.7170000000000005},{"$f":"SUM(D196-D195)","v":1.7160000000000011}]

{"sheet":"Sheet2","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",{"$f":"Sheet1!B5","v":"SN 37"}]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-05-09"}]
["Crew"," ",{"$f":"Sheet1!B7","v":"JM, BR"}]
[]
[]
["Undulator Values"]
[]
["TB","Y (in)","Y (mm)",null,null,"TB","X (in)","X (mm)"]
[1,{"$f":"Sheet1!A169","v":3.4820000000000011},{"$f":"B10*25.4","v":88.44280000000002},null,null,5,{"$f":"Sheet1!A35","v":4.2998858733472538},{"$f":"G10*25.4","v":109.21710118302025}]
[2,{"$f":"Sheet1!B169","v":3.4850000000000012},{"$f":"B11*25.4","v":88.51900000000002},null,null,6,{"$f":"Sheet1!B35","v":4.2968858733472537},{"$f":"G11*25.4","v":109.14090118302023}]
[3,{"$f":"Sheet1!C169","v":3.4780000000000006},{"$f":"B12*25.4","v":88.341200000000015},null,null,7,{"$f":"Sheet1!C35","v":4.2978858733472549},{"$f":"G12*25.4","v":109.16630118302027}]
[4,{"$f":"Sheet1!D169","v":3.4810000000000008},{"$f":"B13*25.4","v":88.417400000000015},null,null,8,{"$f":"Sheet1!D35","v":4.3018858733472527},{"$f":"G13*25.4","v":109.26790118302021}]
[]
[]
["PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)",null,"Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y2",{"$f":"Sheet1!C78","v":-5.4761141266527495},{"$f":"Sheet1!C118","v":-9.9999999999944578E-4},{"$f":"B20*25.4","v":-139.09329881697983},{"$f":"C20*25.4","v":-2.539999999998592E-2},null,{"$f":"H10-D21","v":156.92120000000003},{"$f":"C10-E20","v":88.46820000000001}]
["X1",{"$f":"Sheet1!A78","v":-1.878114126652747},{"$f":"Sheet1!D118","v":-3.6009999999999991},{"$f":"B21*25.4","v":-47.704098816979773},{"$f":"C21*25.4","v":-91.465399999999974}]
["Y1",{"$f":"Sheet1!B78","v":-5.4721141266527447},null,{"$f":"B22*25.4","v":-138.99169881697972}]
[]
[null,null,"Downstream",null,"(PM 2)"," ","Checks"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B87","v":-5.4721141266527447},{"$f":"Sheet1!A128","v":-1.9999999999988916E-3},{"$f":"B26*25.4","v":-138.99169881697972},{"$f":"C26*25.4","v":-5.079999999997184E-2},null,{"$f":"H13-D27","v":156.97199999999998},{"$f":"C13-E26","v":88.468199999999982}]
["X1",{"$f":"Sheet1!A87","v":-1.878114126652747},{"$f":"Sheet1!B128","v":-3.6029999999999998},{"$f":"B27*25.4","v":-47.704098816979773},{"$f":"C27*25.4","v":-91.516199999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4741141266527471},"\\",{"$f":"B28*25.4","v":-139.04249881697976}]
[]
[]
[]
[]
[null,"Probe",null,null,null,"Flats"]
[]
[null,"X (in)","X (mm)",null," ","Y(in)","Y(mm)"]
[null,{"$f":"Sheet1!C141","v":-5.45},{"$f":"B36*25.4","v":-138.43},null,"US  +",{"$f":"Sheet1!A197","v":1.7200000000000006},{"$f":"F36*25.4","v":43.688000000000017}]
[null," ",null,null,"US   -",{"$f":"Sheet1!B197","v":1.7190000000000012},{"$f":"F37*25.4","v":43.662600000000026}]
[null,null,null,null,"DS  +",{"$f":"Sheet1!C197","v":1.7170000000000005},{"$f":"F38*25.4","v":43.611800000000009}]
[null,null,"Top of Gage Block",null,"DS   -",{"$f":"Sheet1!D197","v":1.7160000000000011},{"$f":"F39*25.4","v":43.586400000000026}]
[]
[null,"Y (in)","Y (mm)"]
[null,{"$f":"Sheet1!A139","v":-4.395999999999999},{"$f":"B42*25.4","v":-111.65839999999997}]

{"sheet":"Sheet3","index":2,"n_rows":52,"n_cols":9,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
[]
["Undulator"," ",13]
["Date"," ",{"$f":"Sheet1!B6","v":"2011-05-09"}]
["Crew"," ","MR,BR"]
[]
[]
[null,null,"Undulator Values"]
[]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Probe"]
[1,{"$f":"Sheet1!A28","v":-5.481114126652745},{"$f":"Sheet1!A169","v":3.4820000000000011},{"$f":"SUM(B10*25.4)","v":-139.22029881697972},{"$f":"SUM(C10*25.4)","v":88.44280000000002}]
[2,{"$f":"Sheet1!B28","v":-5.4781141266527449},{"$f":"Sheet1!B169","v":3.4850000000000012},{"$f":"SUM(B11*25.4)","v":-139.14409881697972},{"$f":"SUM(C11*25.4)","v":88.51900000000002},null,"X (in)","X (mm)"]
[3,{"$f":"Sheet1!C28","v":-5.4801141266527473},{"$f":"Sheet1!C169","v":3.4780000000000006},-139.19489881697979,88.341200000000015,null,{"$f":"Sheet1!C141","v":-5.45},{"$f":"SUM(G12*25.4)","v":-138.43}]
[4,{"$f":"Sheet1!D28","v":-5.4761141266527495},{"$f":"Sheet1!D169","v":3.4810000000000008},-139.09329881697983,88.417400000000015]
[5,{"$f":"Sheet1!A35","v":4.2998858733472538},{"$f":"Sheet1!A177","v":-3.5999999999999996},109.21710118302025,-91.439999999999984]
[6,{"$f":"Sheet1!B35","v":4.2968858733472537},{"$f":"Sheet1!B177","v":-3.5969999999999995},109.14090118302023,-91.363799999999983,null,"Top of Gage Block"]
[7,{"$f":"Sheet1!C35","v":4.2978858733472549},{"$f":"Sheet1!C177","v":-3.6039999999999992},109.16630118302027,-91.541599999999974]
[8,{"$f":"Sheet1!D35","v":4.3018858733472527},{"$f":"Sheet1!D177","v":-3.6039999999999992},109.26790118302021,-91.541599999999974,null,"Y (in)","Y (mm)"]
[null,null,null,null,null,null,{"$f":"Sheet1!A139","v":-4.395999999999999},{"$f":"SUM(G18*25.4)","v":-111.65839999999997}]
[null,null,"Undulator PM Values"]
[]
[null,null,"Upstream"," ","(PM 3)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"Flats"]
["Y2",{"$f":"Sheet1!A78","v":-1.878114126652747},{"$f":"Sheet1!C118","v":-9.9999999999944578E-4},{"$f":"SUM(B23*25.4)","v":-47.704098816979773},{"$f":"SUM(C23*25.4)","v":-2.539999999998592E-2}]
["X1",{"$f":"Sheet1!A78","v":-1.878114126652747},{"$f":"Sheet1!D118","v":-3.6009999999999991},{"$f":"SUM(B24*25.4)","v":-47.704098816979773},{"$f":"SUM(C24*25.4)","v":-91.465399999999974},null," ","Y(in)","Y(mm)"]
["Y1",{"$f":"Sheet1!B78","v":-5.4721141266527447},null,{"$f":"SUM(B25*25.4)","v":-138.99169881697972},null,null,"US  +",{"$f":"Sheet1!A197","v":1.7200000000000006},{"$f":"SUM(H25*25.4)","v":43.688000000000017}]
[null,null,null,null,null,null,"US   -",{"$f":"Sheet1!B197","v":1.7190000000000012},{"$f":"SUM(H26*25.4)","v":43.662600000000026}]
[null,null,"Downstream",null,"(PM 2)",null,"DS  +",{"$f":"Sheet1!C197","v":1.7170000000000005},{"$f":"SUM(H27*25.4)","v":43.611800000000009}]
["TB","X (in)","Y (in)","X (mm)","Y (mm)",null,"DS   -",{"$f":"Sheet1!D197","v":1.7160000000000011},{"$f":"SUM(H28*25.4)","v":43.586400000000026}]
["Y1",{"$f":"Sheet1!B87","v":-5.4721141266527447},{"$f":"Sheet1!A128","v":-1.9999999999988916E-3},{"$f":"SUM(B29*25.4)","v":-138.99169881697972},{"$f":"SUM(C29*25.4)","v":-5.079999999997184E-2}]
["X1",{"$f":"Sheet1!A87","v":-1.878114126652747},{"$f":"Sheet1!B128","v":-3.6029999999999998},{"$f":"SUM(B30*25.4)","v":-47.704098816979773},{"$f":"SUM(C30*25.4)","v":-91.516199999999984}]
["Y2",{"$f":"Sheet1!C87","v":-5.4741141266527471},null,{"$f":"SUM(B31*25.4)","v":-139.04249881697976}]
[]
[null,null,"Ref. PM Values"]
[]
[null,null,"Upstream"," ","(PM 4)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B68","v":-3.5981141266527423},{"$f":"Sheet1!A118","v":2.0000000000006679E-3},{"$f":"SUM(B37*25.4)","v":-91.392098816979654},{"$f":"SUM(C37*25.4)","v":5.0800000000016964E-2},null,null," "," "]
["X1",0,{"$f":"Sheet1!B118","v":-3.6029999999999998},0,{"$f":"SUM(C38*25.4)","v":-91.516199999999984}]
["Y2",{"$f":"Sheet1!C68","v":-3.6021141266527472},null,{"$f":"SUM(B39*25.4)","v":-91.493698816979773}]
[]
[null,null,"Downstream",null,"(PM 1)"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["Y1",{"$f":"Sheet1!B96","v":-3.5971141266527447},{"$f":"Sheet1!C128","v":-1.9999999999988916E-3},{"$f":"SUM(B43*25.4)","v":-91.366698816979707},{"$f":"SUM(C43*25.4)","v":-5.079999999997184E-2}]
["X1",0,{"$f":"Sheet1!D128","v":-3.6009999999999991},0,{"$f":"SUM(C44*25.4)","v":-91.465399999999974}]
["Y2",{"$f":"Sheet1!C96","v":-3.5951141266527422},null,{"$f":"SUM(B45*25.4)","v":-91.31589881697964}]
[]
[null,null,"Ref. Block"]
["TB","X (in)","Y (in)","X (mm)","Y (mm)"]
["A",{"$f":"Sheet1!A45","v":-7.0331141266527446},{"$f":"Sheet1!A188","v":-0.23499999999999943},{"$f":"SUM(B49*25.4)","v":-178.64109881697971},{"$f":"SUM(C49*25.4)","v":-5.9689999999999852}]
["B",{"$f":"Sheet1!B45","v":-2.5021141266527458},null,{"$f":"SUM(B50*25.4)","v":-63.55369881697974}]
["C",{"$f":"Sheet1!C45","v":-0.74011412665274534},{"$f":"Sheet1!C188","v":-2.3819999999999997},{"$f":"SUM(B51*25.4)","v":-18.79889881697973},{"$f":"SUM(C51*25.4)","v":-60.502799999999986}]
["D",{"$f":"Sheet1!D45","v":-0.74111412665274656},{"$f":"Sheet1!D188","v":-5.4629999999999992},{"$f":"SUM(B52*25.4)","v":-18.824298816979763},{"$f":"SUM(C52*25.4)","v":-138.76019999999997}]