## x+00000_y+000_bscanz
|  |  | Hall Probe measurements | [11 empty] | Coil Measurements
Run 18 | CP+ |  | Corrected |  | Run 19 | HP | Corrected |  | Run 20 | CP- | Corrected |  |  |  | Run 25 | CP+ | Run 28 | Corrected |  |  | Run 27,29 | HP | Corrected |  |  | Run 26 | CP- | Corrected
x-position(mm) | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) |  |  | Raw | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) |  | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm) |  | I1X(G*cm) | I1Y(G*cm) | I1X(G*cm) | I1Y(G*cm)
-24 | 80 | 75.3 | 28 | 185.3 | -260 | -19.6 | -312 | 90.4 | -34.6 | 44.2 | -86.6 | 154.2 | 24 |  | 0.000542 | 542 | -0.000289 | 437 | -69 |  | 0.000171 | -0.000111 | 66 | 109 |  | -0.0002 | -0.000269 | -305 | -49
-22 | 122.5 | 136.6 | 70.5 | 246.6 | -276.4 | -0.9 | -328.4 | 109.1 | -72.1 | 102.9 | -124.1 | 212.9 | 22 |  | 0.000535 | 535 | -0.000333 | 430 | -113 |  | 0.00015 | -0.000129 | 45 | 91 |  | -0.000221 | -0.000309 | -326 | -89
-20 | 101.7 | 164.9 | 49.7 | 274.9 | -284.2 | 19.5 | -336.2 | 129.5 | -112.1 | 136.6 | -164.1 | 246.6 | 20 |  | 0.00054 | 540 | -0.000356 | 435 | -136 |  | 0.000131 | -0.000129 | 26 | 91 |  | -0.000242 | -0.000331 | -347 | -111
-18 | 70.3 | 205.8 | 18.3 | 315.8 | -301.3 | 28.2 | -353.3 | 138.2 | -120.5 | 179.4 | -172.5 | 289.4 | 18 |  | 0.000544 | 544 | -0.00039 | 439 | -170 |  | 0.000122 | -0.000137 | 17 | 83 |  | -0.000258 | -0.000368 | -363 | -148
-16 | 64.6 | 267.3 | 12.6 | 377.3 | -346.9 | 39.9 | -398.9 | 149.9 | -152.5 | 224.1 | -204.5 | 334.1 | 16 |  | 0.000543 | 543 | -0.000422 | 438 | -202 |  | 0.00011 | -0.000126 | 5 | 94 |  | -0.000281 | -0.000394 | -386 | -174
-14 | 93.5 | 362.6 | 41.5 | 472.6 | -319.4 | 73.6 | -371.4 | 183.6 | -184.3 | 322.6 | -236.3 | 432.6 | 14 |  | 0.000548 | 548 | -0.000489 | 443 | -269 |  | 9.63e-05 | -0.000132 | -8.7 | 88 |  | -0.000299 | -0.000446 | -404 | -226
-12 | 114 | 477.1 | 62 | 587.1 | -362.3 | 131.4 | -414.3 | 241.4 | -170.8 | 448.2 | -222.8 | 558.2 | 12 |  | 0.000543 | 543 | -0.00059 | 438 | -370 |  | 8.12e-05 | -0.000151 | -23.8 | 69 |  | -0.000318 | -0.000543 | -423 | -323
-10 | 124.6 | 606.8 | 72.6 | 716.8 | -314.8 | 175.4 | -366.8 | 285.4 | -177.2 | 586.3 | -229.2 | 696.3 | 10 |  | 0.000543 | 543 | -0.00071 | 438 | -490 |  | 6.64e-05 | -0.000181 | -38.6 | 39 |  | -0.000331 | -0.000662 | -436 | -442
-8 | 132.6 | 751.2 | 80.6 | 861.2 | -341.3 | 213.9 | -393.3 | 323.9 | -163.5 | 753.3 | -215.5 | 863.3 | 8 |  | 0.000531 | 531 | -0.000837 | 426 | -617 |  | 6.53e-05 | -0.000197 | -39.7 | 23 |  | -0.000311 | -0.000767 | -416 | -547
-6 | 159.2 | 861.4 | 107.2 | 971.4 | -342.9 | 226 | -394.9 | 336 | -127.8 | 878.1 | -179.8 | 988.1 | 6 |  | 0.000495 | 495 | -0.00085 | 390 | -630 |  | 8.31e-05 | -0.000136 | -21.9 | 84 |  | -0.000266 | -0.000761 | -371 | -541
-4 | 179.4 | 817.1 | 127.4 | 927.1 | -272.8 | 134 | -324.8 | 244 | -23.9 | 861.6 | -75.9 | 971.6 | 4 |  | 0.000431 | 431 | -0.000667 | 326 | -447 |  | 0.000113 | -3.37e-05 | 8 | 186.3 |  | -0.000158 | -0.000556 | -263 | -336
-2 | 205.8 | 533.1 | 153.8 | 643.1 | -292.3 | 34.1 | -344.3 | 144.1 | 34 | 590.7 | -18 | 700.7 | 2 |  | 0.000301 | 301 | -0.000297 | 196 | -77 |  | 0.000134 | 1.12e-06 | 29 | 221.12 |  | -6.98e-06 | -0.000173 | -111.98 | 47
0 | 175 | 94.2 | 123 | 204.2 | -274 | 42.5 | -326 | 152.5 | 161.5 | 147.3 | 109.5 | 257.3 | 0 |  | 0.000115 | 115 | 0.000165 | 10 | 385 |  | 0.000129 | -2.09e-05 | 24 | 199.1 |  | 0.00016 | 0.000263 | 55 | 483
2 | 175.9 | -361.4 | 123.9 | -251.4 | -263.3 | 67.7 | -315.3 | 177.7 | 139.6 | -314.4 | 87.6 | -204.4 | -2 |  | -6.59e-05 | -65.9 | 0.000559 | -170.9 | 779 |  | 0.000117 | -5.96e-06 | 12 | 214.04 |  | 0.000313 | 0.000615 | 208 | 835
4 | 181.7 | -705.2 | 129.7 | -595.2 | -301.1 | -32.1 | -353.1 | 77.9 | 110 | -661.9 | 58 | -551.9 | -4 |  | -0.000196 | -196 | 0.000784 | -301 | 1004 |  | 0.000106 | 8.18e-05 | 1 | 301.8 |  | 0.00041 | 0.000782 | 305 | 1002
6 | 81.3 | -792.2 | 29.3 | -682.2 | -343.2 | -132.3 | -395.2 | -22.3 | 78.7 | -780.7 | 26.7 | -670.7 | -6 |  | -0.000274 | -274 | 0.000791 | -379 | 1011 |  | 0.000103 | 0.000128 | -2 | 348 |  | 0.00045 | 0.000747 | 345 | 967
8 | 16.4 | -712.1 | -35.6 | -602.1 | -334.2 | -150.1 | -386.2 | -40.1 | 55.9 | -697.7 | 3.9 | -587.7 | -8 |  | -0.000319 | -319 | 0.000686 | -424 | 906 |  | 0.000101 | 9.89e-05 | -4 | 318.9 |  | 0.000464 | 0.000592 | 359 | 812
10 | 3.2 | -561.4 | -48.8 | -451.4 | -358.5 | -107.8 | -410.5 | 2.2 | 44.4 | -563.6 | -7.6 | -453.6 | -10 |  | -0.000314 | -314 | 0.000536 | -419 | 756 |  | 0.000104 | 6.88e-05 | -1 | 288.8 |  | 0.000473 | 0.000429 | 368 | 649
12 | -26.4 | -421.2 | -78.4 | -311.2 | -319.4 | -71 | -371.4 | 39 | 18.5 | -426.4 | -33.5 | -316.4 | -12 |  | -0.000307 | -307 | 0.000387 | -412 | 607 |  | 0.000104 | 1.2e-05 | -1 | 232 |  | 0.000474 | 0.000273 | 369 | 493
14 | -61.2 | -336 | -113.2 | -226 | -324.3 | -49.5 | -376.3 | 60.5 | 23.7 | -342.6 | -28.3 | -232.6 | -14 |  | -0.000307 | -307 | 0.000273 | -412 | 493 |  | 0.000111 | -2.94e-05 | 6 | 190.6 |  | 0.000478 | 0.000165 | 373 | 385
16 | -90.1 | -282.9 | -142.1 | -172.9 | -306.2 | -34.8 | -358.2 | 75.2 | 44.8 | -298.2 | -7.2 | -188.2 | -16 |  | -0.00029 | -290 | 0.000198 | -395 | 418 |  | 0.000118 | -5.05e-05 | 13 | 169.5 |  | 0.00049 | 9.03e-05 | 385 | 310.3
18 | -57.8 | -241.1 | -109.8 | -131.1 | -290.9 | -30 | -342.9 | 80 | 77.1 | -260.8 | 25.1 | -150.8 | -18 |  | -0.000277 | -277 | 0.000144 | -382 | 364 |  | 0.000125 | -5.91e-05 | 20 | 160.9 |  | 0.000501 | 4.26e-05 | 396 | 262.6
20 | -64.2 | -216.4 | -116.2 | -106.4 | -318.9 | -21.6 | -370.9 | 88.4 | 71.1 | -223.4 | 19.1 | -113.4 | -20 |  | -0.000253 | -253 | 0.000102 | -358 | 322 |  | 0.00014 | -5.47e-05 | 35 | 165.3 |  | 0.000516 | 1.43e-05 | 411 | 234.3
22 | -60.8 | -164.9 | -112.8 | -54.9 | -263.4 | -4.5 | -315.4 | 105.5 | 96.6 | -178.3 | 44.6 | -68.3 | -22 |  | -0.000238 | -238 | 4.42e-05 | -343 | 264.2 |  | 0.000147 | -7.94e-05 | 42 | 140.6 |  | 0.000525 | -3.13e-05 | 420 | 188.7
24 | -63.4 | -126.8 | -115.4 | -16.8 | -290.1 | 35.4 | -342.1 | 145.4 | 89.2 | -148.1 | 37.2 | -38.1 | -24 |  | -0.000235 | -235 | 1.99e-06 | -340 | 221.99 |  | 0.000145 | -9.79e-05 | 40 | 122.1 |  | 0.000525 | -7.26e-05 | 420 | 147.4
PW measurements
[16 empty] | x=0,y=0 |  | x=10,y=0 |  | x=-10,y=0 |  | x=0,y=1 |  | x=10,y=1 |  | x=-10,y=1 |  | x=10,y=-1 |  | x=-5,y=0 |  | x=+5,y=0
[15 empty] | Mode | I1X | I1Y | I1X | I1Y | I1X | I1Y | I1X | I1Y | I1X | I1Y | I1X | I1Y | I1X | I1Y | I1X | I1Y | I1X | I1Y
[15 empty] | HP | 76 | 64 | 53 | 307 | -18 | -180 | 80 | 66 | -24 | 173 | 0 | 0 | 124 | 355 | 0 | -399 | 89 | 299
[15 empty] | CP- | 159 | 118 | 0 | 307 | 0 | -360 | 238 | 173 | -119 | 346 | -68 | -196 | 173 | 375 | 26 | -558 | 87 | 579
[15 empty] | CP+ | 68 | 61 | 30 | 321 | 79 | -409 | 159 | 125 | -90 | 562 | -24 | -281 | 145 | 397 | 55 | -558 | 60 | 537
[15 empty] | VP+ | 162 | 281 | 68 | 592 | 0 | -716 | 476 | 211 | -179 | 614 | -95 | -562 | 269 | 818 | 0 | -930 | 89 | 930
[16 empty] | Corrected for Earth field |  |  | I1X = 250*0.2 = +50G-cm |  |  | I1Y = 250*-0.4 = -100G-cm
[15 empty] | HP | 26 | 179.36 | 3 | 480.68 | -68 | -123.2 | 30 | 181.84 | -74 | 314.52 | -50 | 100 | 74 | 540.2 | -50 | -299 | 39 | 399
[15 empty] | CP- | 109 | 246.32 | -50 | 480.68 | -50 | -346.4 | 188 | 314.52 | -169 | 529.04 | -118 | -143.04 | 123 | 565 | -24 | -458 | 37 | 679
[15 empty] | CP+ | 18 | 175.64 | -20 | 498.04 | 29 | -407.16 | 109 | 255 | -140 | 796.88 | -74 | -248.44 | 95 | 592.28 | 5 | -458 | 10 | 637
[15 empty] | VP+ | 112 | 448.44 | 18 | 834.08 | -50 | -787.84 | 426 | 361.64 | -229 | 861.36 | -145 | -596.88 | 219 | 1114.32 | -50 | -830 | 39 | 1030
[25 empty] | HP |  | CP+ |  | CP-
[23 empty] | -10 | -68 | -123 | 29 | -407 | -50 | -346
[23 empty] | -5 | -50 | -299 | 5 | -458 | -24 | -458
[23 empty] | 0 | 26 | 179 | 18 | 175 | 109 | 246
[23 empty] | 5 | 39 | 399 | 10 | 637 | 37 | 679
[23 empty] | 10 | 3 | 481 | -20 | 498 | -50 | 481
DanFysik Data
[15 empty] | HP |  | CP+ |  | CP-
[15 empty] | I1X | I1Y | I1X | I1Y | I1X | I1Y
[14 empty] | -25 | 15.916 | 81.448 | 22.3995 | -50.6055 | 17.079 | -80.476
[14 empty] | -24 | 15.0975 | 62.7465 | 24.869 | -75.9625 | 16.019 | -105.9755
[14 empty] | -23 | 11.937 | 47.497 | 27.6745 | -99.405 | 12.049 | -129.6085
[14 empty] | -22 | 7.186 | 34.3545 | 27.1695 | -117.7735 | 5.958 | -149.377
[14 empty] | -21 | 2.2815 | 24.0395 | 25.4845 | -137.9125 | 0.2435 | -169.628
[14 empty] | -20 | -2.5565 | 15.3805 | 25.62 | -155.87 | -5.702 | -188.2655
[14 empty] | -19 | -5.917 | 7.216 | 26.5425 | -173.8125 | -10.553 | -206.1185
[14 empty] | -18 | -8.4185 | 2.34 | 28.649 | -192.1325 | -14.4525 | -223.9025
[14 empty] | -17 | -9.5035 | -1.481 | 31.5645 | -209.192 | -17.194 | -240.454
[14 empty] | -16 | -12.091 | -5.0315 | 34.5385 | -229.026 | -19.9195 | -259.7545
[14 empty] | -15 | -15.9665 | -8.626 | 37.48 | -252.182 | -23.1405 | -282.129
[14 empty] | -14 | -19.4625 | -15.342 | 39.3405 | -279.281 | -27.0885 | -307.067
[14 empty] | -13 | -25.8595 | -24.883 | 38.8625 | -315 | -32.4315 | -341.0035
[14 empty] | -12 | -33.1615 | -38.277 | 37.914 | -357.974 | -39.7395 | -382.713
[14 empty] | -11 | -41.5765 | -56.794 | 32.581 | -410.4065 | -47.629 | -433.1645
[14 empty] | -10 | -50.2275 | -77.587 | 26.717 | -473.5755 | -54.0555 | -495.576
[14 empty] | -9 | -57.0695 | -98.2095 | 22.2845 | -538.674 | -57.9335 | -555.9795
[14 empty] | -8 | -60.7775 | -113.428 | 16.944 | -602.464 | -57.4495 | -614.8005
[14 empty] | -7 | -60.3555 | -119.903 | 14.8785 | -657.4485 | -51.5745 | -662.883
[14 empty] | -6 | -55.7005 | -109.6595 | 12.0625 | -685.8065 | -40.5925 | -685.694
[14 empty] | -5 | -47.188 | -82.7115 | 9.6085 | -676.585 | -23.0175 | -667.914
[14 empty] | -4 | -35.066 | -43.88 | -2.3315 | -619.2855 | -2.954 | -601.62
[14 empty] | -3 | -23.9625 | -1.308 | -2.8815 | -517.4325 | 19.8565 | -488.2825
[14 empty] | -2 | -14.05 | 31.582 | -24.017 | -360.9 | 39.0565 | -316.717
[14 empty] | -1 | -9.5685 | 52.8735 | -33.809 | -178.813 | 46.2645 | -128.32
[14 empty] | 0 | -15.9125 | 65.024 | -44.808 | 40.813 | 40.593 | 91.3845
[14 empty] | 1 | -27.945 | 72.445 | -69.908 | 263.02 | 24.1685 | 319.93
[14 empty] | 2 | -34.848 | 89.7385 | -58.675 | 455.937 | 7.508 | 509.4795
[14 empty] | 3 | -39.401 | 119.0465 | -59.221 | 631.159 | -10.7095 | 684.4545
[14 empty] | 4 | -35.7375 | 158.176 | -49.8995 | 760.3545 | -24.211 | 804.6895
[14 empty] | 5 | -29.347 | 202.6115 | -37.557 | 837.5065 | -30.2575 | 871.0735
[14 empty] | 6 | -25.086 | 240.7335 | -31.1455 | 870.9995 | -34.5295 | 893.5445
[14 empty] | 7 | -18.6635 | 265.052 | -29.5865 | 860.8795 | -34.888 | 874.6975
[14 empty] | 8 | -13.611 | 274.351 | -26.5125 | 820.754 | -32.899 | 824.6165
[14 empty] | 9 | -9.676 | 269.5445 | -25.072 | 760.4245 | -29.998 | 754.487
[14 empty] | 10 | -7.394 | 257.771 | -28.3525 | 699.3185 | -28.301 | 686.082
[14 empty] | 11 | -4.824 | 238.868 | -27.962 | 629.9975 | -25.2705 | 611.728
[14 empty] | 12 | -3.1565 | 218.6555 | -27.5185 | 565.5585 | -20.598 | 539.908
[14 empty] | 13 | -0.668 | 194.1145 | -30.4255 | 503.578 | -16.509 | 477.306
[14 empty] | 14 | 4.1675 | 173.2685 | -24.038 | 444.7755 | -8.8735 | 413.3355
[14 empty] | 15 | 9.037 | 152.1415 | -21.2375 | 394.155 | -0.589 | 361.8885
[14 empty] | 16 | 15.058 | 133.7995 | -17.561 | 350.9825 | 8.367 | 317.0235
[14 empty] | 17 | 23.24 | 119.42 | -6.0125 | 310.616 | 20.618 | 277.1535
[14 empty] | 18 | 31.8925 | 108.4355 | 0.029 | 278.8625 | 32.197 | 247.184
[14 empty] | 19 | 43.5385 | 100.0955 | 10.969 | 250.8355 | 45.3005 | 220.75
[14 empty] | 20 | 55.9045 | 93.6445 | 25.9555 | 226.3965 | 60.8855 | 198.4295
[14 empty] | 21 | 65.1495 | 86.97 | 35.55 | 205.8065 | 72.5645 | 179.846
[14 empty] | 22 | 74.496 | 78.2785 | 46.126 | 182.8735 | 83.277 | 159.167
[14 empty] | 23 | 79.4025 | 68.4525 | 54.4275 | 161.5485 | 89.6585 | 139.782
[14 empty] | 24 | 81.9425 | 55.443 | 57.1325 | 138.5095 | 93.7145 | 120.073
[14 empty] | 25 | 83.8825 | 41.951 | 61.533 | 114.1075 | 97.393 | 98.1065