[image: image1.jpg]I / . I C' Linac Coherent Light Source Stanford Linear Accelerator Center
e —— e = 2 =
LA

Stanford Synchrotron Rediation Laboratory







[image: image7.png]



	LCLS ‘Q150kG’ LTU QUADRUPOLE MAGNET

	FIDUCIALIZATION REPORT


	




	Inspector:
	Keith Caban

	Responsible Engineer:
	Carl Rago

	Date:
	Monday, October 15, 2007

	Work Order/Charge No.:
	9242609

	Serial Number:
	SLAC – 002006 / SN 006

	URL of Fiducial Report:
	\\Web002\www-group\met\Quality\FIDUCIAL REPORTS\LCLS LTU Q150kG QUADS\002006.pdf


	Part Set-up – Coordinate System Set-up


	Spatial Alignment


· Geometric axis of the poles of the magnet.
	Planar Alignment


· Plane on top of magnet where tooling ball sockets are welded to.
	“Z” Zero


· Mid-plane of the magnet (middle of upstream and downstream ends).
	“X” & “Y” Zero


· Geometric axis of the poles of the magnet.
	[image: image3.jpg]



Front View
	


Side View


	Tooling Ball Measurements/Locations


[image: image5.jpg]3, overson tesla
* o’ incorporated
/& _[@~

LCLS LTU Quadrupole Magnet
Serial #: 001

SLAC Pog# 62736

Magnet Weight: 6374

Passed Mechanical

Passed Elecirical

_Made In U.S.A.

Mg g




Tooling Balls Measured with ½” Tooling Ball Socket

	Tooling Ball
	FORM
	Sph. Dia.
	X
	Y
	Z

	TB 1
	0.00035
	0.49848
	2.64860
	10.21129
	5.60735

	TB 2
	0.00024
	0.49764
	2.64866
	10.20951
	-5.60629

	TB 3
	0.00048
	0.49723
	-2.66251
	10.20707
	-5.60773

	TB 4
	0.00018
	0.49889
	-2.66370
	10.20878
	5.60556


Tooling Ball Adapter Cylinder Projected 1” Offset to the Tooling Ball Adapter Plane
	Tooling Ball
	Cyl. Dia.
	X
	Y
	Z

	Proj. TB 1
	0.25009
	2.64715
	10.21005
	5.60806

	Proj. TB 2
	0.25029
	2.64716
	10.20808
	-5.60657

	Proj. TB 3
	0.25030
	-2.66365
	10.20504
	-5.60874

	Proj. TB 4
	0.25008
	-2.66496
	10.20746
	5.65047


.
Pole Data

*Data looking from Downstream End

[image: image6.jpg]



	Side
	Pole Diameter
	Pole Dist A-C
	Pole Dist B-D
	Gap 1
	Gap 2
	Gap 3
	Gap 4

	Downstream End (+Z)
	1.25806
	1.25805
	1.25875
	0.43509
	0.43570
	0.42863
	0.43277

	Upstream End (-Z)
	1.25867
	1.25876
	1.25870
	0.43549
	0.43258
	0.43003
	0.43618





























+Y





+Z








+Y





+X











+Z





+X




















