[image: image1.jpg]I / . I C' Linac Coherent Light Source Stanford Linear Accelerator Center
e —— e = 2 =
LA

Stanford Synchrotron Rediation Laboratory




[image: image5.jpg]



[image: image6.jpg]




[image: image8.png]



	LCLS ‘0.91Q17.72’ LTU Quadrupole Magnet

	FIDUCIALIZATION REPORT


	[image: image2.jpg]





	Inspector:
	Keith Caban

	Responsible Engineer:
	Carl Rago

	Date:
	Monday, February 27, 2007

	Work Order/Charge No.:
	21699-1 

	Serial Number:
	000306

	URL of Fiducial Report:
	\\Web002\www-group\met\Quality\FIDUCIAL REPORTS\LCLS LTU QUAD\000306.pdf


	Part Set-up – Coordinate System Set-up


	Spatial Alignment


· Geometric axis of the poles of the magnet.
	Planar Alignment


· Clocking plane where TB A,C, D, & E reside.
	“Z” Zero


· Mid-plane of the magnet (pole planes on each end).
	“X” & “Y” Zero


· Geometric axis of the poles of the magnet.
	[image: image7.jpg]R

RO B C > 0 @





[image: image3.jpg]



Front View
	
[image: image4.jpg]



Side View


	Tooling Ball Measurements/Locations


Top of magnet; view from “+Y”



	Tooling Ball
	FORM
	DIAMETER
	X
	Y
	Z

	TB A
	0.00010
	0.49742
	5.06074
	3.67454
	-8.03187

	TB B
	0.00044
	0.49725
	-1.31956
	7.30870
	-8.02764

	TB C
	0.00022
	0.49751
	-4.94951
	3.69015
	-8.02944

	TB D
	0.00017
	0.49767
	-5.24465
	3.69162
	6.30054

	TB E
	0.00026
	0.49917
	-1.30606
	7.30512
	8.04773

	TB F
	0.00007
	0.49922
	5.26192
	3.67317
	6.30941


.
Pole Distances


	Pole
	-Z side
	+Z side
	

	A-C
	0.90758
	0.90711
	0.00057

	B-D
	0.90779
	0.90862
	0.00083






























+Y





+Z








+Y





+X





+X





+Z





D





C





B





A





��





�








