   


06/19/2007                           

Chemical Storage Base Information

The Chemical storage cabinet and base is located in the alignment lab in Building 026. The original cabinet needed to be replaced due to the fact it did not meet the standard safety code of chemical storage units. There were two reasons as to why it was not satisfactory due to the fact we had drilled holes into the sides of the original cabinet to secure it to the bottom angle iron. This procedure compromised the “spill-proofing” of the cabinet. The second reason was due to the handles on the doors which were not self locking. 

We measured the perimeter of the base of the new cabinet and purchased the required 2 inch aluminum angle iron from the SLAC metal stores and cut to size. The welding shop then welded the pieces together to fit the bottom perimeter. We then drilled two 1 ¼ inch holes, one on each side (See included photo). We borrowed MFD’s wire binder and ran the .400” inch steel binding wrap around the side and top of the cabinet for a secure fit. Last we drilled 4 ½ Hilti redheads into the floor and attached the unit as a whole to the floor.  

[image: image1.jpg]400 * Steel Band

¥
E |
3
3
3
1
1
3
1
:
i
3
1
3
3
3
1

1147 Dlamsﬂdﬁ‘?\
F 4X10" Bolts P

Hiltiifito Floor G

.-
2inak™ ®_~
b = 2 inch Aluminum
Angle Tron -

=
angle iron




 

