## Slide 1: HXU Integral Change Measured by Flexible PC Board

## Slide 2: Flexible Board Design
Each board measures 36 poles. 1 m in length
Material: Kapton
Thickness 125 mm, 100 mm Space/Trace
Layers: 2
Copper Weight: 0.5 oz
Cost: 4 Boards = $2828

## Slide 3: Flexible Board Mounted

## Slide 4: Measurements over 3 weekends
Measure integral voltage as gap is moved from 7.3 mm to 11.3 mm.
Make 20 Measurements every 2 hours. Average these for each data point.

## Slide 5: Measurement Results