## Int Str and Power
Current | PTF | Integrated Strength | % Int Str to Int Str at 14 A | % Current | % Power | Resistance with Ambient at 30 C | Ratio 130% / Resistance with Ambient at 30 C | % Resistance to 14 Amps | Inner Coil Temp
(A) | (T) | (T-m) |  |  |  | Ohms |  |  | C
14 | 1.378 | 0.47606 | 100% | 100% | 100% | 1.743 | 104.9% | 100% | 100.72
14.5 | 1.407 | 0.48658 | 102.2% | 103.6% | 107.3% | 1.7562 | 104.1% | 100.8% | 112.04
15 | 1.435 | 0.49471 | 103.9% | 107.1% | 114.8% | 1.7839 | 102.4% | 102.3% | 116.45 | I've
15.5 | 1.456 | 0.50262 | 105.6% | 110.7% | 122.6% | 1.7962 | 101.7% | 103.1% | 121.75
16 | 1.479 | 0.50962 | 107.1% | 114.3% | 130.6% | 1.8359 | 99.55% | 105.3% | 132.01
[6 empty] | 1.8276 | 130% of Resistance at 22.2 C (72 F) (Ohms)

## 14 Amp
Current | Run | Ambient | Inner Coil | Avg Coil | Resistance @ Lab Ambient | 30 - Ambient | R with Ambient at 30 | Ratio to 130% Resistance
14 | 2 | 22.51 | 100.72 | 73.407 | 1.6931 | 7.49 | 1.743 | 104.9%
[7 empty] | 1.8276 | 130% Resistance

## 14.5 Amp
Current | Run | Ambient | Inner Coil | Avg Coil | Resistance @ Lab Ambient | 30 - Ambient | R with Ambient at 30 | Ratio to 130% Resistance
14.5 | 15 | 22.57 | 112.04 | 77.795 | 1.7064 | 7.43 | 1.7562 | 104.1%
[7 empty] | 1.8276 | 130% Resistance

## 15 Amp
Current | Run | Ambient | Inner Coil | Avg Coil | Resistance @ Lab Ambient | 30 - Ambient | R with Ambient at 30 | Ratio to 130% Resistance
15 | 3 | 23.58 | 116.45 | 84.168 | 1.7528 | 6.42 | 1.797 | 101.7% | Fan blows from bottom of magnet
15 | 16 | 20.96 | 117.99 | 80.785 | 1.7227 | 9.04 | 1.7839 | 102.4% | Fan Blows form side of magnet
[7 empty] | 1.8276 | 130% Resistance

## 15.5 Amp
Current | Run | Ambient | Inner Coil | Avg Coil | Resistance @ Lab Ambient | 30 - Ambient | R with Ambient at 30 | Ratio to 130% Resistance
15.5 | 8 | 23.9 | 121.75 | 84.6 | 1.7542 | 6.1 | 1.7962 | 101.7%
[7 empty] | 1.8276 | 130% Resistance

## 16 Amp
Current | Run | Ambient | Inner Coil | Avg Coil | Resistance @ Lab Ambient | 30 - Ambient | R with Ambient at 30 | Ratio to 130% Resistance
16 | 4 | 24.68 | 130.03 | 88.795 | 1.8028 | 5.32 | 1.8405 | 99.3%
16 | 9 | 22.2 | 132.01 | 90.237 | 1.7813 | 7.8 | 1.8359 | 99.55%
[7 empty] | 1.8382 | Avg
[7 empty] | 1.8276 | 130% Resistance