## Slide 1
engineering type: 1.085Q4.31
SLAC drawing number: SA-902-675-01
SLAC magnet bar-code: 4244
vendor serial number: QE040
when measured: 09-Oct-2020 11:44:24
when analyzed: 15-Oct-2020
MAD assignment: N/A (test article)
110 A unipolar standardize
IMMO = [0,+110]
BMMO=[+0.2007, +62.2512]

## Slide 2
engineering type: 1.085Q4.31
SLAC drawing number: SA-902-675-01
SLAC magnet bar-code: 4244
vendor serial number: QE040
when measured: 18-Jan-2022 11:57:53
when analyzed: 19-Jan-2022
MAD assignment: N/A (test article)
30 A bipolar standardize
IMMO = [-30,+30]
BMMO=[-16.9854, +17.0983]

## Slide 3
engineering type: 1.085Q4.31
SLAC drawing number: SA-902-675-01
SLAC magnet bar-code: 4244
vendor serial number: QE040
when measured: 18-Jan-2022 16:30:25
when analyzed: 19-Jan-2022
MAD assignment: N/A (test article)
12 A bipolar standardize
IMMO = [-12,+12]
BMMO=[-6.7492,+6.7855]

## Slide 4
engineering type: 1.085Q4.31
SLAC drawing number: SA-902-675-01
SLAC magnet bar-code: 4244
vendor serial number: QE040
when measured: 23-Feb-2022 09:33:51
when analyzed: 24-Feb-2022
MAD assignment: N/A (test article)
30 A unipolar standardize
IMMO = [0,+30]
BMMO=[+0.1330,+17.0926]

## Slide 5
standardize | +20 A | +50 A | +80 A | +110 A |  | 
110 A unipolar (hardat.ru1) | 0.05627324 | 0.05790121 | 0.05694659 | 0.05442433 |  | 
standardize | +30 A |  |  |  |  | 
30 A bipolar (hardat.ru2) | 0.06017015 |  |  |  |  | 
standardize | +12 A |  |  |  |  | 
12 A bipolar (hardat.ru4) | 0.06117774 |  |  |  |  | 
Sextupole Harmonic (rotating coil, R= 9.347 mm): BL3/BL2 (%)
standardize | +12 A | +30 A |  |  |  | 
30 A unipolar (hardat.ru5) | 0.04413240 | 0.04506572 |  |  |  |