## integrals_table
SLAC | Magnetic | Measurements
Date: | 2022-11-01
Time: | 19:12
Project: | LCLS-II-HE
Device | Type: | Undulator
Data | Type:
Serial | Number: | HE_SXU_000
DATASET | Number: | 2
Tuning | Stage: | Tuning
Run | Number: | 1
Measurement | Type: | Long | Coil
Operator: | YL
Comment: | final; | after | transportation | test
Str.Wire measurements
[8 empty] | Coil Measurements |  |  |  |  | VibW measirements |  |  |  | Avr. of 2 |  | Avr. of 3 |  |  | Next day |  |  | new parameters |  |  | RMS
| Gap | Position | I1X | I2X | I1Y | I2Y
--------------------------------------------------------------------------- | [6 empty] | Gap | I1X | I1Y |  |  |  | Gap | I1X | I1Y | Gap | I1X | I1Y | I1X | I1Y |  | I1X | I1Y |  | I1X | I1Y |  | I1X | I1Y
| 7.2 | 0 | -2.536e-05 | 6.509e-06 | -1.3862e-05 | -5.1754e-05 | 7.2 | -2.4714e-05 | -1.23e-05 | -24.7142 | -12.2998 |  | 7.2 | -10 | 44 | 7.2 | 3 | -17 | 1 | -18 |  | 2 | -16 |  | 2 | -18 |  | 0.8165 | 0.95743
| 7.2 | 0 | -2.5126e-05 | 1.066e-06 | -1.3201e-05 | -4.8958e-05 | 8 | -2.3935e-05 | 5.371e-06 | -23.9346 | 5.371 |  | 10 | 5 | 61 | 8 | 3 | 1 | 3 | 2 |  | 1 | 2 |  | 3 | 1 |  | 1 | 0.57735
| 7.2 | 0 | -2.4995e-05 | 5.738e-06 | -1.1736e-05 | -6.1083e-05 | 9 | -1.7818e-05 | 3.0379e-05 | -17.8184 | 30.3788 |  | 16 | 28 | 45 | 10 | 23 | 26 | 20 | 27 |  | 23 | 26 |  | 21 | 24 |  | 1.5 | 1.2583
| 7.2 | 0 | -2.3913e-05 | -2.521e-06 | -1.2277e-05 | -4.9235e-05 | 10 | -9.8248e-06 | 3.5768e-05 | -9.8248 | 35.768 |  | 25 | 36 | 25 | 16 | 52 | 22 | 50 | 21 |  | 52 | 22 |  | 52 | 19 |  | 1 | 1.4142
| 7.2 | 0 | -2.4177e-05 | 9.382e-06 | -1.0423e-05 | -5.1673e-05 | 11 | -2.0366e-06 | 3.5191e-05 | -2.0366 | 35.191 |  | 33 | 26 | 15 | 20 | 59 | 16 | 58 | 17 |  | 60 | 18 |  | 60 | 16 |  | 0.95743 | 0.95743
[7 empty] | 12 | 2.6988e-06 | 3.4076e-05 | 2.6988 | 34.0758 |  | 100 | -37 | -6 | 25 | 58 | 12 | 61 | 12 |  | 59 | 11 |  | 62 | 11 |  | 1.8257 | 0.57735
| 8 | 0 | -2.4464e-05 | 1.9736e-05 | 5.922e-06 | -2.9673e-05 | 13 | 1.0044e-05 | 3.3361e-05 | 10.044 | 33.3612 |  |  |  |  | 33 | 48 | 4 | 46 | 5 |  | 49 | 5 |  | 47 | 3 |  | 1.291 | 0.95743
| 8 | 0 | -2.159e-05 | 1.3286e-05 | 3.83e-06 | -2.5347e-05 | 14 | 1.4305e-05 | 3.1028e-05 | 14.3048 | 31.028 |  |  |  |  | 100 | -26 | -15 | -29 | -16 |  | -28 | -17 |  | -27 | -16 |  | 1.291 | 0.8165
| 8 | 0 | -2.4241e-05 | 1.8676e-05 | 6.071e-06 | -1.9909e-05 | 16 | 2.2377e-05 | 2.7456e-05 | 22.3772 | 27.456 | [15 empty] | Avrg.= | 1.2102 | 0.9395
| 8 | 0 | -2.5132e-05 | 1.9185e-05 | 4.695e-06 | -2.5061e-05 | 18 | 2.7395e-05 | 2.3205e-05 | 27.3954 | 23.205
| 8 | 0 | -2.4246e-05 | 1.1224e-05 | 6.337e-06 | -3.1028e-05 | 20 | 3.1273e-05 | 2.2396e-05 | 31.2726 | 22.396 | [8 empty] | Wire moved Y=+0.5mm |  |  |  | Initial |  | Final |  | HH By+ |  | BP By |  | HH By- | Run 3 | BP Bx |  | HH Bx- |  | HH Bx+ |  | Final | Pl.Covers | Average |  | RMS
[7 empty] | 22 | 3.2724e-05 | 1.8021e-05 | 32.7244 | 18.0212 | [7 empty] | Gap | I1X | I1Y |  | Gap | I1X | I1Y | I1X | I1Y | I1X | I1Y | I1X | I1Y | I1X | I1Y | I1X | I1Y | I1X | I1Y | I1X | I1Y | I1X | I1Y | I1X | I1Y | I1X | I1Y
| 9 | 0 | -1.9362e-05 | 2.1953e-05 | 3.1448e-05 | -2.1442e-05 | 24 | 3.4046e-05 | 1.6443e-05 | 34.0458 | 16.4432 | [7 empty] | 7.2 | 5 | -18 |  | 7.2 | -4 | -37 | 0 | -34 | -2 | -42 | 1 | -32 | 5 | -35 | -4 | -34 | -1 | -39 | -3 | -31 | 2 | -37 | -0.66667 | -35.6667 | 3.0237 | 3.6645
| 9 | 0 | -2.0482e-05 | 1.6261e-05 | 3.1061e-05 | -1.2301e-05 | 27 | 3.24e-05 | 1.3349e-05 | 32.4002 | 13.3488 | [7 empty] | 8 | 4 | 2 |  | 9 | 6 | 0 | 4 | 2 | 9 | 0 | 9 | 3 | 16 | 0 | 7 | 11 | 7 | -3 | 7 | 3 | 8 | 0 | 8.1111 | 1.7778 | 3.5632 | 4.1404
| 9 | 0 | -1.6295e-05 | 2.1537e-05 | 3.0744e-05 | -4.398e-06 | 30 | 2.6346e-05 | 9.3986e-06 | 26.3458 | 9.3986 | [7 empty] | 10 | 24 | 24 |  | 11 | 24 | 2 | 23 | 8 | 24 | 0 | 21 | 7 | 22 | 11 | 21 | 13 | 23 | 6 | 22 | 6 | 21 | 5 | 22.3333 | 6.4444 | 1.1952 | 4.2741
| 9 | 0 | -1.6887e-05 | 2.0031e-05 | 2.82e-05 | -1.1264e-05 | 33 | 2.277e-05 | 5.7384e-06 | 22.7704 | 5.7384 | [7 empty] | 16 | 50 | 22 |  | 13 | 34 | 3 | 31 | 6 | 34 | 3 | 33 | 6 | 33 | 9 | 34 | 10 | 34 | 2 | 31 | 5 | 34 | 6 | 33.1111 | 5.5556 | 1.3093 | 2.8785
| 9 | 0 | -1.6066e-05 | 1.8901e-05 | 3.0441e-05 | -1.8736e-05 | 40 | 9.0852e-06 | 1.2562e-06 | 9.0852 | 1.2562 | [7 empty] | 20 | 60 | 18 |  | 16 | 45 | -2 | 41 | 2 | 45 | -3 | 44 | 4 | 46 | 3 | 46 | 5 | 45 | 0 | 46 | 2 | 45 | 2 | 44.7778 | 1.4444 | 1.669 | 2.8253
[7 empty] | 50 | -9.1948e-06 | -5.418e-06 | -9.1948 | -5.418 | [7 empty] | 25 | 61 | 10 |  | 20 | 52 | -8 | 56 | -6 | 53 | -10 | 51 | -5 | 55 | -4 | 51 | -2 | 50 | -10 | 52 | -1 | 52 | -8 | 52.4444 | -6 | 2.0702 | 3.4122
| 10 | 0 | -1.0427e-05 | 2.3262e-05 | 3.4847e-05 | -2.2003e-05 | 60 | -2.5329e-05 | -1.0616e-05 | -25.3288 | -10.616 | [7 empty] | 33 | 49 | 7 |  | 24 | 54 | -10 | 48 | -9 | 53 | -14 | 53 | -9 | 52 | -5 | 53 | -7 | 53 | -10 | 53 | -8 | 51 | -10 | 52.2222 | -9.1111 | 1.8468 | 2.6186
| 10 | 0 | -8.828e-06 | 2.4687e-05 | 3.467e-05 | -2.4239e-05 | 80 | -4.1561e-05 | -2.0008e-05 | -41.5612 | -20.0078 | [7 empty] | 100 |  |  |  | 28 | 48 | -15 | 48 | -15 | 49 | -17 | 53 | -11 | 51 | -16 | 48 | -9 | 51 | -15 | 48 | -9 | 49 | -15 | 49.4444 | -13.5556 | 1.9272 | 3.2043
| 10 | 0 | -9.857e-06 | 2.3268e-05 | 3.7293e-05 | -1.9246e-05 | 100 | -4.3445e-05 | -2.5678e-05 | -43.4454 | -25.678 | [11 empty] | 33 | 43 | -21 | 46 | -18 | 43 | -20 | 42 | -14 | 37 | -12 | 41 | -14 | 43 | -19 | 39 | -15 | 40 | -17 | 41.5556 | -16.6667 | 2.7646 | 3.2923
| 10 | 0 | -1.1269e-05 | 2.9099e-05 | 3.3835e-05 | -1.7261e-05 | 120 | -4.0588e-05 | -3.0003e-05 | -40.5882 | -30.0028 | [11 empty] | 40 | 24 | -24 | 27 | -18 | 26 | -24 | 26 | -20 | 24 | -17 | 26 | -18 | 26 | -22 | 25 | -21 | 25 | -20 | 25.4444 | -20.4444 | 1.069 | 2.7255
| 10 | 0 | -8.743e-06 | 3.1387e-05 | 3.8195e-05 | -1.8951e-05 | 140 | -3.5e-05 | -3.2363e-05 | -34.9996 | -32.3626 | [11 empty] | 50 | 5 | -24 | 6 | -25 | 6 | -29 | 7 | -25 | 4 | -24 | 5 | -22 | 5 | -26 | 5 | -23 | 4 | -24 | 5.2222 | -24.6667 | 0.91613 | 2.1213
[7 empty] | 160 | -2.6994e-05 | -3.4672e-05 | -26.9936 | -34.6718 | [11 empty] | 70 | -21 | -33 | -26 | -30 | -23 | -34 | -23 | -32 | -21 | -31 | -21 | -28 | -21 | -32 | -23 | -31 | -19 | -30 | -22 | -31.2222 | 1.7678 | 1.8468
| 11 | 0 | -1.976e-06 | 2.3982e-05 | 3.512e-05 | -1.5243e-05 | 180 | -2.0806e-05 | -3.7751e-05 | -20.8056 | -37.751 | [11 empty] | 90 | -29 | -37 | -31 | -35 | -30 | -39 | -31 | -34 | -35 | -35 | -30 | -32 | -34 | -36 | -32 | -37 | -34 | -36 | -31.7778 | -35.6667 | 2.0702 | 2.1339
| 11 | 0 | -1.906e-06 | 2.434e-05 | 3.4631e-05 | -1.202e-05 | [16 empty] | 120 | -27 | -42 | -30 | -38 | -27 | -43 | -27 | -40 | -29 | -41 | -29 | -38 | -27 | -39 | -30 | -39 | -28 | -40 | -28.2222 | -40 | 1.3887 | 1.8516
| 11 | 0 | -2.226e-06 | 3.2527e-05 | 3.5678e-05 | -1.8393e-05 | [16 empty] | 150 | -17 | -45 | -18 | -49 | -16 | -47 | -17 | -44 | -18 | -47 | -20 | -42 | -19 | -45 | -18 | -43 | -18 | -50 | -17.8889 | -45.7778 | 1.2464 | 2.3146
| 11 | 0 | -2.425e-06 | 2.3861e-05 | 3.3485e-05 | -1.3691e-05 | [16 empty] | 180 | -10 | -48 | -11 | -50 | -8 | -47 | -8 | -46 | -11 | -45 | -11 | -45 | -8 | -51 | -8 | -49 | -10 | -46 | -9.4444 | -47.4444 | 1.5059 | 2.2638
| 11 | 0 | -1.65e-06 | 2.4906e-05 | 3.7041e-05 | -1.2045e-05
[43 empty] | RMS = | 1.8333 | 2.848
| 12 | 0 | 5.222e-06 | 3.1613e-05 | 3.2846e-05 | -1.2949e-05 | -3.087e-06 | 7.3007e-05 | -1.6904e-05 | -1.4712e-05
| 12 | 0 | 2.423e-06 | 2.9925e-05 | 3.638e-05 | -9.267e-06 | -4.566e-06 | 7.8728e-05 | -2.0292e-05 | -1.7835e-05 | [11 empty] | Cell 32 | Run 6 |  | Cell 42 |  |  | Cell 44 |  |  | Cell 32
| 12 | 0 | 1.88e-06 | 2.6557e-05 | 3.4344e-05 | -1.8351e-05 | -4.697e-06 | 7.4233e-05 | -1.9465e-05 | -1.7185e-05 | [10 empty] | Gap | I1X | I1Y |  | I1X | I1Y |  | I1X | I1Y |  | I1X | I1Y | [5 empty] | HH By- | Run 1 |  |  | Final
| 12 | 0 | 1.23e-06 | 2.4037e-05 | 3.4839e-05 | -1.5384e-05 | [14 empty] | 7.2 | -4 | -30 |  | 0 | -31 |  | 0 | -35 |  | -2 | -30 | [5 empty] | I1X | I1Y |  | Gap | I1X | I1Y
| 12 | 0 | 2.739e-06 | 3.03e-05 | 3.197e-05 | -2.1035e-05 | -6.905e-06 | 8.6411e-05 | 9.273e-07 | 1.0171e-05 | [10 empty] | 10 | 16 | 9 |  | 16 | 7 |  | 17 | 3 |  | 16 | 7 | [5 empty] | -5 | -36 |  | 7.2 | -4 | -37
[7 empty] | -6.967e-06 | 8.435e-05 | 3.358e-06 | 8e-08 | [10 empty] | 14 | 35 | 8 |  | 38 | 4 |  | 38 | 0 |  | 39 | 9 | [5 empty] | 5 | 6 |  | 9 | 6 | 0
| 13 | 0 | 1.0555e-05 | 3.5216e-05 | 3.3154e-05 | -1.6433e-05 | -5.798e-06 | 7.5222e-05 | 4.567e-06 | 2.769e-06 | [10 empty] | 18 | 48 | 7 |  | 51 | -1 |  | 50 | -10 |  | 50 | 2 | [5 empty] | 24 | 7 |  | 11 | 24 | 2
| 13 | 0 | 1.072e-05 | 2.6535e-05 | 3.1446e-05 | -1.656e-05 | [14 empty] | 22 | 56 | 1 |  | 57 | -6 |  | 53 | -10 |  | 52 | -3 | [5 empty] | 30 | 4 |  | 13 | 34 | 3
| 13 | 0 | 8.041e-06 | 2.5102e-05 | 3.4474e-05 | -4.353e-06 | -2e-06 | 8.5848e-05 | 2.8323e-05 | -1.5697e-05 | [10 empty] | 27 | 48 | -6 |  | 52 | -11 |  | 47 | -17 |  | 48 | -8 | [5 empty] | 44 | 4 |  | 16 | 45 | -2
| 13 | 0 | 1.2537e-05 | 3.0349e-05 | 3.5764e-05 | -1.2246e-05 | -3.31e-06 | 7.7467e-05 | 2.589e-05 | 1.013e-05 | [10 empty] | 33 | 40 | -12 |  | 41 | -16 |  | 42 | -17 |  | 41 | -16 | [5 empty] | 53 | -3 |  | 20 | 52 | -8
| 13 | 0 | 8.367e-06 | 3.4168e-05 | 3.1968e-05 | -1.4895e-05 | -2.07e-06 | 7.2962e-05 | 2.6402e-05 | 2.0079e-05 | [10 empty] | 45 | 10 | -21 |  | 19 | -23 |  | 10 | -23 |  | 12 | -17 | [5 empty] | 55 | -8 |  | 24 | 54 | -10
[38 empty] | 48 | -11 |  | 28 | 48 | -15
| 14 | 0 | 1.3657e-05 | 3.1864e-05 | 3.0594e-05 | -1.4673e-05 | 6.17e-06 | 9.1754e-05 | 2.9254e-05 | 4.304e-06 | [27 empty] | 42 | -13 |  | 33 | 43 | -21
| 14 | 0 | 1.5074e-05 | 2.8492e-05 | 3.0987e-05 | -5.163e-06 | 1.084e-06 | 7.8253e-05 | 3.1522e-05 | 6.3e-06 | [27 empty] | 25 | -20 |  | 40 | 24 | -24
| 14 | 0 | 1.2855e-05 | 3.4134e-05 | 3.0394e-05 | -8.153e-06 | 3.841e-06 | 7.3236e-05 | 3.2345e-05 | 4.068e-06 | [27 empty] | 5 | -24 |  | 50 | 5 | -24
| 14 | 0 | 1.5503e-05 | 3.3121e-05 | 3.2632e-05 | -1.1641e-05 | [31 empty] | -22 | -31 |  | 70 | -21 | -33
| 14 | 0 | 1.4435e-05 | 3.4198e-05 | 3.0533e-05 | -1.267e-05 | 1.0323e-05 | 7.5017e-05 | 2.991e-05 | 5.652e-06 |  | -4.1167e-06 | -1.8887e-05 | -4.1167 | -18.887 | [22 empty] | -33 | -35 |  | 90 | -29 | -37
[7 empty] | 9.282e-06 | 7.3664e-05 | 3.2315e-05 | 1.2819e-05 |  | -6.5567e-06 | 2.9508e-06 | -6.5567 | 2.9508 | [22 empty] | -29 | -42 |  | 120 | -27 | -42
| 16 | 0 | 2.2096e-05 | 2.9411e-05 | 2.7905e-05 | -9.993e-06 | 1.388e-05 | 7.1872e-05 | 3.4562e-05 | 4.357e-06 |  | -2.46e-06 | 2.6872e-05 | -2.46 | 26.8717 | [22 empty] | -18 | -47 |  | 150 | -17 | -45
| 16 | 0 | 2.2736e-05 | 3.9793e-05 | 2.8639e-05 | -6.606e-06 | [5 empty] | 3.6983e-06 | 3.104e-05 | 3.6983 | 31.0403 | [22 empty] | -11 | -49 |  | 180 | -10 | -48
| 16 | 0 | 2.1539e-05 | 3.3436e-05 | 2.7576e-05 | -1.2814e-05 | 1.702e-05 | 7.9542e-05 | 3.174e-05 | 1.0639e-05 |  | 1.1162e-05 | 3.2262e-05 | 11.1617 | 32.2623
| 16 | 0 | 2.288e-05 | 2.9578e-05 | 2.6947e-05 | -7.614e-06 | 1.8305e-05 | 7.2986e-05 | 3.0316e-05 | 9.434e-06 |  | 1.7721e-05 | 3.0726e-05 | 17.7213 | 30.7257
| 16 | 0 | 2.2635e-05 | 3.5932e-05 | 2.6213e-05 | -1.3064e-05 | 1.7839e-05 | 7.1273e-05 | 3.0121e-05 | 6.15e-06 |  | 1.9948e-05 | 2.5085e-05 | 19.9477 | 25.0853
[12 empty] | 2.5661e-05 | 2.7141e-05 | 25.6607 | 27.141
| 18 | 0 | 2.8189e-05 | 3.8146e-05 | 2.1974e-05 | -1.4652e-05 | 1.9617e-05 | 6.5774e-05 | 2.4988e-05 | -1.659e-06 |  | 3.0172e-05 | 2.4682e-05 | 30.1723 | 24.6823
| 18 | 0 | 2.6758e-05 | 3.1203e-05 | 2.4453e-05 | -3.016e-06 | 2.163e-05 | 7.3472e-05 | 3.1534e-05 | 5.853e-06 |  | 3.7609e-05 | 1.9751e-05 | 37.609 | 19.751
| 18 | 0 | 2.8943e-05 | 4.2068e-05 | 2.4261e-05 | 5.686e-06 | 1.8596e-05 | 6.8537e-05 | 1.8734e-05 | 2.466e-06 |  | 3.8618e-05 | 1.8815e-05 | 38.6177 | 18.815
| 18 | 0 | 2.5918e-05 | 3.014e-05 | 2.199e-05 | -5.313e-06 | [5 empty] | 4.1332e-05 | 1.6642e-05 | 41.332 | 16.6423
| 18 | 0 | 2.7169e-05 | 2.9988e-05 | 2.3347e-05 | -1.402e-06 | 2.5712e-05 | 7.7244e-05 | 2.5993e-05 | 5.31e-06 |  | 4.0783e-05 | 1.2303e-05 | 40.7827 | 12.3033
[7 empty] | 2.6066e-05 | 6.5033e-05 | 2.6827e-05 | 7.042e-06 |  | 4.0081e-05 | 9.728e-06 | 40.081 | 9.728
| 20 | 0 | 3.0468e-05 | 4.6158e-05 | 2.0322e-05 | 8.73e-07 | 2.5204e-05 | 7.7087e-05 | 2.8603e-05 | 1.413e-05 |  | 3.5127e-05 | 6.3507e-06 | 35.127 | 6.3507
| 20 | 0 | 3.1841e-05 | 3.9233e-05 | 2.3757e-05 | -4.912e-06 | [5 empty] | 2.9305e-05 | 2.2587e-06 | 29.3053 | 2.2587
| 20 | 0 | 3.0939e-05 | 4.6223e-05 | 2.3665e-05 | -4.859e-06 | 3.0841e-05 | 6.6727e-05 | 2.1317e-05 | 2.78e-06 |  | 1.6187e-05 | -4.1873e-07 | 16.1867 | -0.41873
| 20 | 0 | 2.9898e-05 | 3.5424e-05 | 2.0987e-05 | -3.624e-06 | 3.1653e-05 | 6.2522e-05 | 2.9121e-05 | 7.395e-06 |  | -3.399e-06 | -7.8497e-06 | -3.399 | -7.8497
| 20 | 0 | 3.3217e-05 | 3.7524e-05 | 2.3249e-05 | -5.79e-07 | 2.8023e-05 | 6.3489e-05 | 2.3609e-05 | 2.467e-06 |  | -1.8698e-05 | -1.509e-05 | -18.6983 | -15.0897
[12 empty] | -3.5985e-05 | -2.1917e-05 | -35.9847 | -21.917
| 22 | 0 | 3.3296e-05 | 5.3798e-05 | 1.6803e-05 | -9.675e-06 | 3.5976e-05 | 7.2053e-05 | 2.0706e-05 | 8.408e-06 |  | -3.9923e-05 | -2.8484e-05 | -39.923 | -28.484
| 22 | 0 | 3.3942e-05 | 4.8679e-05 | 1.9128e-05 | -1.1583e-05 | 4.2584e-05 | 5.5885e-05 | 1.8914e-05 | 7.314e-06 |  | -3.5302e-05 | -3.1135e-05 | -35.302 | -31.1347
| 22 | 0 | 3.3305e-05 | 3.8111e-05 | 1.7601e-05 | -4.2e-07 | 3.4267e-05 | 6.3881e-05 | 1.9633e-05 | -1.0456e-05 |  | -3.1656e-05 | -3.5032e-05 | -31.656 | -35.0317
| 22 | 0 | 3.0447e-05 | 4.4211e-05 | 1.8806e-05 | -1.0832e-05 | [5 empty] | -2.3139e-05 | -3.8053e-05 | -23.1387 | -38.0533
| 22 | 0 | 3.2632e-05 | 4.258e-05 | 1.7768e-05 | -6.517e-06 | 4.0096e-05 | 6.7127e-05 | 2.4329e-05 | 1.6566e-05 |  | -1.753e-05 | -3.9548e-05 | -17.5295 | -39.548
[7 empty] | 4.0699e-05 | 5.5684e-05 | 1.465e-05 | 1.0301e-05
| 24 | 0 | 3.5677e-05 | 4.9541e-05 | 1.4713e-05 | -3.325e-06 | 3.5058e-05 | 6.7765e-05 | 1.7466e-05 | 1.051e-05
| 24 | 0 | 3.267e-05 | 4.0095e-05 | 1.738e-05 | -2.959e-06
| 24 | 0 | 3.4388e-05 | 4.6589e-05 | 1.6057e-05 | -6.411e-06 | 4.2474e-05 | 6.6224e-05 | 1.5624e-05 | 1.0606e-05
| 24 | 0 | 3.3707e-05 | 4.6473e-05 | 1.7342e-05 | -3.563e-06 | 4.1966e-05 | 6.456e-05 | 1.6646e-05 | 9.804e-06
| 24 | 0 | 3.3787e-05 | 4.0194e-05 | 1.6724e-05 | -1.855e-06 | 3.9556e-05 | 6.7885e-05 | 1.7657e-05 | 1.2165e-05
| 27 | 0 | 3.2111e-05 | 4.777e-05 | 1.0633e-05 | -5.29e-07 | 4.0393e-05 | 7.1759e-05 | 1.0321e-05 | 4.472e-06
| 27 | 0 | 3.3114e-05 | 4.4842e-05 | 1.3776e-05 | 4e-07 | 4.1901e-05 | 6.4668e-05 | 1.4763e-05 | 2.181e-06
| 27 | 0 | 3.3292e-05 | 3.6999e-05 | 1.3342e-05 | -2.302e-06 | 4.0054e-05 | 7.8279e-05 | 1.1826e-05 | 8.389e-06
| 27 | 0 | 3.1422e-05 | 4.2037e-05 | 1.3878e-05 | -4.64e-06
| 27 | 0 | 3.2062e-05 | 4.4868e-05 | 1.5115e-05 | -4.68e-06 | 4.1085e-05 | 7.0135e-05 | 7.427e-06 | 3.808e-06
[7 empty] | 3.8354e-05 | 6.792e-05 | 9.723e-06 | 1.185e-06
| 30 | 0 | 2.6982e-05 | 4.5675e-05 | 1.0264e-05 | -3.141e-06 | 4.0804e-05 | 6.3888e-05 | 1.2034e-05 | 1.2276e-05
| 30 | 0 | 2.6793e-05 | 4.0881e-05 | 7.17e-06 | -8.344e-06
| 30 | 0 | 2.5197e-05 | 3.9859e-05 | 1.0297e-05 | -2.606e-06 | 3.5139e-05 | 7.2763e-05 | 6.675e-06 | 4.476e-06
| 30 | 0 | 2.6641e-05 | 4.1009e-05 | 6.999e-06 | -7.306e-06 | 3.3589e-05 | 6.2771e-05 | 8.598e-06 | -1.2793e-05
| 30 | 0 | 2.6116e-05 | 4.3849e-05 | 1.2263e-05 | 1.794e-06 | 3.6653e-05 | 5.5632e-05 | 3.779e-06 | -6.7618e-05
| 33 | 0 | 2.4122e-05 | 4.2059e-05 | 6.551e-06 | 4.042e-06 | 3.1526e-05 | 5.1525e-05 | -1.104e-06 | -6.223e-06
| 33 | 0 | 2.2597e-05 | 4.2865e-05 | 5.464e-06 | -6.146e-06 | 2.6205e-05 | 5.4423e-05 | 5.195e-06 | 3.65e-07
| 33 | 0 | 2.3172e-05 | 3.9322e-05 | 6.159e-06 | -1.0624e-05 | 3.0185e-05 | 6.0977e-05 | 2.685e-06 | -5.017e-06
| 33 | 0 | 2.1932e-05 | 4.1523e-05 | 5.996e-06 | 1.819e-06
| 33 | 0 | 2.2029e-05 | 3.4762e-05 | 4.522e-06 | -1.885e-06 | 1.8098e-05 | 4.4681e-05 | -5.6e-07 | -2.812e-06
[7 empty] | 1.6601e-05 | 4.5115e-05 | -3.69e-07 | -9.617e-06
| 40 | 0 | 9.296e-06 | 2.1806e-05 | 2.218e-06 | -9.518e-06 | 1.3861e-05 | 3.9155e-05 | -3.272e-07 | -5.132e-06
| 40 | 0 | 8.502e-06 | 2.1117e-05 | 1.367e-06 | -9.34e-06
| 40 | 0 | 9.966e-06 | 3.0934e-05 | 1.273e-06 | -4.015e-06 | -3.149e-06 | 8.551e-06 | -8.36e-06 | -2.3883e-05
| 40 | 0 | 8.894e-06 | 2.5743e-05 | 7.31e-07 | -1.4092e-05 | -4.585e-06 | 1.1876e-05 | -9.15e-06 | -1.4435e-05
| 40 | 0 | 8.768e-06 | 2.9063e-05 | 6.92e-07 | -8.454e-06 | -2.463e-06 | 8.682e-06 | -6.039e-06 | -1.3894e-05
| 50 | 0 | -9.408e-06 | -4.63e-07 | -6.036e-06 | -2.1716e-05 | -1.7687e-05 | -1.6681e-05 | -1.4779e-05 | -1.7734e-05
| 50 | 0 | -7.289e-06 | -5.73e-07 | -3.304e-06 | -2.086e-05 | -2.1529e-05 | -1.0508e-05 | -1.5172e-05 | -2.4807e-05
| 50 | 0 | -1.0275e-05 | -3.653e-06 | -4.987e-06 | -2.2171e-05 | -1.6879e-05 | -1.6075e-05 | -1.5318e-05 | -3.5833e-05
| 50 | 0 | -9.842e-06 | -3.735e-06 | -6.231e-06 | -2.0109e-05
| 50 | 0 | -9.16e-06 | -2.358e-06 | -6.532e-06 | -2.243e-05 | -3.6498e-05 | -5.8122e-05 | -2.0855e-05 | -5.3417e-05
[7 empty] | -3.5314e-05 | -5.5495e-05 | -2.1722e-05 | -2.7203e-05
| 60 | 0 | -2.5556e-05 | -2.8871e-05 | -1.2179e-05 | -3.1485e-05 | -3.6142e-05 | -5.8106e-05 | -2.3174e-05 | -4.6119e-05
| 60 | 0 | -2.4885e-05 | -2.7521e-05 | -1.1171e-05 | -3.8956e-05
| 60 | 0 | -2.7413e-05 | -2.2097e-05 | -9.987e-06 | -3.3801e-05 | -4.2942e-05 | -0.00010438 | -2.7736e-05 | -6.4709e-05
| 60 | 0 | -2.3412e-05 | -3.7539e-05 | -8.762e-06 | -3.5647e-05 | -3.772e-05 | -8.8848e-05 | -3.0634e-05 | -6.1305e-05
| 60 | 0 | -2.5378e-05 | -2.4052e-05 | -1.0981e-05 | -3.7227e-05 | -3.9107e-05 | -7.8902e-05 | -2.7082e-05 | -7.2503e-05
| 80 | 0 | -4.2353e-05 | -7.3904e-05 | -1.8275e-05 | -5.8828e-05 | -3.1437e-05 | -8.6184e-05 | -3.1725e-05 | -8.4872e-05
| 80 | 0 | -4.2692e-05 | -7.1739e-05 | -1.9297e-05 | -5.3123e-05 | -3.6289e-05 | -9.821e-05 | -3.1716e-05 | -7.4452e-05
| 80 | 0 | -4.0727e-05 | -7.2841e-05 | -1.9106e-05 | -4.555e-05 | -3.818e-05 | -7.7251e-05 | -2.9963e-05 | -6.5709e-05
| 80 | 0 | -3.9713e-05 | -6.6756e-05 | -2.2191e-05 | -4.9358e-05
| 80 | 0 | -4.2321e-05 | -6.2051e-05 | -2.117e-05 | -5.2159e-05 | -2.9506e-05 | -7.5232e-05 | -3.3831e-05 | -7.9736e-05
[7 empty] | -3.3359e-05 | -9.1589e-05 | -3.331e-05 | -8.3205e-05
| 100 | 0 | -4.2519e-05 | -8.9544e-05 | -2.5226e-05 | -7.4587e-05 | -3.2103e-05 | -7.4953e-05 | -3.7954e-05 | -8.7118e-05
| 100 | 0 | -4.1919e-05 | -8.8585e-05 | -2.4776e-05 | -6.8964e-05
| 100 | 0 | -4.5345e-05 | -9.3751e-05 | -2.5419e-05 | -6.7264e-05 | -2.2263e-05 | -6.7592e-05 | -3.6931e-05 | -9.0494e-05
| 100 | 0 | -4.3444e-05 | -8.1878e-05 | -2.5918e-05 | -6.4829e-05 | -2.6165e-05 | 4.6996e-05 | -3.8111e-05 | -8.3394e-05
| 100 | 0 | -4.4e-05 | -9.1999e-05 | -2.7051e-05 | -8.2809e-05 | -2.0988e-05 | -5.3668e-05 | -3.9118e-05 | -8.432e-05
| 120 | 0 | -4.1633e-05 | -8.7967e-05 | -2.9881e-05 | -8.9333e-05 | -2.354e-05 | -5.5111e-05 | -4.0322e-05 | -8.1611e-05
| 120 | 0 | -3.9815e-05 | -9.2773e-05 | -2.8823e-05 | -8.0226e-05 | -1.7588e-05 | -6.6833e-05 | -4.0079e-05 | -9.2582e-05
| 120 | 0 | -4.1902e-05 | -9.1801e-05 | -2.8746e-05 | -7.7201e-05 | -1.7471e-05 | -6.268e-05 | -3.9017e-05 | -9.2637e-05
| 120 | 0 | -4.0167e-05 | -9.0662e-05 | -2.9903e-05 | -7.7617e-05
| 120 | 0 | -3.9424e-05 | -9.2054e-05 | -3.2661e-05 | -8.233e-05
| 140 | 0 | -3.4863e-05 | -8.0744e-05 | -3.361e-05 | -9.6732e-05
| 140 | 0 | -3.4991e-05 | -8.7179e-05 | -3.2802e-05 | -8.465e-05
| 140 | 0 | -3.3754e-05 | -8.0492e-05 | -3.1923e-05 | -8.7457e-05
| 140 | 0 | -3.6357e-05 | -8.9944e-05 | -3.0904e-05 | -7.2618e-05
| 140 | 0 | -3.5033e-05 | -8.0945e-05 | -3.2574e-05 | -8.8769e-05
| 160 | 0 | -2.8315e-05 | -7.0715e-05 | -3.5299e-05 | -0.00010659
| 160 | 0 | -2.7804e-05 | -7.9805e-05 | -3.5113e-05 | -0.00010503
| 160 | 0 | -2.6302e-05 | -7.5139e-05 | -3.4621e-05 | -8.556e-05
| 160 | 0 | -2.5781e-05 | -7.5877e-05 | -3.5637e-05 | -9.1338e-05
| 160 | 0 | -2.6766e-05 | -7.7073e-05 | -3.2689e-05 | -9.1802e-05
| 180 | 0 | -2.1734e-05 | -6.3276e-05 | -3.9074e-05 | -0.00010388
| 180 | 0 | -2.128e-05 | -6.1978e-05 | -3.8764e-05 | -0.00010261
| 180 | 0 | -2.0212e-05 | -6.6877e-05 | -3.7039e-05 | -9.372e-05
| 180 | 0 | -2.0684e-05 | -7.1311e-05 | -3.5478e-05 | -0.00010518
| 180 | 0 | -2.0118e-05 | -6.2634e-05 | -3.84e-05 | -9.0717e-05