## Slide 1
engineering type: 0.79D14.96
SLAC drawing number: SA-375-150-60
SLAC magnet bar-code: 4491
vendor serial number: 1
when measured: 23-Jun-2020 10:56:53
when analyzed: 24-Jun-2020
MAD assignment: BXDG0

## Slide 2
BLmax = -0.46 kG-m
Emax = 131.7 MeV
Imax = 88.4 A

## Slide 3
wirevsx.ru1
@ r= 20 mm
|b1/b0| = 0.021 [1.000] %
|b2/b0| = 0.139 [100.000] %

## Slide 4
name: BXDG0_Trim
# of main coil turns: 20
# of trim coil turns: 18
ratio of turns (Nmain/Ntrim): 1.1111
ratio of slopes (measured): 1.1281
IMMO (amps): [-6,6]
BMMO (main coil amps): [-5.3185,+5.3185]
Imain = 0
wiredat.ru3
Itrim = 0