## Slide 1
engineering type: 1D19.7 (Everson Tesla 53033)
SLAC drawing number: SA-380-325-06
SLAC magnet bar-code: 4505
vendor serial number: 2
when measured: 05-Jul-2017 14:05:24
when analyzed: 21-Jul-2017
MAD assignment: BCX24

## Slide 2
name: BCX24 trim
# of main coil turns: 110
# of trim coil turns: 48
ratio of turns (Nmain/Ntrim): 2.2917
ratio of slopes (measured): 2.3321
IMMO (amps): [-12,12]
BMMO (main coil amps): [-5.1454,+5.1454]
Itrim = -0.516 A
main ramped down from 200 A to 0, then trim sets zero field
Itrim = 0
Imain = 0

## Slide 3
http://www-group.slac.stanford.edu/met/MagMeas/MAGDATA/LCLS-II/Dipole/4505/bhvszdat.ru6