## Slide 1
engineering type: 1.69D6.28T
SLAC drawing number: SA-388-320-05
SLAC magnet bar-code: 4513
vendor serial number: 3
when measured: 10-Sep-2018 12:17:12
when analyzed: 13-Sep-2018
MAD assignment: BCX13
IMain = 380 A

## Slide 2
name: BCX13 trim
# of main coil turns: 30
# of trim coil turns: 15
ratio of turns (Nmain/Ntrim): 2.0000
ratio of slopes (measured): 2.1586
IMMO (amps): [-12,+12]
BMMO (main coil amps): [-5.5590,+5.5590]
wiredat.r40
Itrim = 0
Imain < 230 A
Itrim = -0.822 A
main ramped down from 380 A to 0, then trim sets zero field
Imain = 0

## Slide 3
@ r= 40 mm
|b1/b0| = 0.037 [0.015] %
|b2/b0| = 0.157 [0.097] %
|b3/b0| = 0.086 [1.200] %
linear correlation removed
Imain = 380 A