## Slide 1
engineering type: 1.69D6.28T
SLAC drawing number: SA-388-320-05
SLAC magnet bar-code: 4513
vendor serial number: 3
when measured: 01-May-2017 15:27:03
when analyzed: 13-Jun-2017
MAD assignment: BCX13

## Slide 2
name: BCX13 trim
# of main coil turns: 30
# of trim coil turns: 15
ratio of turns (Nmain/Ntrim): 2.0000
ratio of slopes (measured): 2.1583
IMMO (amps): [-12,+12]
BMMO (main coil amps): [-5.5598,+5.5598]
wiredat.r40
Itrim = 0
Itrim = -0.822 A
main ramped down from 380 A to 0, then trim sets zero field
Imain = 0