## Slide 1
engineering type: 1.69D6.28T
SLAC drawing number: SA-388-320-05
SLAC magnet bar-code: 4514
vendor serial number: 4
when measured: 21-Oct-2016 09:30:09
when analyzed: 14-Nov-2016
MAD assignment: BCX14

## Slide 2
name: BCX14 trim
# of main coil turns: 30
# of trim coil turns: 15
ratio of turns (Nmain/Ntrim): 2.0000
ratio of slopes (measured): 2.1601
IMMO (amps): [-12,12]
BMMO (main coil amps): [-5.5553 +5.5553]

## Slide 3
http://www-group.slac.stanford.edu/met/MagMeas/MAGDATA/LCLS-II/Dipole/4514/bhvszdat.ru8